## Slide 1
EuPRAXIA@SPARC_LAB
Massimo.Ferrario@lnf.infn.it
RF power modules
1 GeV LINAC
Beam user areas
FEL user area @3nm
Undulators
Plasma module
0.5 PW Laser
Secondary
Sources

## Slide 2
EuPRAXIA@SPARC_LAB
TEX
LATINO
SPARC_LAB
SABINA
HEAD QUARTER @LNF
Technical Design Report

## Slide 3
Courtesy A. Falone

## Slide 5
Courtesy A. Ghigo - E. Di Pasquale

## Slide 6
Plasma module layout
 | Vgas (cm3) | VimpEXT | VimpINT | Tpumps | VC-band | Vchamber | Wtime
1 Hz | 0.0236 | 2 x 6mm/15cm | 2 x 6mm/10cm | 1780 l/s | 10-7 mbar | 10-8 mbar | No limits
10 Hz | 0.236 | 2 x 6mm/15cm | 2 x 6mm/10cm | 1780 l/s | 10-7 mbar | 10-8 mbar | 1 hour
100Hz | 2.36 |  |  |  |  |  | 
3 cm-long capillary@ne = 1016 - 1017 cm-3
 | Vgas (cm3) | Vimp | Vimp2 | Tpumps | VX-band | VChamber | Wtime
1 Hz | 0.314 | 2 x 6mm/15cm | 2 x 6mm/10cm | 7000 l/s |  |  | 
10 Hz | 3.14 | 2 x 6mm/15cm | 2 x 6mm/10cm | 7000 l/s |  |  | 
100Hz | 31.4 |  |  |  |  |  | 
Vacuum X-band
LINAC
FEL
First PMQ
End X-band
300
50
250
Driver
Removing
275
Vacuum inside chamber
Vacuum Chicane
Plasma driver removing
Vacuum FEL
50 cm-long capillary@ne = 1016 - 1017 cm-3
25
100
Further Vimp2
Vimp
Chamber sizing depends on the vacuum constrains and capillary dimensions
Eupraxia chamber sizing starts from the current plasma chamber
Minimum length is 215 cm
Driver removing chamber properties depend on the technique used to remove the driver (Plasma or chicane)
Chamber/capillary factor is 5.5
New solutions will be studied to reduce the chamber/capillary factor by means of vacuum test and simulation
x15
x100
Courtesy R. Pompili , A. Biagioni

## Slide 7
High Quality Facility
FEL requirement
(Undulators - Optics)
Plasma density
(Long Capillary – Diagnostics)
Bunch charge/length
(Cathodes – Laser – Injector)
Driver/Witness timing
(Compressors - Synchronization)

## Slide 8
Plasma Characterization
Plasma Density measured by observing Stark broadening of hydrogen emission lines

## Slide 9
Assisted Beam Loading Energy Spread Compensation

## Slide 13
GRAZIE