## Slide 1: Calibration system Fixation strategy Featuring: cable, glove box, motor box, pipes, valves, hooks…
All good souls (and brains) willing to participate to the discussion
19th February 2021
Calibration system meeting

## Slide 2: Design journey
Calibration meeting 20/10/2020
Sketch from Peter
CAD from Marco
Presented at calibration meeting
24/11/2020
Schematic from Pierre

## Slide 3: Current design
CAD from Marco
Presented at calibration meeting
14/01/2021

## Slide 4: Problematic
The cables will be in two configurations:
  Garage mode: no source fixed, valves closed (to be discussed), cables hooked on two sides (to be defined)
  Calibration mode: a source is fixed, the valves are opened to let the cables go through
Gate valve
Motor box
Glove box
View port
Glove port
?
?

## Slide 5: Problematic
The cables will be in two configurations:
  Garage mode: no source fixed, valves closed (to be discussed), cables hooked on two sides (to be defined).
  Calibration mode: a source is fixed, the valves are opened to let the cables go through
Gate valve
Motor box
Glove box
View port
Glove port

## Slide 6: Problematic
The cables will be in two configurations:
  Garage mode: no source fixed, valves closed (to be discussed), cables hooked on two sides (to be defined)
  Calibration mode: a source is fixed, the valves are opened to let the cables go through
In garage mode:
  Where should we hook the cables ?
  Hooks located inside the glove box to reach them easily ?
  Hooks located beyond the gate valves so that we can close them when the system doesn’t work ? But how can we reach them from the glove box as it is ?
From garage to calibration mode:
  How can we secure the fixation of the source to the cables without risking dropping the cable inside the pipe ?
From calibration to garage mode:
  How can we secure the fixation of the cables to the hooks ?
Gate valve
Motor box
Glove box
View port
Glove port
?
?

## Slide 7: Additional captures of the CAD

## Slide 8: Additional captures of the CAD
NB: the cable is supposed to exit from the motor box through this hole
SNO+