PhaseTrace –
Towards a user friendly
scattered light simulation
Thomas Bretz, Hanna Marozava
RWTH Aachen University

---
(Back-)Scattered Light
- Source:
  - DC light is diverted out of the main optical modes
    - design of the optics ("deflected", "ghost beams")
    - diffraction of the tails ("diffracted")
    - imperfect surfaces of the test masses ("scattered")
- Modulation:
  - at moving/vibrating surface
    → pick up frequency plus higher harmonics
- Recoupling:
  - (Back-)scatteres recouples into the
    interferometer’s output mode
  → Light power noise, phase noise

---
Action items
- Prevention:
  - Avoid back-scatter where possible.
- Suppression:
  - Fully dump and absorb residual light.
- Reduction:
  - Reduce movement of potentially back-scattering components.
- Compensation:
  - Monitoring of a secondary non-GW component (output phase noise)

---
Software Requirements
- Back-on-the-envelop calculations?
  - give a good idea, but hide details
  - Difficult with too many components
    and effects involved
- “Simulation”
  - known light paths (specular reflection)
  - tails of the Gaussian beams
  - diffuse and ‘random’ reflection
  - diffraction
  - conserved phase information

---
Existing Software (a small selection)
- OptoCAD
  - 2D, Fortran, limited, no user interface
- IfoCAD
  - 3D, C/C++, very specific, no user interface
- Geant 4
  - 3D, C++, difficult to use, (IMHO) too general,
    performance and precision issues
- ZEMAX
  - 3D, GUI, Windows only, very powerful, difficult to use,
    commercial, expensive
- FRED
  - 3D, GUI, Window only, very powerful, relatively fast, easier to use than ZEMAX, commercial, ‘free’ for academic use

---
What we want from a software...
- Technical requirements:
  - 3D Tracing
  - Relevant effects (surfaces, materials, diffraction)
  - Performance
  - Local adjustment of precision
  - Local adjustment of calculated effects
- Implementation:
  - C++ (performance, modularity)
  - ROOT (JIT interpreter) as a C++ interface
  - Python as connection to a variety of high level libraries
  - Graphical and non-graphical user interface

---
User Experience
High Level
Programming
RayTracing/Simulation
Toolkit
Visualization

---
User Experience
Design Requirements:
Easy to install (avoid many dependencies)
State of the art (e.g. ≥ C++14)
Keep parts as separated as possible (maintenance)
Use proven technology (e.g. OpenGL 2.0)

---
User Experience
EasyCSG
e.g. rootcling, python
PhaseTrace

---
User Experience
EasyCSG
e.g. rootcling, python
PhaseTrace
Qt Application

---
User Experience
EasyCSG
e.g. rootcling, python
PhaseTrace
External Applications,
Display GUIs
e.g. OpenSCAD
Qt Application

---
Already implemented...
EasyCSG
e.g. rootcling, python
PhaseTrace
External
Applications
e.g. OpenSCAD
Qt Application

---
Example from PhaseTrace

---
Example plots with PhaseTrace + ROOT

---
Example: OpenSCAD for display
example:
OpenSCAD

---
Example: Similar design for own GUI?
OpenSCAD:
Only graphics
example:
OpenSCAD

---
Example: Similar design for own GUI?
Display and graphics controls
example:
OpenSCAD

---
Example: Similar design for own GUI?
Easy access to
setup parameters
defined in the script
example:
OpenSCAD

---
Example: Similar design for own GUI?
Easy access to
setup parameters
defined in the script
Note that OpenSCAD only
works as a
powerful
3D display
example:
OpenSCAD

---
Examples: PhaseTrace + OpenSCAD for Video
Example
created with
PhaseTrace
+ OpenSCAD
Currently: 200k rays/s
on 4 core, each 2.2GHz

---
Examples: PhaseTrace + OpenSCAD for display
PhaseTrace (Display OpenSCAD)
OptoCAD
ROOT

---
Examples: EasyCSG (OpenGL context for easy display)

---
Conclusion and Next Steps
- Status
  - PhaseTrace/EasyCSG provides a powerful design study
    for a complete simulation with a versatile user interface
  - Dicusssions are required on “what do we really want/need?”
- Next Steps
  - Implement an interface between
    PhaseTrace and EasyCSG
  - Implement more algorithms
    (surfaces, materials, scattering)
  - Implement E.T. properties