## Slide 1: Future RPC development R.Cardarelli
RCC kick off meeting
12/05/2021

## Slide 2: Cylindrical geometry
The cylindrical geometry is very interesting in the case the external pressure is different respect to the internal gas gap pressure, two important cases:
The external pressure is very low, application in space
The internal pressure of the gas gap is very high for instance 2-10 bar, this high pressure is useful to increase the performance of the detector in the range of ps time resolution , high efficiency per single gas gap and spatial resolution (30-50 um), for this approach the experience of MDT ATLAS group for large gas distribution at 3 bar, is very important.

## Slide 3: Detector with uniform field but different geometry
Gas gap
Mono-gap planar geometry
Cylindrical mono-gap geometry
Cylindrical multi-gap geometry
Multi-gap planar geometry

## Slide 4: RCC structure
Graphite
Bakelite
Foam
Copper

## Slide 5: Electric field in cylindrical geometry
R1/R2
1
Emax
R2
R1
r
Emax=(V/R1)/log(R2/R1)
E=(V/r)/log(R2/R1)
fig1
fig2
(1)
(2)
In fig (1) the Emax trend is graphically represented as a function of the ratio R1 / R2
From (1) it is clear that the electric field E reaches its greatest value on the surface of the inner cylinder, that is for r = R1, while as r increases it decreases until it reaches its smallest value at r = R2; ie on the surface of the outer cylinder
There are two cases:
for R2 / R1 <(1 / e) we have the gas discharge rate at Townsend
for R2 / R1> (1 / e) we have the spark rate

## Slide 6: Working mode for different polarization
Gradient electric field increase in the direction of electronic avalanche, over exponential multiplication
Gradient electric field decrease in the direction of electronic avalanche, under exponential multiplication,

## Slide 7: MDT+RCC
HV MDT
Aluminum tube
Bakelite tube
Graphite
Copper tube
insulating tube
Out MDT
Resistance 1Mohm
Resistance 1Mohm
HV RPC
Out RCC
Resistance 30 ohm
Gas gap MDT
Wire MDT
Gas gap RCC
Resistance 1Mohm

## Slide 8: RCC preliminary tests and results Alessandro Rocchi
RCC kick off meeting
12/05/2021

## Slide 9: Prototypes
RPC Cylindrical chamber with 1 mm gas gap:
  Feasibility study of Resistive Chylindrical chambers
  Effcet of the electric field gradient on the detector performance
RPC Cylindrical chamber with 0.2 mm gas gap :
  Effcet of the gas pressure on the detector performance
RPC Cylindrical chamber with 1 mm gas gap, metallic ground electrode, integrated with MDT detector:
  Feasibility study of Resistive Chylindrical chambers integrated with MDT detector (same gas mixture, same readout pick-up)

## Slide 10: Cylindrical bakelite electrode resistivity
Ω cm
Chart: HV (V)
| 190 | 380 | 569 | 758 | 947 | 1135 | 1322 | 1509 | 1882 | 2345 | 2805
 | 1e-08 | 2e-08 | 3.1e-08 | 4.2e-08 | 5.3e-08 | 6.5e-08 | 7.8e-08 | 9.1e-08 | 1.18e-07 | 1.55e-07 | 1.95e-07

## Slide 11: RCC 1 mm (prototype design)
ZL
Grafite
HV
D1 = 16 mm
D2 = 18 mm
Gap = 1mm
Electric field inside the gas gap with ∆V=+5600 V
~ 5 cm
Chart: ∆r (mm)
| 5.0000000000000711E-2 | 9.9999999999999645E-2 | 0.15000000000000036 | 0.19999999999999929 | 0.25 | 0.30000000000000071 | 0.34999999999999964 | 0.40000000000000924 | 0.45000000000000995 | 0.50000000000001066 | 0.55000000000000959 | 0.6000000000000103 | 0.65000000000000924 | 0.70000000000000995 | 0.75000000000001066 | 0.80000000000000959 | 0.8500000000000103 | 0.90000000000000924 | 0.95000000000000995 | 1.0000000000000107
 | 5924.6357 | 5887.9504 | 5851.7166 | 5815.9261 | 5780.5707 | 5745.6425 | 5711.134 | 5677.0374 | 5643.3456 | 5610.0514 | 5577.1476 | 5544.6276 | 5512.4847 | 5480.7123 | 5449.304 | 5418.2537 | 5387.5552 | 5357.2026 | 5327.1901 | 5297.512

## Slide 12: RCC 1 mm (experimental setup)
Scintillator 1
Scintillator 2
Scintillator 3
RPC 0,2 mm
Signals
Read – out RPC 200 um
Trigger: Scint 1 And Scint 2 And Scint 3
Pick-up
Bakelite
Graphite
Shielding
Foam

## Slide 13: RCC 1 mm efficiency

## Slide 14: RCC 1 mm (time of flight as respect to RPC 0,2 mm)
HV -
HV +

## Slide 15: RCC 0.2 mm (prototype design)
ZL
Grafite
HV
D1 = 17,6 mm
D2 = 18 mm
Gap = 0,2 mm
~ 5 cm
Electric field inside the gas gap with ∆V=+3000 V
Chart: DR (mm)
| 1.9999999999999574E-2 | 3.9999999999999147E-2 | 5.9999999999998721E-2 | 8.0000000000000071E-2 | 9.9999999999999645E-2 | 0.11999999999999922 | 0.13999999999999879 | 0.16000000000000014 | 0.17999999999999972 | 0.19999999999999929 | -8.8000000000000007
 | 15152.6038 | 15118.283 | 15084.1174 | 15050.1058 | 15016.2473 | 14982.5407 | 14948.9852 | 14915.5796 | 14882.323 | 14849.2143

## Slide 16: Efficiency x acceptance RCC 200 µm negative HV - CO2 100%
HV (V)
HV (V)
HV (V)
+0 bar
+1 bar
+2 bar

## Slide 17: Efficiency x acceptance RCC 200 µm negative HV - CO2 100%
Efficiency knee as function of the gas pressure
Efficiency plateau as function of the gas pressure

## Slide 18: RCC 0.2 mm (signals average)
Average profile of normalized signals

## Slide 19: RPC Cylindrical chamber with 1 mm gas gap, metallic ground electrode, integrated with MDT detector
ZL
Graphite
HV1
D1 = 16 mm
D2 = 18 mm
Gap = 0,1 mm
~ 5 cm
Metal
Metallic wire
HV2
MDT signals Ar-CO2 (86%-14%)

## Slide 20: MDT Efficiency Ar-CO2 (86%-14%)
Pick-up on the wire
External pick-up

## Slide 21: RCC + MDT
RCC Signals std_mixture
RCC time resolution

## Slide 22: RCC Efficiency TFE-iC4H10-Sf6 (94,5%-5%-0,5%)

## Slide 23: TOF with respect to the trigger signal MDT Ar-CO2 (86%-14%) vs RCC mix std