## Slide 1: PP1 Cooling
Inner System
Outer Endcap
Outer Barrel
Warm Nose
In attesa degli input esterni: nuove flange EC, nuovi tools per saldature in loco;
Nuovi capillary manifold;
Procedure di assemblaggio OB, EC, IS;
Mockup;

## Slide 2
New Manifold for the capillaries under study
“capillary side”
“manifold side”
orbital welding head
More rooming for brazing and repairing capillaries
Special cap for testing, avoiding the pipe cutting
Alignment tool
Very preliminary
Female thread
Male thread (not in the pic)
Emiliano Dané – AUW- April 28th 2021

## Slide 3
  If we don’t to cut, we need to use «special» caps

## Slide 4: Endcap piping procedure
Alex/Fred have to confirm the exhaust and inlets pipe diameters
We are waiting for the new positions of the Exhaust and Inlets

## Slide 5: Inner System: some open issues in SR1
How to do the tests for Inner System?
It will be tested before the insertion in the IST ?
When do the cables will be tested?
Are necessary the “temporary flex lines”?
Emiliano Dané – AUW- April 28th 2021

## Slide 6: Inner System Cooling pipe connection at PIT
CFT-IS-A1-2-1/2
Remove the TOP
Flex Insertion
Emiliano Dané – AUW- April 28th 2021

## Slide 7: Camera Pulita
Apertura busta in questa settimana
Inizio lavori: Settembre
Questioni aperte: Lucasz, basamenti;
Camera Climatica
Impianto Lucasz
Basamenti

## Slide 8: Camera Climatica
Venerdì prossimo visita presso ditta;
Fine costruzione prevista per fine Luglio;
Inizio test presso la ditta a Settembre;
Consegna a metà Ottobre (dipende dai tempi della CC);