## Slide 1
Deep Learning implementation of MRF data reconstruction
PUMA meeting – 27/07/2021

## Slide 2: Quantitative MRI
Conventional MRI allows to obtain contrast images. No absolute on tissue parameters.
There is the need for quantitative measures, that can be used to improve diagnosis
Quantification is time and resource costly
Magnetic Resonance Fingerprinting (Dan Ma)

## Slide 3: Magnetic Resonance Fingerprinting
Panda et al. Magnetic Resonance Fingerprinting

## Slide 4: Pattern Matching
(1)
Where:
Where
: measured data
: predicted magnetization values
in L2-space vectors
(3)
under the assumption of Gaussian noise:
Notes: We now concentrate on the Pattern matching step to better understand the problems related to it.
Given the local magnetization M in eq. 1, we can consider it composed by the static magnetization M0 and the dynamic magnetization m.
Where M0 can be written as the multiplication of the local proton density , the real-valued receiver sensitivity profile and the transceiver phase
It’s possible to write a local estimation in L2-space vectors as in equation 2. where d is measured dataand m the predicted magnetization values
The problem obtained is equivalent to a Maximum Likelihood Estimation (MLE) in eq.
This can be written as a Maximum Inner Product Search (MIPS), looking at the maximum correlation between the measured data d, and the simulated signal values, m(ϑ).
We now concentrate on the Pattern matching step to better understand the problems related to it.
Given the local magnetization M in eq. 1, we can consider it composed by the static magnetization M0 and the dynamic magnetization m.
Where M0 can be written as the multiplication of the local proton density 𝜌(𝑥,𝑦), the real-valued receiver sensitivity profile 𝐵_1^− (𝑥,𝑦) and the transceiver phase 𝑒^𝑖𝜑(𝑥,𝑦)
It’s possible to write a local estimation in L2-space vectors as in equation 2. where d is measured data and m the predicted magnetization values
If 𝜗 ̂ is a solution of the 2, then it is possible to write the equation 3. Where I is the Identity,
However, a grid search is also computationally demanding

## Slide 5: Pattern Matching with MIPS
Maximum Inner Product Search (MIPS)
: measured data
: simulating signal for certain values of
(4)
(6)
(5)
Notes: So the problem will be solved with an exhaustive search over a pre-computed dictionary obtained simulating for certain values of , where is evaluated over a grid of physically-acceptable parameters.
For every signal d we compute the scalar products C for each theta. The dictionary entry that achieve the highest C is considered the best match. Using the index of that entry and the precomputed lookup table, we can achieve the Theta parameters.
M0 can then be estimated with ne equation (6)
So the problem will be solved with an exhaustive search over a pre-computed dictionary obtained simulating 𝒎(𝜗) for certain values of 𝜗, where 𝜗 is evaluated over a grid of physically-acceptable parameters.
For every signal d we compute the scalar products C for each theta. The dictionary entry that achieve the highest C is considered the best match. Using the index of that entry and the precomputed lookup table, we can achieve the Theta parameters.
M0 can then be estimated with ne equation (6)

## Slide 6
Dictionary is typically computed with fine granularity over the entire range of possible tissue values to avoid errors in the reconstructed tissue maps
Dictionary size grows exponentially as the number of tissue parameters is increased.
Pattern matching requires extensive computational resources to process.
Considerations
Neural Network approach

## Slide 7
Parameter inference with NN
Input layer
(SVD space)
ℂ10
Output layer
ℝ3
ℝ10
ℝ10
ℝ600
ℝ300
Gomez et al. Rapid three-dimensional multiparametric MRI with quantitative transient-state imaging
Notes: As we can see in the figure, instead of using a dictionary, the signal (b) is dimensionality reduced via Singular value decomposition (c). In the next layers take place the gridding, the FFT, coil estimation and combination . From the layer e we used the obtained compressed signal as the input of a FFNN (in blue) composed by 2 hidden layers with rectifier activation functions and sigmoid activation function for the output layer.
The output nodes contain T1, T2 times and the norm of the corresponding simulated signals used for training.
We simulated ~60k samples using Bloch equations and added random Gaussian noise to each sample.
As a loss function, we used the mean absolute error, determined as shown, where 𝛉∈ ℝ^3 is the output vector of the network and 𝐲∈ ℝ^3 is the corresponding ground truth.
During parameter inference on real data we computed the PD scaling factor 𝜌_𝑛 at voxel 𝑛 with
𝜌_𝑛=‖𝐱_𝑛 ‖_2/𝜃_(𝑛,3)
It’s important to notice that in this implementation, the dictionary it’s used only for the initial training of the network.

## Slide 8
Output layer
ℝ3
ℝ10
ℝ10
ℝ1
ℝ1
ℝ1
ℝ100
ℝ200
ℝ100
ℝ200
Multi-path NN architecture
Gomez et al. Rapid three-dimensional multiparametric MRI with quantitative transient-state imaging

## Slide 9
Proton Density inference
PD scaling factor at voxel
Where
represents the norm of the acquired data and is the third output of the trained network
= (T1, T2, norm(D))
Input layer
(SVD space)
ℂ10
Output layer
ℝ3
ℝ10
ℝ10
ℝ600
ℝ300
Gomez et al. Rapid three-dimensional multiparametric MRI with quantitative transient-state imaging

## Slide 10
Proton Density estimation with NN
Input layer
(SVD space)
ℂ10
ℝ10
ℝ10
ℝ1
ℝ1
Output layer
ℝ10
Latent space
ℝ2
ℝ200
ℝ100
(7)
Notes: As we can see in the figure, instead of using a dictionary, the signal (b) is dimensionality reduced via Singular value decomposition (c). In the next layers take place the gridding, the FFT, coil estimation and combination . From the layer e we used the obtained compressed signal as the input of a FFNN (in blue) composed by 2 hidden layers with rectifier activation functions and sigmoid activation function for the output layer.
The output nodes contain T1, T2 times and the norm of the corresponding simulated signals used for training.
We simulated ~60k samples using Bloch equations and added random Gaussian noise to each sample.
As a loss function, we used the mean absolute error, determined as shown, where 𝛉∈ ℝ^3 is the output vector of the network and 𝐲∈ ℝ^3 is the corresponding ground truth.
During parameter inference on real data we computed the PD scaling factor 𝜌_𝑛 at voxel 𝑛 with
𝜌_𝑛=‖𝐱_𝑛 ‖_2/𝜃_(𝑛,3)
It’s important to notice that in this implementation, the dictionary it’s used only for the initial training of the network.

## Slide 11
In-vivo Inference results
Neural network-based parameter inference—in vivo validation
The neural network architectures with separate pathways, i.e. NN multipath and NN fwd-bck, resulted in closer estimates with respect to the dictionary than NN fwd, which is based on a single-pathway scheme.

## Slide 12
In-vitro Inference results
Multipath neural network-based parameter inference – in vitro validation.
95% confidence intervals in percentage differences to the dictionary are:
-4.45% – 6.00% for T1
-3.97% – 6.58% for T2.

## Slide 13
Inference Time
Dictionary MIPS | 618 s
Neural Network | 19.8 s
Map size: 200x200x200
Dictionary entries: ~60k
Matching device: CPU

## Slide 14
DL everywhere
Notes: a) Image restoration techniques are those that operate in the image domain only (see Fig. 1-a). These methods relate closely to general image problems in non-medical contexts. Usage of CNN (denoising. superresolution)
b) adaptive convolutional neural networks for k-space data interpolation (ACNN-k-Space). large database without the need for explicit coil sensitivity map
c) AUTOMAP
d) cross-domain methods are hybrid methods that operate in both the image domain and the frequency domain. Typically, frequency domain subnetworks attempt to estimate the missing k-space samples, while image domain subnetworks attempt to remove residual artefacts.
e) ADMM, PGD Unrolled optimization methods are inspired by iterative optimization algorithms used in compressed sensing MRI. The idea is to unroll the iterations of such an algorithm to an end-to-end neural network, mapping the measured k-space to the corresponding reconstructed image. Then image transforms, sparsity-promoting functions, regularization parameters and update rates can be treated as either explicitly or implicitly trainable and fitted to a training dataset using backpropagation. This has three advantages with respect to classic optimization. First, learned parameters may be better adapted to image characteristics than hand-engineered ones. Second, it avoids the need for manual tuning, which is not a trivial process. Finally, reconstruction is faster, because such learned iterative schemes are trained to produce results with fewer iterations

## Slide 15
Motion correction
Pirkl et al. Residual learning for 3D motion corrected quantitative MRI: Robust clinical T1, T2 and proton density mapping

## Slide 16
Compressed sensing and
iterative algorithms
Compressed sensing has become an mature technology (recently approved by FDA)
The computational complexity of those algorithms is relative high
It’s possible to reconstruct signals and images with high k-space undersampling
The CS is implemented with many different non-linear iterative algorithms

## Slide 17
Compressed sensing and
iterative algorithms
T1 and T2 in-vivo parametric map estimated using compressed sensing and NN

## Slide 18
Conclusions
Using the Neural Network produces comparable results
The inference time using the NN is more than an order of magnitude faster compare to MIPS
The Network occupies ~1Mb while the dictionary can need GBs of space
The DL approaches are used for a huge set of MRI reconstruction problems
The Neural network can speed up iterative MRF methods for denoising