## Slide 1: X-ray measurements: status and next experiments
We know and we would like to know
PANDORA Progress Meeting, December 16, 2021
Richard Racz
rracz@atomki.hu
Institute for Nuclear Research (Atomki)
Hungary

## Slide 2: Outline
PANDORA Progress Meeting, December 16, 2021
Plasma diagnostics for Pandora
ECR plasma
X-ray diagnostics
Volumetric soft X-ray
Volumetric hard X-ray
Spatially resolved soft
  Spectrally integrated
  Spectrally resolved (single photon counting)
Challenges

## Slide 3: Pandora’s diagnostics
PANDORA Progress Meeting, December 16, 2021

## Slide 4: ECR plasma
Confined
We need information on magnetized PLASMA heated by ECR mechanism
PANDORA Progress Meeting, December 16, 2021
Selective heating: Ion and electron temperature are strongly different
Strong anisotropy in velocity phase space
Plasma
Ions
RF
Gas
Electrons
Ions
Cold
Multi component Can be hot
vI_
vII
Typical density ~ 10^11 – 10^13 1/cm^3

## Slide 5: EMV emissions by ECR plasma
PANDORA Progress Meeting, December 16, 2021
Intense source of:
Plasma
Infrared (molecular information)
Visible light (cold electrons, ion temperature)
Ultraviolet (ionization processes)
X-ray (electrons responsible for step by step ionization)
Radio (plasma heating dynamics)
Non-destructive way for plasma diagnostics

## Slide 6: X-ray diagnostics
Volumetric soft
Warm electrons
E=1 keV – 20 keV
Volumetric hard
Hot electrons
E=20 - 200 keV
Spatially resolved soft
Warm electrons
E= 1 keV – 20 keV
PANDORA Progress Meeting, December 16, 2021
Energy
Detector
Resolution
Note
SDD, Si-Pin
HPGe, NaI(TI)
CCD
~ 150 eV
~ 300 eV
~ 1000 eV
Long collimation
Pinhole stup
Thick collimator

## Slide 7: Volumetric Soft
Experimental setup:
Strong collimation
Bremsstrahlung
Characteristics lines
PANDORA Progress Meeting, December 16, 2021
From the best fit:
Intersection: ~ density
Inverse slope ~ temperature

## Slide 8: Volumetric Hard
Experimental setup
HPGe detector
Lead collimator
Spectral temperature
Hot electron density
Maximum energy can be ~ MeV
PANDORA Progress Meeting, December 16, 2021

## Slide 9: Volumetric
What we learnt:
Nonlinear changes in:
Average charge state
Electron density and temperature
Con not be explained by the scaling laws
But can be correlated with the nature of the resonant cavity
Fine frequency tuning of heating RF
Mascali et al, RSI 87 (2016) 02A510
PANDORA Progress Meeting, December 16, 2021

## Slide 10: Spatially resolved soft
Experimental Setup: pinhole imaging
Object
Pinhole
Image
Exposition:
Spectrally integrated
Single photon counting
PANDORA Progress Meeting, December 16, 2021

## Slide 11: Spatially Integrated soft
0 | 0 | 0 | 1 | 0 | 0 | 0 | 0
1 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 1 | 0 | 1 | 0 | 1 | 0 | 0
0 | 1 | 0 | 1 | 0 | 0 | 0 | 0
0 | 0 | 1 | 1 | 0 | 0 | 0 | 0
1 | 0 | 1 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 1 | 0 | 1 | 0
0 | 1 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 2 | 0 | 0 | 0 | 0
2 | 0 | 0 | 0 | 0 | 2 | 0 | 0
0 | 2 | 0 | 2 | 0 | 2 | 0 | 0
0 | 2 | 0 | 2 | 0 | 0 | 0 | 0
0 | 0 | 2 | 2 | 0 | 0 | 0 | 0
2 | 0 | 2 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 2 | 0 | 2 | 0
0 | 2 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 3 | 0 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 3 | 0 | 0
0 | 3 | 0 | 3 | 0 | 3 | 0 | 0
0 | 3 | 0 | 3 | 0 | 0 | 0 | 0
0 | 0 | 3 | 3 | 0 | 0 | 0 | 0
3 | 0 | 3 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 3 | 0 | 3 | 0
0 | 3 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 4 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 4 | 0 | 0
0 | 4 | 0 | 4 | 0 | 4 | 0 | 0
0 | 4 | 0 | 4 | 0 | 0 | 0 | 0
0 | 0 | 4 | 4 | 0 | 0 | 0 | 0
4 | 0 | 4 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 4 | 0 | 4 | 0
0 | 4 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 5 | 0 | 0 | 0 | 0
5 | 0 | 0 | 0 | 0 | 5 | 0 | 0
0 | 5 | 0 | 5 | 0 | 5 | 0 | 0
0 | 5 | 0 | 5 | 0 | 0 | 0 | 0
0 | 0 | 5 | 5 | 0 | 0 | 0 | 0
5 | 0 | 5 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 5 | 0 | 5 | 0
0 | 5 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 6 | 0 | 0 | 0 | 0
6 | 0 | 0 | 0 | 0 | 6 | 0 | 0
0 | 6 | 0 | 6 | 0 | 6 | 0 | 0
0 | 6 | 0 | 6 | 0 | 0 | 0 | 0
0 | 0 | 6 | 6 | 0 | 0 | 0 | 0
6 | 0 | 6 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 6 | 0 | 6 | 0
0 | 6 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 7 | 0 | 0 | 0 | 0
7 | 0 | 0 | 0 | 0 | 7 | 0 | 0
0 | 7 | 0 | 7 | 0 |  | 0 | 0
0 | 7 | 0 | 7 | 0 | 0 | 0 | 0
0 | 0 | 7 | 7 | 0 | 0 | 0 | 0
7 | 0 | 7 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 7 | 0 | 7 | 0
0 | 7 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 8 | 0 | 0 | 0 | 0
8 | 0 | 0 | 0 | 0 | 8 | 0 | 0
0 | 8 | 0 | 8 | 0 | 0 | 0 | 0
0 | 8 | 0 | 8 | 0 | 0 | 0 | 0
0 | 0 | 8 | 8 | 0 | 0 | 0 | 0
8 | 0 | 8 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 8 | 0 | 8 | 0
0 | 8 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 9 | 0 | 0 | 0 | 0
9 | 0 | 0 | 0 | 0 | 9 | 0 | 0
0 | 9 | 0 | 9 | 0 | 9 | 0 | 0
0 | 9 | 0 | 9 | 0 | 0 | 0 | 0
0 | 0 | 9 | 9 | 0 | 0 | 0 | 0
9 | 0 | 9 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 9 | 0 | 9 | 0
0 | 9 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 10 | 0 | 0 | 0 | 0
10 | 0 | 0 | 0 | 0 | 9 | 0 | 0
0 | 10 | 0 | 10 | 0 | 10 | 0 | 0
0 | 10 | 0 | 10 | 0 | 0 | 0 | 0
0 | 0 | 10 | 10 | 0 | 0 | 0 | 0
10 | 0 | 10 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 10 | 0 | 10 | 0
0 | 10 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 11 | 0 | 0 | 0 | 0
11 | 0 | 0 | 0 | 0 | 11 | 0 | 0
0 | 11 | 0 | 11 | 0 | 11 | 0 | 0
0 | 11 | 0 | 11 | 0 | 0 | 0 | 0
0 | 0 | 11 | 11 | 0 | 0 | 0 | 0
11 | 0 | 11 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 11 | 0 | 11 | 0
0 | 11 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 17 | 0 | 0 | 0 | 0
42 | 0 | 0 | 0 | 0 | 73 | 0 | 0
0 | 50 | 0 | 40 | 0 | 30 | 0 | 0
0 | 72 | 0 | 11 | 0 | 0 | 0 | 0
0 | 0 | 56 | 47 | 0 | 0 | 0 | 0
17 | 0 | 60 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 43 | 0 | 72 | 0
0 | 50 | 0 | 0 | 0 | 0 | 0 | 0
Long exposure time: several 10 s, to avoid the blooming of the CCD
One frame for one image
Individual pixels can be loaded by many X-ray photons  no spectral information
Spectrally integrated but spatially resolved structural information
Acquisition
PANDORA Progress Meeting, December 16, 2021

## Slide 12: Spatially Integrated soft
Innovative imaging
Imaging at high mw power: not trivial
Multilayer pinhole
Plasma core volume characterization even at high power
Plasma losses detected
PANDORA Progress Meeting, December 16, 2021
Biri et al, JINST 16 (2021) P03003
Multilayer pinhole
Plasma volume changes vs B

## Slide 13: Plasma losses vs Instability
Two parameters are indtroduced succesfully:
R_LP: ratio of plasma losses and plasma counts <-> correlation with instability strength
K: centralization, central over side counts ratio <-> anticorrelation with instability
Mascali et al, PPCF, just accepted for publication 
R_LP
K
PANDORA Progress Meeting, December 16, 2021

## Slide 14: Spatially resolved soft
0 | 0 | 0 | 1 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 1 | 0 | 0 | 0 | 1 | 0 | 0
0 | 1 | 0 | 1 | 0 | 0 | 0 | 0
0 | 0 | 1 | 1 | 0 | 0 | 0 | 0
0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 1 | 0 | 1 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Short exposure time (ms)
Thousands of frames for one image
Individual pixels as a single photon detector
Spectrally and spatially resolved information
0 | 0 | 0 | 1 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 1 | 0 | 0 | 0 | 1 | 0 | 0
0 | 1 | 0 | 1 | 0 | 0 | 0 | 0
0 | 0 | 1 | 1 | 0 | 0 | 0 | 0
0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 1 | 0 | 1 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 1 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 1 | 0 | 0 | 0 | 1 | 0 | 0
0 | 1 | 0 | 1 | 0 | 0 | 0 | 0
0 | 0 | 1 | 1 | 0 | 0 | 0 | 0
0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 1 | 0 | 1 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 1 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 1 | 0 | 0 | 0 | 1 | 0 | 0
0 | 1 | 0 | 1 | 0 | 0 | 0 | 0
0 | 0 | 1 | 1 | 0 | 0 | 0 | 0
0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 1 | 0 | 1 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 1 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 1 | 0 | 0 | 0 | 1 | 0 | 0
0 | 1 | 0 | 1 | 0 | 0 | 0 | 0
0 | 0 | 1 | 1 | 0 | 0 | 0 | 0
0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 1 | 0 | 1 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 1 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 1 | 0 | 0 | 0 | 1 | 0 | 0
0 | 1 | 0 | 1 | 0 | 0 | 0 | 0
0 | 0 | 1 | 1 | 0 | 0 | 0 | 0
0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 1 | 0 | 1 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 1 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 1 | 0 | 0 | 0 | 1 | 0 | 0
0 | 1 | 0 | 1 | 0 | 0 | 0 | 0
0 | 0 | 1 | 1 | 0 | 0 | 0 | 0
0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 1 | 0 | 1 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 1 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 1 | 0 | 0 | 0 | 1 | 0 | 0
0 | 1 | 0 | 1 | 0 | 0 | 0 | 0
0 | 0 | 1 | 1 | 0 | 0 | 0 | 0
0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 1 | 0 | 1 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 1 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 1 | 0 | 0 | 0 | 1 | 0 | 0
0 | 1 | 0 | 1 | 0 | 0 | 0 | 0
0 | 0 | 1 | 1 | 0 | 0 | 0 | 0
0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 1 | 0 | 1 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 1 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 1 | 0 | 0 | 0 | 1 | 0 | 0
0 | 1 | 0 | 1 | 0 | 0 | 0 | 0
0 | 0 | 1 | 1 | 0 | 0 | 0 | 0
0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 1 | 0 | 1 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 1 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 1 | 0 | 0 | 0 | 1 | 0 | 0
0 | 1 | 0 | 1 | 0 | 0 | 0 | 0
0 | 0 | 1 | 1 | 0 | 0 | 0 | 0
0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 1 | 0 | 1 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 1 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 1 | 0 | 0 | 0 | 1 | 0 | 0
0 | 1 | 0 | 1 | 0 | 0 | 0 | 0
0 | 0 | 1 | 1 | 0 | 0 | 0 | 0
0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 1 | 0 | 1 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 1 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 1 | 0 | 0 | 0 | 1 | 0 | 0
0 | 1 | 0 | 1 | 0 | 0 | 0 | 0
0 | 0 | 1 | 1 | 0 | 0 | 0 | 0
0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 1 | 0 | 1 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 1 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 1 | 0 | 0 | 0 | 1 | 0 | 0
0 | 1 | 0 | 1 | 0 | 0 | 0 | 0
0 | 0 | 1 | 1 | 0 | 0 | 0 | 0
0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 1 | 0 | 1 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 1 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 1 | 0 | 0 | 0 | 1 | 0 | 0
0 | 1 | 0 | 1 | 0 | 0 | 0 | 0
0 | 0 | 1 | 1 | 0 | 0 | 0 | 0
0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 1 | 0 | 1 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 1 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 1 | 0 | 0 | 0 | 1 | 0 | 0
0 | 1 | 0 | 1 | 0 | 0 | 0 | 0
0 | 0 | 1 | 1 | 0 | 0 | 0 | 0
0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 1 | 0 | 1 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 1 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 1 | 0 | 0 | 0 | 1 | 0 | 0
0 | 1 | 0 | 1 | 0 | 0 | 0 | 0
0 | 0 | 1 | 1 | 0 | 0 | 0 | 0
0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 1 | 0 | 1 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 1 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 1 | 0 | 0 | 0 | 1 | 0 | 0
0 | 1 | 0 | 1 | 0 | 0 | 0 | 0
0 | 0 | 1 | 1 | 0 | 0 | 0 | 0
0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 1 | 0 | 1 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 17 | 0 | 0 | 0 | 0
1 | 0 | 0 | 0 | 0 | 25 | 0 | 0
0 | 47 | 0 | 25 | 0 | 1 | 0 | 0
0 | 9 | 0 | 1 | 0 | 0 | 0 | 0
0 | 0 | 30 | 20 | 0 | 0 | 0 | 0
1 | 0 | 1 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 1 | 0 | 1 | 0
0 | 1 | 0 | 0 | 0 | 0 | 0 | 0
Spectrally resolved
Single photon counting
PANDORA Progress Meeting, December 16, 2021

## Slide 15: Spatially resolved soft – Low power
Number of frames: 3500
Exposure time of one frame: 150 ms
Plasma parameters:
100 % coils current, P = 30W, f = 12.84 GHz, Ar plasma
ROIs: 1)Plasma region 2) extraction hole region, 3) extraction plate, 4) extraction plate, 5)lateral wall of the plasma chamber
Spectra of the whole image
5
Superposition of the photon counted frames
PANDORA Progress Meeting, December 16, 2021
Rácz et al, 26 (2017) 075011

## Slide 16: Spatially resolved soft – low power
Superposition of the photon counted frames
Spectral comparison at different ROIs
Intense Argon K peak at ROI-1 and ROI-2  corresponding to the Ar plasma
Aluminum K peak at ROI-4  corresponds to the Al plasma electrode
ROI-3 shows the characteristics of both groups (ROI-1-2, and ROI-4)  axial inspection
ROI-5 shows K peaks of Fe/Co/Mn and Ni  lateral wall of the SS plasma chamber
5
Spectra of the selected ROIs
5
PANDORA Progress Meeting, December 16, 2021

## Slide 17: Spatially resolved soft – low power
Low energy electrons lose mainly axially
Spatial distribution of the argon plasma; dense in magnetic gap position
High energy electrons lose mainly radially
Selecting only the pixels of the frames which are loaded by the photons having energy correspond to:
‚Low’ energy E < 2 keV
Argon K-alpha line 2 keV < E < 4 keV
‚High’ energy E > 4 keV
PANDORA Progress Meeting, December 16, 2021

## Slide 18: Spatially resolved soft - High Power
Sophisticated data processing is required:
  Clustering
  Grouping
  High Dynamic Range
  Read Out Noise
  Escape peaks
Local plasma parameters
  Simulation
  EEDF
  Cros sections
Next talk
Eugenia
After the next talk
Bharat
PANDORA Progress Meeting, December 16, 2021

## Slide 19: What’s next - Challenges
To reach temporal resolution
  Periodic events
    Plasma build up process
    Instabilities
To reach better energy resolution: wavelength dispersive spectroscopy to online monitor the CSD in the plasma
PANDORA Progress Meeting, December 16, 2021