## Slide 1: 28nm analog front-end design Matteo Fratus for the BG/PV group
FALAPHEL meeting, Gen 17 2022

## Slide 2: Front-end design
Two different preamplifiers are being investigated, with different feedback network topology
Same forward gain stage (regulated cascode):
1.78uA
1.4uA
460nA

## Slide 3: Forward gain stage
Open loop gain (different corners)
AV0 ≈ 58 dB, f0 ≈ 2 MHz

## Slide 4: Krummenacher feedback
The first feedback topology being investigated is the classical Krummenacher network

## Slide 5: Krummenacher feedback
Premp output (different corners) for Qin ranging from 1ke- to 30ke-

## Slide 6: Krummenacher feedback
Equivalent noise charge (ENC) as a function of detector capacitance
Very similar results wrt RD53 Linear AFE
-20C
Room T

## Slide 7: Krummenacher feedback
Phase margin as a function of detector capacitance (different corners)

## Slide 8: IFCP65 feedback
Feedback topology used in IFCP65 chip (Fermilab/BG_PV)
Mf acts as a 1/gm resistor for small signals
Constant current source for large signals
M1 provides a DC path for the detector leakage current
Ri + Ci ensures low frequency operation of the leakage compensation circuit
Main features | 
 | 22.4
 | 18.0
ENC [e r.m.s] (@ CD=50 fF) | 75
phase margin [°] | 80
Main features | 
 | 22.4
 | 18.0
ENC [e r.m.s] (@ CD=50 fF) | 75
phase margin [°] | 80

## Slide 9: IFCP65 feedback
Premp output (TT corner) for Qin ranging from 1ke- to 28ke-
Significant baseline shift with detector leakage  not suitable for DC coupled comparators

## Slide 10: Comparator design
Different architectures are being investigated

## Slide 11: Time-walk and overdrive
Time-walk and overdrive data for a set of architectures (~500 el. input, ~25 mV/ke- charge sensitivity)
Schematic-level simulations (ideal preamp with 20 ns peaking time)
Parasitic capacitance (Cp) added at ”main nodes” of the comparators

## Slide 12: Conclusions
Two different preamps (different feedback networks) are begin investigated
  Very compact preamp forward gain stage
  Krummenacher feedback: very stable baseline, optimized baseline dispersion  suitable for DC coupling
  IFCP feedback: very compact design, non negligible baseline shift with detector leakage  suitable for AC coupling
IFCP-like FE layout activity started
Different comparator architectures being investigated:
  Classical and Traff-based architecture most promising
  Classical architecture more sensitive to parasitics
  Traff architecture: current in the comparator output branch not well under control
New architecture (clocked, auto-zero) being investigated  In-pixel flash ADC (2 bit)
Planned submission by the end of May (CERN?)