## Slide 1: First JUNO data challenge
Xiaomei Zhang

## Slide 2: Purposes
Check DMS and its HTTP TPC supports
Check functionality and performance of transfer services
Network status between data centers
Simulate raw data transfers in DCI parts

## Slide 3: Data management system
Data Management System – DIRAC DMS and Rucio
  Accept dataset transfer requests
  Send file transfer requests to FTS
  Both DIRAC DMS and Rucio joined
Data Movement Service -- FTS
  Manage data transfers
  Optimize parallel number
Four SEs
  IHEP-JUNOEOS
  CNAF-STORM
  IN2P3-DCACHE
  JINR-EOS
3

## Slide 4: TPC used
HTTP TPC are used in three SEs
  IHEP-JUNOEOS, CNAF-STORM, IN2P3-DCACHE
XROOTD TPC is used for JINR-EOS
  IHEP-JUNOEOS <-> JINR-EOS

## Slide 5: Network
IHEP <-> Europe
  10Gb/s public network, shared with other experiments
  Plan to upgrade to 100Gb/s this year
IN2P3 <-> CNAF
  100Gb/s

## Slide 6: Tests
Data and files
  4000*5GB files=20TB, 10000*500MB files= 5TB
Transfer tests
  IHEP-EOS-> IN2P3-DCACHE, CNAF-STORM, JINR-EOS
    Both separated and in parallel
    Both 5GB and 500M

## Slide 7: Tests using Dirac DMS (1)
Quality is good, and maximum speed can almost fulfill the network bandwidth
  100% success rate
  500MB/s with network control
  ~800MB/s without network control
Transfer status can be seen both from network, DIRAC and FTS3 monitoring
DIRAC
FTS

## Slide 8: Test with Dirac DMS (2)
>8Gb/s with10Gb/s
5Gb/s with 5Gb/s network control
Network
FTS
8Gb/s
5Gb/s

## Slide 9: Tests with Rucio
Rucio has 100% success rate good
Maximum speed can almost fulfill the network bandwidth, reaching 8Gb/s
8Gbps
IHEP Network Monitoing

## Slide 10: Speed rate control and optimization
Setting of submission and transfer rate
  Submission rate in DMS
    Have similar Controls with bulk size both in DIRAC and Rucio
    100 bulk size means one submission with 100 files
    20 threads for submissions
    Each second can have 2000 files submission
  Transfer rate in FTS3
    16 streams * 130 active = 2080 parallel transferring
With current speed, no pressure found in both DMS and FTS3
Transfer system can have ability to increase the transfer speed if the network bandwidth increase to 100Gb/s

## Slide 11: Single channel tests (1)
IHEP -> IN2P3, JINR

## Slide 12: Single channel tests (2)
IHEP -> CNAF

## Slide 13: Findings
500MB-5GB files are not much differences to the transfer speed
Transfers in parallel from IHEP to three sites, we see competition for network bandwidth
In a longer transfers covering two days, speed fluctuations was seen

## Slide 14: Network fluctuation

## Slide 15: Summary and Plans
The transfer services and SEs are working well with HTTP TPC
The network from IHEP to Europe is good to meet requirements of JUNO
DMS can provide a transfer which almost fulfill a public network bandwidth, showing very good transfer ability and quality

## Slide 16
Thank you!