## Slide 1
Plasma Physics and R&D on ion sources
Sources and Accelerators:
RF systems, innovative resonators, innovative accelerators
Plasma Modelling: confinement and heating
Plasma Diagnostics
Fundamental or Applied Research
Services
optical
X-ray
Interf.
David Mascali on behalf of LNS and LNL Ion sources groups
Laboratori Nazionali del Sud
RF/μW

## Slide 2
ECR Ion Sources Setup

## Slide 3: GANIL
  NUCLEAR PHYSICS WITH STABLE BEAMS
  RIBs PRODUCTION
    NEUTRONS PRODUCTION
Courtesy of L. Manoury
Courtesy of F. Maimone
  PRODUCTION OF SUPER HEAVY ELEMENTS WITH UNILAC
  NUCLEAR STRUCTURE OF EXOTIC NUCLEI
    HIGH ENERGY EXPERIMENTS
    ATOMIC PHYSICS
GSI

## Slide 4
Plasma Modelling: confinement and heating
2012-2013
2014-2016
2017-2020
2020 - …
2006-2009
2011
L Celona, et al, Observations of the frequency tuning effect in the CAPRICE ion source Review of Scientific Instruments 79 (2), 023305
D Mascali, et al. Towards a better comprehension of plasma formation and heating in high performances electron cyclotron resonance ion sources
Review of Scientific Instruments 83 (2), 02A336

## Slide 5
Experimental Benchmarks from theory and simulations: how to self-consistently model the ECR plasma and beyond  charge breeding for ISOL facilities
2012-2013
2014-2016
2017-2020
2020 - …
2006-2009
2011
Contribution to Charge Breeding in ISOL facilities
An ion bunch propagating inside an ECR plasma
Stopping power studies in plasmas
Plasma Modelling: confinement and heating

## Slide 6
Interaction with the ECR plasma
E1+=1*V keV
VCB = +(V + ΔV) kV
ΔV
Focusing
Deceleration
τCB (half life)
<q+> (energy)
Efficiency (Intensity)
ΔV<0
Fundamental parameter!
plasma
UPGRADED VERSION OF PHOENIX FROM LPSC
Charge Breeding scheme in ISOL facilities
Courtesy of A. Galatà

## Slide 7
Local Energy Release
There is the unique possibility to reproduce energy deposition and collective effects during beam-plasma interaction
Modelling of Charge Breeding in ECR Ion Sources

## Slide 8: ECR-CB MODELING
CHARACTERISTICS OF THE INJECTED BEAM
Efficiency Vs emittance
Efficiency Vs E spread
Efficiency Vs ion mass
IMPORTANT INFORMATION FOR THE BLIND TUNING OF THE CB

## Slide 9
O1+
O5+
O2+
O3+
O4+
ECR RESONANCE
Stepwise ionization: from electron energy-density 3D maps to charge state distribution
2012-2013
2014-2016
2017-2020
2020 - …
2006-2009
2011
Plasma Modelling: confinement and heating
2022 - …

## Slide 10
Plasma Diagnostics
optical
X-ray
Interf.
Plasma Physics and R&D on ion sources
RF/μW

## Slide 11
PANDORA
Online plasma multidiagnostic
Modelling + Diagnostics: a “gymnasium” for young students (MsD, PhD, etc.) training and formation:
8 PhD thesis (Physics and Engineering)
10 MsD thesis in Physics
>20 Bachelor thesis in Physics, Chemistry, Engineering
Course of Accelerator Physcs at Catania University Phys. & Astron. Dpt. (D. Mascali contract Prof. + Torrisi, Mauro, Naselli)
One of the most advanced multidiagnostics systems in ion sources field

## Slide 12
2010-2014
2015-2016
2017-2020
2020 - …
Exp.@ GSI – 2013, presented at ICIS’13-Tokyo and published on D. Mascali et al. Rev. Sci. Instrum. 2014
Exp. @ Atomki – 2014, presented at ICIS’15-New York, and published on D. Mascali et al. Rev. Sci. Instrum. 2016 and R. Racz, Plasma Sour. Sci. & Tech. 2017

## Slide 13
2012-2014
2015-2016
2017-2020
2020 - …
ATOMKI 2018 --> Experiment aiming at studying TCFH and its impact on plasma turbulence. A milestone for the understanding of plasma sability in compact traps.
Spatially-resolved X-ray Spectroscopy

## Slide 14
2010-2014
2015-2016
2017-2020
2020 - …
VESPRI@CSN5: The first interferopolarimeter worldwide for compact ECR traps and ion sources

## Slide 15
2012-2014
2015-2016
2017-2020
2020 - …
LNS 2017: experiment with Max Planck Institute – IPP partners
ATOMKI 2018 --> Experiment coordinated aiming at studying TCFH and its impact on plasma turbulence. A milestone for the understanding of plasma sability in compact traps.
FIRST COMPLETE OPERATION IN MULTIDIAGNOSTICS MODE!! During the PANDORA Feasibility study, approved by CSN5 (Nat. Resp.) the overall multidiagnostics method was set-up

## Slide 16
Plasma Physics and R&D on ion sources
Sources and Accelerators:
RF systems, innovative resonators, innovative accelerators
Plasma Modelling: confinement and heating
Plasma Diagnostics
optical
X-ray
Interf.
RF/μW
C4) Improving Ion Beam services (ERIBS)
Participants: JYU (coordination), ATOMKI, CNRS (IPHC, LPSC), GANIL, GSI, INFN (LNL-LNS), UMCG.
ERIBS (European Research Infrastructure - Beam Services) aims at providing high-level ion beam services for the EURO-LABS research infrastructures by focusing on improvements in two key categories:
  ion beam variety and production efficiency;
  short and long-term ion beam stability.

## Slide 17
Plasma Physics and R&D on ion sources
Sources and Accelerators:
RF systems, innovative resonators, innovative accelerators
Plasma Modelling: confinement and heating
Plasma Diagnostics
Services
optical
X-ray
Interf.
RF/μW

## Slide 18
450 kV Tandem injection
Since November’22 extraordinary maintenance has been planned
for all the subsystems present on the platform
In the early summer is planned to restart with R&D activity after a revamping of the Nestor source for production of noble gas to provide He- beam by charge exchange Li vapours
under study He+ and 22Ne
ion implanted on pyrolytic graphite

## Slide 19
30 cm
ULISSE is an ultracompact microwave discharge source producing protons for hadrontherapy (to be installed after the CS upgrade)
New Sources for LNS beams portfolio (2017-2020): NESTOR for the TANDEM (noble gases, e.g. He- beams) and ULISSE for the CS (protons)
NESTOR

## Slide 20
1H, 2H
6Li, 7Li
9Be, 10Be
10B, 11B
12C, 13C
14N
16O, 17O, 18O
19F
23Na
24Mg, 25Mg
27Al
28Si, 29Si
32S, 34S
35Cl, 37Cl
40Ca
58Ni, 60Ni
63Cu, 65Cu
70Ge
79Br
93Nb
116Sn, 120Sn
127I
197Au
Tandem Beam Menu
Maximum High Voltage ≈ 13.5MV
Pelletron charging system
HV stability ≈ 10-4
Noble gases development in progress

## Slide 21
Long half-life isotopes in batch-mode
@ 47 MeV
I≈10 nA for a few days
Contamination of 10B≈0.1%
10Be (T1/2 = 1.39×106 y) Tandem beam has been produced in batch-mode, in collaboration with PSI (Zurich)
10B≈0.1%
10Be
DE(ch)
E (ch)
Next possible beam: 26Al (T1/2=7.17×105 y)
Batch-mode beam development is foreseen for the next years

## Slide 22
SERSE REVAMPING
New plasma chamber and insulations: commissioning ok in view of CS upgraded;
Control system: renewed 100%;
New gas-injection-system, minimizing "beam-switch-time” for rare gases and isotopes (also useful for ASIF irradiation facility);
Commissioning phase-1 in 2020: around 330 μA O6+ output current at 30 kV (CS-upgraded requirement: 400 uA at 30 kV)
Now a cost-benefit analysis is ongoing to manage major maintenance issues on the cryo-systems
Rare isotopes of Ca, Zn, Sn beams
CAESAR upgrade
Upgrade of existing sources SERSE and CAESAR (2017-2020): rare isotopes for international collaborations
The SERSE ECR ion source
Vaporizing ovens

## Slide 23
AX E (AMeV)
H2+ 62,80
H3+ 30,35,45
2D+ 35,62,80
4He 25,62,80
He-H 10, 21
9Be 45
11B 55
12C 23,62,80
13C 45,55
14N 62,80
16O 21,25,55,62,80
18O 15,55
19F 35,40,50
20Ne 20,40,45,62
24Mg 50
27Al 40
36Ar 16,38
40Ar 15,20,40
Chart: Mass (a.m.u.)
| 2 | 20 | 58.6 | 120 | 117.3 | 240
 | 80 | 78.4 | 59.2 | 41.6 | 42 | 18
Cyclotron Beams Menu
AX E (AMeV)
40Ca 10,25,40,45
42,48Ca 10,45
58Ni 16,23,25,30,35,40,45
62,64Ni 25,35
68,70Zn 40
74Ge 40
78,86Kr 10
84Kr 10,15,20,25
93Nb 15,17,23,30,38
107Ag 40
112Sn 15.5,35,43.5
116Sn 23,30,38
124Sn 15,25,30,35
129Xe 20,21,23,35
197Au 10,15,20,21,23
208Pb 10

## Slide 24
AISHa@LNS
high stability and high reproducibility
low space occupation
low maintenance time
highly charged ion beams with low ripple
Courtesy of L. Celona, S. Gammino, O. Leonardi

## Slide 25
AISHa Performances
O6+ emittance 0.5emA
Courtesy: L. Celona, S. Gammino, O. Leonardi

## Slide 26
AISHa @ CNAO
INSpiRIT INnovative accelerator facility with Sources Ions for
Research and radiation hardness studies
with IndusTrial and clinical applications
  Helium, Lithium, Oxygen and Iron for new clinical protocols and biological/material experiments for space radiation research
  Source and ancillary equipment are being preassembled in INFN-PV.
  The first deployment into synchro room is foreseen on 12 May 22, other displacements will be done in several time slots allocated for synchro ordinary maintenance
  Commissioning is planned to start in late summer and will envisage night shifts as already carried out for O1 and O2.
Courtesy: L. Celona, S. Gammino, O. Leonardi

## Slide 27
R&D activities-IONS (CSN5)
Courtesy of G. Castro, L. Celona, O. Leonardi, F. Odorici, L. Malferrari, R. Reitano, L. Neri, S. Gammino
Task1: Beam diagnostics
New beam viewer and emittance measurement unit
  Connection between Plasma Parameters (ne, Te, Ti, i) and Ion beam parameters (extracted current, Charge state distribution, beam emittance and shape) for the different working conditions;
  Modification of plasma losses current by using active (multi splitted camera) and passive methods (wall covering) to improve source performances;
  Development of the Optical Emission Spectroscopy as a diagnostic tool

## Slide 28
R&D activities-IONS
Task3: Optical Emission Spectroscopy
Once plasma parameters of ECRIS are evaluated by OES,
it is possible to create a 0 dimensional model to predict beam parameters.
A typical OES
spectrum
Optical coupling system from AISHa plasma (H.V) to Horiba spectrometer

## Slide 29
R&D activities-IONS
Task2: Active plasma chamber
Courtesy of G. Castro, L. Celona, O. Leonardi, F. Odorici, L. Malferrari, R. Reitano, L. Neri, S. Gammino

## Slide 30
ESS high intensity proton source
Stationary and time dependent beam transport in space charge compensation regime (Particle in cell simulation code)
Flexible magnetic system design
(OPERA, Comsol)
Beam extraction
(Axcel)
Reduction of electric field (Comsol)
Improvements starting from IFMIF design (in collaboration with CEA)
Pulse rise and fall time using LEBT chopper (Prototype tested on BETSI)
Microwave to plasma coupling (3D Full wave simulation code)
Defocusing chopper (Comsol, TraceWin)
Courtesy of L. Neri, L. Celona, S. Gammino
2011 Strat of the design at LNS
2015 Start of the construction at LNS
25/05/2017 ESS visit for requirement verification
12/09/2017 ESS visit for requirement verification
17/11/2017 End of the commissioning at LNS
01/02/2018 Delivered and assembled in Lund

## Slide 31
ESS high intensity proton source
Minimum proton current range 67-74 mA
Doppler shift measurement
Intra-pulse stability < ±2%
Pulse to pulse stability < ± 3.5%

## Slide 32
High Stability Microwave Discharge Ion Source
Courtesy of LNS+LNL Team: L. Neri, L. Celona, O. Leonardi, G. Castro, A. Miraglia, S. Gammino, F. Grespan, M. Comunian, L. Bellan, C. Baltador, G. Russo, S. Boscarino, A. Coco
MDIS
HSMDIS
ɛ = 0.177 pi.mm.mrad
Goal 1: In-depth study of the largest dataset ever collected on this type of source (55000 source configurations)
Goal 2: Ion source simulation tool development (from plasma formation to beam extract)
simulation
simulation
simulation
915 G @ 0 mm

## Slide 33
Plasma Physics and R&D on ion sources
Sources and Accelerators:
RF systems, innovative resonators, innovative accelerators
Plasma Modelling: confinement and heating
Plasma Diagnostics
Fundamental Research
optical
X-ray
Interf.
RF/μW

## Slide 34
PANDORA: Plasmas for Astrophysics, Nuclear Decays Observation and Radiation for Archaeometry  A New ECRIT – ECR Ion Trap for β-decay measurements in plasmas
MAIN GOAL: Make b-decay measurements in plasmas of astrophysical interest: many isotopes can change their lifetime of several order of magnitude when ionized!!
COSMO-CHRONOMETER
reproduction of the two s-only isotopes 134Ba, 136Ba in suitable proportions
Solving the puzzle about the the exact contribution of s-processing to 94Mo: β-decay or binary stars
Experiments driving feasibility study carried out in the frame of an international partnership:
ATOMKI – Debrecen (Hungary)  multi-diagnostics setups
LPSC-Grenoble (France)  radio-isotopes injection
Max Planck Institute – Inst. Plasma Physics (Germany)  Optical Spectroscopy of magnetoplasmas
GANIL (France)  theoretical studies on multi-ionisation
University Jyvaskyla (Finland)  Ion Cyclotron Heating studies
GSI – Darmstadt (Germany)  Vaporizing ovens
INAF: the spectropolarimeter SARG was moved from TNG-Canary Island to LNS
>45 Researchers and Technologists INFN involved in 2020-2021 with > 20 FTE, 2 Nat. Labs and 3 Sections; >60 Researchers in total, including international partners
PANDORA Phase-1  3 isotopes from a list of more than 120 of astrophysical interest!!
Bound-state β-decay

## Slide 35
The Paper for Universe has been published in Jan. 2022. It includes 70 co-authors from 34 departments/laboratories in Italy and Europe

## Slide 36
PANDORA: an interdisciplinary facility to be installed at LNS
It could “add unique research capability” [CVI-report 2019] in Astrophysics and Nuclear Astrophysics in laboratory
for the first time, β-decay measurements in plasmas;
plasma opacity measurements in conditions similar to kilonovae ejecta;
an unprecedented setup for applications: it will be the biggest B-minimum magnetic trap with potentiality as ion source; as testbench for magnetic fusion; as radiation source for Archeometry.
Huge impact on nuclear physics and stellar nucleosynthesis
Heavy elements production in n-star merging
New ion and radiation sources for science and technology
PANDORA consists of:
Superconducting Magnetic Plasma Trap: it contains a plasma made of multiply charged radioisotopes
HpGe Array: it consists of 14 detectors to measure the γ rays emitted after β-decays
Plasma Diagnostics System: it consists of RF, optical and X ray spectrometers allowing direct correlation of β-decay rate to plasma density and temperature

## Slide 37
Notes: Qui descrivo con un pizzico in più di dettaglio il setup sperimentale e la questione della vita media attesa in plasma per il Lu, a titolo di esempio

## Slide 38: PANDORA Timescale – GANTT “master”
Phase-2 (in-flight injection, etc.)
TBD in details

## Slide 39
Plasma Physics and R&D on ion sources
Sources and Accelerators:
RF systems, innovative resonators, innovative accelerators
Plasma Modelling: confinement and heating
Plasma Diagnostics
optical
X-ray
Interf.
David Mascali on behalf of LNS and LNL Ion sources groups
Laboratori Nazionali del Sud
RF/μW

## Slide 40
INFN-DTT @ LNS
Sub-task:
ICH Antenna Conceptual Design
Sub-task:
Interferopolarimetry
Sub-task:
Soft X-ray diagnostics (imaging and tomography)
R&D on plasma heating and diagnostics applied to Ion Heating, interferopolarimetry and X-ray measurements in the Divertor Tokamak Test

## Slide 41
Divertor Tokamak Test Design of the IC-Antenna
INFN-DTT @ LNS: ICH-antenna

## Slide 42: New μ-waves resonators: IRIS
Conventional (CAESAR@LNS) plasma chamber
IRIS 1.0
IRIS refined
IRIS with slotted twisted waveguide
New microwave launching system with slotted/twisted waveguides
Innovative Resonator Ion
Source
IRIS: italian patent pending n. 102020000001756
International patent pending N. PCT/IB2021/050696 // (E0130645) BRE-sz

## Slide 43
New μ-waves resonators: IRIS
Innovative Resonator Ion
Source
IRIS is conceived for A.M. realization (3D printing). Twisted WGs have been already realized and vacuum/e.m. tested
Refined 3D printing and postprocessing has produced lab measurements close to simulations!

## Slide 44
Italian patent pending n. 102021000021158 “Metodo per progettare una struttura accelerante dielettrica che supporta un modo TE210-like perturbato” by Istituto Nazionale Di Fisica Nucleare E Politecnico Di Milano
New Accelerators Schemes: On-chip solutions for ultracompact electron/proton accelerators
Accelerator
‘in-a-shoebox’
~ GeV m-1
beam
o
TM01
TE10
Courtesy of G. Torrisi, G. Mauro

## Slide 45
Thanks for your attention!!
David Mascali on behalf of LNS and LNL Ion sources groups
Laboratori Nazionali del Sud