## Slide 1: Sorgenti di Radiazione Thomson/Compton e Collisori Fotonici
Overview of Compton Sources and Applications
Linear Quantum Theory of Inverse Compton Scattering of Beams and Paradigms for Compton Sources
Sources of secondary beams using photons (electron-positron pairs, muon pairs): the large recoil regime towards ultra-low emittance muon beams
Luca Serafini – INFN-Milan and University of Milan
luca.serafini@mi.infn.it
also thanks to V. Petrillo, F. Broggi, A. Bacci, A.R. Rossi, I. Drebot, C. Curatolo, M. Rossetti
Seminar Outline

## Slide 2
Inverse Compton Scattering: why Inverse?
(direct) Compton Scattering is performed by an energetic photon (X-rays) interacting with an atomic electron (eV)
Inverse Compton Scattering is performed by an energetic electron (MeV-GeV) onto a visible (eV) photon (“inverse” refers to the reaction kinematics, not the dynamics)
I.C.S. : Inverse Compton Scattering

## Slide 3
Courtesy A. Variola
STAR
ICS are the most effective “photon accelerators” (boost twice than FELs)
“4g2 boost effect”
HigS
ELI-NP
CALA

## Slide 4
1-25 GeV
electrons
100-0.5 Å
photons
cm und. period lu
FEL’s and Thomson/Compton Sources common mechanism: collision between a relativistic electron and a (pseudo)electromagnetic wave
20-150 MeV electrons
0.8 m laser l
20-500 keV
photons
3 km
20 m
The Classical E.M. view (Maxwell eq.): Thomson Sources as synchrotron radiation sources with electro-magnetic undulator

## Slide 5
Classical model
Relativistic electron
Laser pulse
Courtesy V. Petrillo

## Slide 9
Inverse Compton Sources rivaling/overcoming
Synchrotron Light Sources at photon energies above 80-100 keV
I.C.S.
STAR
ELI-NP-GBS

## Slide 10: Inverse Compton Sources, Overview, Theory, Main Technological Challenges – Photonic Colliders
New Generation of X/g ray beams via electron-photon beam collisions for advanced applications in medicine/biology-material science/cultural heritage/national security and fundamental research in nuclear physics and high energy physics (e-g, g-g colliders, pol. e+ beams, hadron. physics, etc)
Inverse Compton Sources (ICS) are e-/photon colliders aimed at producing secondary beams of photons
Several Test-Facilities world-wide: after a decade of machine test&development we are entering the era of User Facilities in X-ray imaging and g-ray Nuclear Physics and Photonics

## Slide 11: Inverse Compton Sources, Overview, Theory, Main Technological Challenges – Photonic Colliders
Hadronic Physics was the original motivation for Compton back-scattering experiments (cfr. Ladon at INFN-LNF, Graal at ESRF, etc): single photon per bunch collision at energies > 50 MeV with tagging (quite popular decades ago)
Recent Proposals (R.Hajima et al., PRAB 19, 020702, 2016 ) for high flux (5000 / s) GeV photons using FELs and 7 GeV e- E.R.L.
Combination at this Lab (CERN, SPS and LHC) of TeV-class proton beams and (possible) X-ray FELs ⇒ TeV-class photons (the role in beam-beam collisions of beam phase space quality on TeV photon spectra and fluxes (100 / s))

## Slide 12: Existing and planned Thomson sources
From THOMX Conceptual Design Report, A.Variola, A.Loulergue, F.Zomer, LAL RT 09/28, SOLEIL/SOU-RA-2678, 2010
STAR (Calabria) Linac 20-100 1011 (100 Hz) 18

## Slide 13
highly asymmetric compact*
electron-photon colliders
secondary photon beams via large
lorentz boost of c.m. reference frame
*10 m, 10 M$
MeV/GeV’s electrons
eV’s photons

## Slide 14
MariX/BriXS Program at Universita’ degli Studi di Milano and INFN
Courtesy V. Petrillo

## Slide 15
Compact machine
10x10 m2
In operation since
early 2015
An ICS based X-ray User Facility in operation in Germany

## Slide 16
Measured 5.1010 ph/sec with 20 mA
measured

## Slide 17
Measured 5.1010 ph/sec with 20 mA
measured

## Slide 18
Conventional X-ray tube for mammography
Spatial resolution ~100 mm
High Flux ~107 g/(mm2s) equivalent to ~5.1011 g/s over 20x20 cm2 area.
65 cm
Great example of Radio-logical imaging applied to mass screening over population: mammography
Low energy photons in the spectrum are absorbed by tissue, delivering radiation dose without bringing informations to detector. Risk of inducing secondary tumors increases without increasing the benefit of detecting early tumors
Absent in
Thomson
Source
X-ray
spectrum!

## Slide 19
3 cm thick in vitro human breast tissue
a) SR digital image
Energy 17 keV
Scan step 100 mm
MGD 1 mGy
b) SR digital image
Energy 20 keV
Scan step 100 mm
MGD 0.33 mGy
Conventional
X-ray tube 26 kVp
MGD 1 mGy
Mammography with Mono-chromatic X-rays at 20 keV has been proven
far superior in Signal-to-Noise-Ratio w.r.t. conventional mammographic tubes,
with a considerably lower radiation dose to the tissue

## Slide 20
Compact Thomson X-ray Sources could be located inside hospitals to diagnose
and treat patients directly at the hospital site (unlike Synchrotrons…)

## Slide 21
Phase Contrast Imaging made possible
by small round source spot size (< 20 mm)

## Slide 22
courtesy of A. Bravin (ESRF)
Bio-Medical Advanced Imaging with Mono-chromatic X-rays, demonstrated at
Synchrotrons, is possible also with High Flux Thomson X-ray Sources
in 20 keV-100 keV energy range

## Slide 23
Bio-Medical Advanced Imaging with Digital Subtraction of Mono-chromatic
X-ray shots are also possible with High Flux Thomson X-ray Sources with
picosecond to millisecond time resolution

## Slide 24: Advancing Thomson X Ray Sources for Bio/Medical Imaging Applications and Matter Science

## Slide 26
Accelerator and Equipments
in ELI-NP Building
100 m, 100 M$ scale
A g-ray User Facility in construction in
Romania: ELI-NP-GammaBeamSystem

## Slide 27
109 Authors, 327 pages
published today on ArXiv
http://arxiv.org/abs/1407.3669

## Slide 28: Photonuclear Reactions
g
What happens?
Seminario su Advanced Photon Sources - Dottorato Milano - June 2017

## Slide 29
Courtesy C. Barty - LLNL

## Slide 30: Photonuclear Reactions
gs
´

Separation
threshold
AX
A´Y

Nuclear Resonance Fluorescence (NRF)
Photoactivation
Photodisintegration

Absorption
(-activation)
´
~ 8 MeV

## Slide 33
courtesy of G. Travish (UCLA)

## Slide 34
courtesy of G. Travish (UCLA)

## Slide 35
courtesy of G. Travish (UCLA)

## Slide 36
Need of high peak brightness/high average current electron beams (cmp. FEL’s drivers) fsec-class synchronized and mm-mrad-scale aligned to high peak/average power laser beams
Main goal for Nuclear Physics and Nuclear Photonics: Spectral Densities > 104 Nph/(s.eV) photon energy range 1-20 MeV, bandwidths 10-3 class
Main goal for Medical Applications with X-rays: tunability in the 20-120 keV range, good mono-chromaticity (1-10 %), high flux (1011 min., 1012 for radio-imaging, 1013 for radio-therapy)
Challenges of electron-(optical)photon colliders as X/g beam Sources using Compton back-scattering

## Slide 37
Main goal for MeV-class g - g and TeV g - nucleon colliders: Peak Brilliance > 1021 Nph/(s.mm2.mrad2.0.1%) 109<Nph<1013 Source spot size mm-scale (low diffraction, few mrad) Tunability, Mono-chromaticity, Polarization (H,V,C)
Photon-Photon scattering (+ Breit-Wheeler: pair creation in vacuum) is becoming feasible with this new generation g-beams: a g-g low energy collider

## Slide 38: 3rd-4th Generation Light Sources
Synchrotron light sources: < 50 keV, > 50 ps (100 m, 300 M$)
X-ray FEL (LCLS): energy ≤25 (50?) keV, 1-100 fs (1 km, 1 G$)
New approach: inverse Compton scattering (ICS) 20-200 keV , sub-ps, (10 m , 10 M$) – sometimes called Laser Synchrotron since a laser pulse substitutes the magnetic undulators

## Slide 39
FLASH
12.4
1.24
0.124
l (nm)
Thomson/Compton Sources
Brilliance of Lasers and X-ray sources
BELLA
ELI

## Slide 40
Rivaling with Synchr. Light Sources for energies above 50 keV

## Slide 41
highly asymmetric compact*
elecron-photon colliders
secondary photon beams via large
lorentz boost of c.m. reference frame
*10 m, 10 M$
MeV/GeV’s electrons
eV’s photons

## Slide 42
STAR – Southern europe Thomson source for Applied Research
is a good example of research infrastr. based on X-ray beam lines for a regional facility to be built in an developing region/country
10 m

## Slide 43
STAR Hangar and Bunker

## Slide 48
STAR X-ray beamlines
foreseen applications
2021 SILS Meeting – Bologna (online) - June 23rd, 2021

## Slide 49
Courtesy R. Agostino

## Slide 50
2021 SILS Meeting – Bologna (online) - June 23rd, 2021
20-130 keV
100-350 keV

## Slide 51
MariX-BriXS-BriXSinO
MariX with bubble arc compressor
1.5-1.8 GeV
3.-3.6 GeV
3.2-3.8 GeV
Dump& post FEL users
BriXSinO with recirculation loop
kW-class
THz FEL
200 kW e- beam 50% efficiency
Two Way or ERL
High flux ICS
Dump-1:
90 MeV 1 mA
2021 SILS Meeting – Bologna (online) - June 23rd, 2021

## Slide 52
15 m
30 m

## Slide 53
Inverse Compton Sources rivaling in Average Brightness with Synchrotron Light Sources at photon energies above 80-100 keV
I.C.S.
STAR
ELI-NP-GBS

## Slide 54
Courtesy L. Palumbo
If the Physics of Linear Compton/Thomson
back-scattering is well known….
the Challenge of making a Compton Source running as an
electron-photon Collider with maximum Luminosity,
to achieve the requested Spectral Density, Brilliance,
narrow Bandwidth of the generated X/g ray beam,
is a completely different issue/business !
Re-visiting the Physics of Compton back-scattering
with an eye to effects impacting the quality and behavior of
the photon (and electron) beam phase space distributions

## Slide 55
Photon / Particle Beams: diffraction, envelope, matching, co-propagation.
Example: TEM00 Gaussian Laser mode (circ. pol. M2=1 diffr. limited)

## Slide 56: LASER
PARTICLE BEAM

## Slide 57
A) Quantum: linear QED of electron-photon 2-body kinematics and Klein-Nishina cross section
Energy/Momentum Conservation - no multi-photon (non-linear, collective) effects
Effect of electron recoil on X/g ray beam phase space quality (spectral density, bandwidth broadening) and on electron beam (emittance dilution in multiple scattering and incoherent energy spread due to scattering stochasticity)
B) Classical: synchrotron radiation with e.m. undulators
No Energy/Momentum Conservation – description of collective effects (laser coherent field, multi-photon absorption/emission, harmonics, red-shifts, etc)
2 Approaches to describe the Physics of I.C.S.
A) (linear) Quantum B) Classical
Limitation of (linear) quantum description: does not take into
account the coherent organization of photons
in the e.m. field of the laser pulse (intensity field, no phase)

## Slide 58: LINEAR (a0<<1, single photon) THOMSON BACK-SCATTERING
e- (1 GeV); l0=1µm, E0=1.24 eV lT=6 x10-8µm, ET=20 MeV
e- (200 MeV); l0=1µm, E0=1.24 eV lT=1.56 x10-6µm, ET=800 KeV
e- (29 MeV); l0=0.8µm, E0=1.5 eV lT=0.5 x10-4µm, ET=20 KeV

## Slide 59
From the electron orbits and the Liénard-Wiechert potentials in the far zone one can write the expression of the electric field [Jackson..]:
n
ez
Courtesy V. Petrillo
Notes: In the classical treatment, the double differential spectrum permits to evaluate the power emission and can be evaluated by means of a standard electrodynamical procedure based on the orbit calculation and on the Lienard-Wiekert potential in the far zone. The extension to the whole beam is made by summing the contribution of all the electrons.

## Slide 60
From the motion equation of the electrons
If E and B=kxE are electric and magnetic field of
the incoming laser,
Courtesy V. Petrillo

## Slide 61
Classical double differential spectrum
And for all the beam:
The double differential spectrum for one electron is:
Full treatement of linear and nonlin. TS for a plane-wave laser pulse with analytical expression of the distributions in P. Tomassini et al., Appl. Phys. B 80, 419 (2005).

## Slide 63
n
ez
Total intensity and Stokes parameter |Ex|2-|Ey|2 on the screen at 1 m, g=1200

## Slide 66: Example
Quasi head-on collision of a 5 MeV electron
(qe = 50 mrad, fe = p/2) on a flat-top pulse of normalized ampliude a0=1.5, l = 1mm and T = 20 fs
P. Tomassini et al., Appl. Phys. B 80, 419 (2005)

## Slide 67
FEL resonance condition
(magnetostatic undulator )
Example : for lR=1A, lw=2cm, E=7 GeV
(electromagnetic undulator )
Example : for lR=1A, l=0.8mm, E=25MeV
Example : for hn=10 MeV, l=0.4mm, E=530 MeV
laser power
laser spot size
L. Serafini et al., Proceedings of the SPIE,
Volume 6634, article id. 66341G (2007)
Violation of Energy-Momentum Conservation !!

## Slide 68
with
electron recoil
without
electron recoil

## Slide 69
Compton Inverse Scattering Physics is clear: recall some basics
3 regimes: a) Elastic, Thomson b) Quasi-Elastic, Compton with Thomson cross-section c) Inelastic, Compton, recoil dominated
Laboratory ref. system
Petrillo V. and al., NIM A 693 (2012)
Sun C. and Wu Y. K., PRSTAB 14 (2011) 044701
Courtesy V. Petrillo

## Slide 70: Quantum Model: a look at what happens in the Center of Mass reference system (kinematics)
Lab ref.
c.m. ref.
Recall some Basics

## Slide 71: Invariant Mass, Lorentz transformation from Lab to c.m. ref. system

## Slide 72
from
and
Holds before and after scattering (c.m ref. system!)

## Slide 73
D=0 electron as relativ. mirror
D>>1 symmetric collider

## Slide 74
before scattering
after scatt.

## Slide 75
what is the probability of scattering at ?
Klein-Nishina differential cross-section

## Slide 76
To transform to the Lab ref. system we need to compute
Then apply a Lorentz transformation

## Slide 77
notation warning hnx = Eph
cos
general solution
see below

## Slide 79
Thomson regime D=0 no recoil
Deep Compton regime
(D>>1 recoil dominated)
-
-

## Slide 80
Recap
(exact analytical formula, no approximations)
cos
cos

## Slide 81
Recap
(exact analytical formula, example 250 MeV electrons against hnL=1.2 eV photons)

## Slide 82
Recap
(exact analytical formula, example 250 MeV electrons against hnL=1.2 eV photons)