## Slide 1
Catalina Curceanu, INFN – LNF on behalf of the SIDDHARTA-2 Collaboration
SIDDHARTA-2 status report
63rd LNF Scientific Committee Meeting May 16th, 2022

## Slide 2
Kaonic Atoms with SIDDHARTA-2 at the DAFNE Collider
Kaonic atom Formation

## Slide 3
Kaonic Atoms with SIDDHARTA-2 at the DAFNE Collider
Kaonic atom Formation

## Slide 4
Kaonic Atoms with SIDDHARTA-2 at the DAFNE Collider
Width and shift obtained by measuring the X-rays emitted
Kaonic atoms and the QCD effects

## Slide 5: SIDDHARTA-2 Collaboration
Silicon Drift Detectors for Hadronic Atom Research by Timing Application
LNF-INFN, Frascati, Italy
SMI-ÖAW, Vienna, Austria
Politecnico di Milano, Italy
IFIN –HH, Bucharest, Romania
TUM, Munich, Germany
RIKEN, Japan
Univ. Tokyo, Japan
Victoria Univ., Canada
Univ. Zagreb, Croatia
Univ. Jagiellonian Krakow, Poland
ELPH, Tohoku University
5

## Slide 6
To perform the first measurement ever of kaonic deuterium X-ray transition to the ground state (1s-level) such as to determine its shift and width induced by the presence of the strong interaction.
Kaonic Atoms with SIDDHARTA-2 at the DAFNE Collider
SIDDHARTA-2 Scientific Goal

## Slide 7
To perform the first measurement ever of kaonic deuterium X-ray transition to the ground state (1s-level) such as to determine its shift and width induced by the presence of the strong interaction.
Analysis of the combined measurements of kaonic deuterium and kaonic hydrogen
Kaonic Atoms with SIDDHARTA-2 at the DAFNE Collider
completely solve Isospin-dependent K-N scattering length
SIDDHARTA-2 Scientific Goal

## Slide 8
Kaonic Atoms with SIDDHARTA-2 at the DAFNE Collider
Francesco Sgaramella
Kaonic atoms – scattering amplitudes

## Slide 9: Contents
Publications since last SC
62nd SciCom recommendations
SIDDHARTINO run outcomes
Activities in – SIDDHARTA-2 installation and first results
HPGe Detector: test run for kaonic lead (kaon mass)
Future plans
9

## Slide 10: Contents
Publications since last SC
62nd SciCom recommendations
SIDDHARTINO run outcomes
Activities in – SIDDHARTA-2 installation and first results
HPGe Detector: test run for kaonic lead (kaon mass)
Future plans
10

## Slide 11: Publications since last SC
D. Sirghi et al., A new kaonic helium measurement in gas by SIDDHARTINO at the DAΦNE collider, J.Phys.G 49 (2022) 5, 055106
F. Sirghi et al., Status and perspectives for low energy kaon-nucleon interaction studies at DAΦNE: from SIDDHARTA to SIDDHARTA-2, PoS PANIC2021 (2022) 200
M. Miliucci et al., Low energy kaon-nuclei interaction at DAΦNE:The SIDDHARTA-2 experiment, Il Nuovo Cimento 44 C (2021). Selected communication at 106° SIF Congress (best presentation: Marco Miliucci) for with publication on Rivista de il Nuovo Cimento, accepted.
A. Scordo et al, HAPG mosaic crystal Von Hamos spectrometer for high precision exotic atoms spectroscopy, PoS PANIC2021 (2022) 195.
F. Sgaramella et al., The SIDDHARTA-2 calibration method for high precision kaonic atoms X-ray spectroscopy measurements, e-Print: 2201.12101, submitted to Physica Scripta.
F. Napolitano et al., Kaonic Atoms at the DAΦNE Collider with the SIDDHARTA-2 Experiment, e-Print:2201.11525, submitted to Physica Scripta
Hexh Shi et al., Kaonic helium-4 L series X-rays yields in gas measured by SIDDHARTINO, under submission to Nuclear Physics A
11

## Slide 12: Publications since last SC
C. Curceanu et al, Kaonic atoms measurements at the DAΦNE collider: the SIDDHARTA-2 experiment, EPJ Web Conf. 258 (2022) 07006
M. Tuechler et al, Main Features of the SIDDHARTA-2 Apparatus for Kaonic Deuterium X-Ray Measurements, EPJ Web Conf. 262 (2022) 01016.
K. Piscicchia et al., Low energy kaon-nuclei interaction studies at DAΦNE, EPJ Web Conf. 262 (2022) 01006.
M. Miliucci, Silicon drift detectors technology for high precision light Kaonic atoms spectroscopic measurements at the DAΦNE collider, AIP Conf.Proc. 2416 (2021) 1, 020009.
V. De Leo et al, Reflection efficiency and spectra resolutions ray-tracing simulations for the VOXES HAPG crystal based Von Hamos spectrometer, Condens.Mat. 7 (2021) 1, 1.
M. Miliucci, Silicon Drift Detectors’ Spectroscopic Response during the SIDDHARTA-2 Kaonic Helium Run at the DAΦNE Collider, Condens.Mat. 6 (2021) 4, 47. .
+ other 4 articles submitted awaiting reviews
12

## Slide 13: Luca De Paolis: Best Poster award

## Slide 14: Contents
Publications since last SC
62nd SciCom recommendations
SIDDHARTINO run outcomes
Activities in – SIDDHARTA-2 installation and first results
HPGe Detector: test run for kaonic lead (kaon mass)
Future plans
14

## Slide 15: 62nd LNF Scientific Committee Meeting
Recommendations SIDDHARTA
“The SIDDHARTA-2 team should start taking data with the present luminosity, while working carefully on optimizing their S/B ratio as much as possible, like they have been doing in the past. Given the present background and machine conditions, it is important to know what is the minimum integrated luminosity required to get sensible results for the kaonic deuterium measurement.”
We address this question – data taking planned to be started end of May/early June 2022; need (probably) to go end of 2022 and/or through 2023 to get sensible results
15

## Slide 16: Contents
Publications since last SC
62nd SciCom recommendations
SIDDHARTINO run scientific outcomes - highlights
Activities in – SIDDHARTA-2 installation and first results
HPGe Detector: test run for kaonic lead (kaon mass)
Future plans
16

## Slide 17: SIDDHARTINO run
VETO-1
8 SDDs arrays
TARGET CELL
K-TRIGGER
LUMINOMETER
Pb LATERAL
SHIELD
He cooling line
VETO-2
Schematic representation of SIDDHARTINO setup
1 Bus
17

## Slide 18: SIDDHARTINO setup (1/6 SDDs)
Phase 1 with SIDDHARTINO:
during the commissioning of DAΦNE:
optimization with the SIDDHARTINO setup
for the K-4He measurement
(with 8 SDD arrays)

## Slide 19: Project timeline –shown at the last SciCom
SIDDHARTINO optimization run
2021, June
SIDDHARTINO K-4He run
2021, 24 June – 18 July
Start SIDDHARTA-2 installation: mechanics
2021, August
62nd LNF SciCom 2021, November
SIDDHARTA-2 Installation and tests 2021, September -October
61st LNF SciCom
2021, May
Software and hardware optimization
back. reduction
Different combinations of the degrader thickness and different gas density
Analysis of the SIDDHARTINO data.
Start SIDDHARTA-2 Installation
Installation of SDD, veto and electronics. Update of the DAQ….
Ready for run

## Slide 20
Optimization of xray/cm2/pb-1 very visible!
6.2 xray/cm2/pb-1
Factor nearly 3
OK for SIDDHARTA-2
15 xray/cm2/pb-1
SIDDHARTINO - xray/cm2/pb-1

## Slide 21: SIDDHARTINO data - Integrated Luminosity
Total integrated luminosity: 54 pb-1
Optimization run: 24 pb-1
Trigger, DAQ, SDD optimization
Kaonic 4He run: 30 pb-1
Degrader optimization, low and high 4He density measure
Kaon monitor and Luminometer measure at the end of SIDDHARTINO run

## Slide 22
Kaonic Atoms with SIDDHARTA-2 at the DAFNE Collider
e+
e-
DANE Collider
X-ray detectors
Kaonic atom
Target
Trigger
Degrader
Veto system
Monochromatic
Low energy kaons
Solid angle
Experimental Principle

## Slide 23: Degrader Optimization
Degrader thickness optimization is fundamental to maximize the number of stopped kaons in the target
Trigger up
Trigger down
the degrader is composed of mylar foil (micron) and is placed below the trigger up
23

## Slide 25
The most precise KHe measurement in gas

## Slide 26
Kaonic atoms cascade processes (yields)

## Slide 27
Kaonic atoms cascade processes (yields) for Nucl Phys A

## Slide 28: Contents
Publications since last SC
62nd SciCom recommendations
SIDDHARTINO run outcomes
Since Novembre - activities in – SIDDHARTA-2 installation, debog and first results
HPGe Detector: test run for kaonic lead (kaon mass)
Future plans
28

## Slide 29: Installation of SIDDHARTA-2
SDD detectors installation
Veto-2 installation
Front-end electronic installation
Veto-1 installation
29

## Slide 30: SDD installation
SDD installed around the target
calibration target

## Slide 31: SDD installation
Wrap for thermal isolation
31

## Slide 32: Veto-2 installation
Working principle of veto-2 system
32

## Slide 33: Veto-2 installation
Veto-2 single unit
Veto-2 Calibration spectrum
The installation of veto 2 has been completed and the correct operation of each unit has been verified
Each veto-2 unit is equipped with an LED that will allow to calibrate and verify the correct functioning of the system with and without beams
33

## Slide 34: Front-end electronics installation
SDD Front-end connector
SDD power supply connector
Veto2 connectors
SIDDHARTA-2 setup before the installation of electronic components
34

## Slide 35: Front-end electronics installation
SDD Front-end electronics
Electronic Box
Veto-2 Front-end electronics
35

## Slide 36: Front-end electronics installation
Veto2 electronics
SDD power supply
SDD Front-end electronics
36

## Slide 37: SDD calibration spectrum acquired with SIDDHARTA-2
TiK
CuK
BiL
TiK
CuK
BiL
Preliminary calibration
29/10/2021
37

## Slide 38: Veto-1 system installation
Veto-1 single unit
Drawing of the veto-1 elements placed around the vacuum
chamber
Working principle of veto-1 system
M. Bazzi et al, 2013 JINST 8 T11003
38

## Slide 39: Veto-1 system installation
Veto-1 system installed
39

## Slide 40
Francesco Sgaramella
Cooling line
Luminosity Monitor
Kaon Trigger
Cryogenic gaseous target
SDD detectors
Veto-2 system
Veto-1 system
Kaon Trigger
SIDDHARTA-2 luminosity monitor
DAFNE luminosity monitor
Target
Veto-2
Veto-1
SIDDHARTA-2 setup
384 SDDs

## Slide 41
SIDDHARTA-2 setup
Installed on DAFNE within early November 2022
Ready for Run
41

## Slide 42: Project timeline
SIDDHARTA-2
debug
2021, Nov. – December.
SIDDHARTA-2
Optimization
(while awaiting for DAFNE)
HPGE activitty
January – 7th April 2022
Start SIDDHARTA-2 debug with beam
7 – 13 April
2022
Kd run
end May/early June till July (as long as possible)
HPGe run
SIDDHARTA-2 KHe run
and HPGe debug
while commissioning 7 April – 63rd SciCom
62nd LNF SciCom
2022, Nov.
SDD calibration
DAQ optimization
Change of cryo lines
Installation and calib of HPGe
Debog of system with beam (trigger and luminometer)
Kaonic helium runs
Degrader, SDD calib, trigger, veto…
Ready for Kd run (DAFNE optimization continued)

## Slide 43
Early 2022
Cooling improvement
Replace the Al bars from
the cooling head and the target

## Slide 44
Early 2022
Internal cabling to SFERA ASIC (high density SCSI type connectors)
Output signals from CUBE preamplifier

## Slide 45
Early 2022
Replace:
non working SDD arrays
AL finger support for better cooling

## Slide 46
Online monitoring for setup parameters

## Slide 47: SIDDHARTA-2: Run History April – May 2022

## Slide 48: SIDDHARTA-2: Run History April – May 2022

## Slide 49: SIDDHARTA-2: Run History April – May 2022

## Slide 50: SIDDHARTA-2: Run History April – May 2022 (ex 1 May)

## Slide 51
Optimization of working regime

## Slide 52
Optimization of working regime

## Slide 53
Optimization of working regime

## Slide 54
SIDDHARTA-2 KHe 1.4%
Degraders: 475um (new) + 600 um
N° SDDs: 319 bkg function: pol1
L= 12.06 pb-1
 | Ee.m. [eV] | Eexp [eV] | Amp | events
KHe 3->2 | 6463.5 | 6462.5 2.0 | 416 9 | 1705 83
KAl 8->7 | 10435.1 | 10460 40 | 12 4 | 55 20
KAl 7->6 | 16088.3 | 16082.5 14 | 33 3 | 183 23
 | Ee.m. [eV] | Eexp [eV] | Amp | events
KHe 3->2 | 6463.5 |  |  | 
KAl 8->7 | 10435.1 |  |  | 
KAl 7->6 | 16088.3 |  |  | 
KN5->4
KC5->4
KAl7->6
(16088 eV)
KO5->4
KHe L-high
KHeL
KO6->5
KC6->4
KHeLa
KHeLb
KN6->5
KAl8->7
(10435 eV)
KN6->5

## Slide 55
KAl7->6
KC6->4
KO7->5
SIDDHARTA-2 KHe 1.4%
Degraders: 475um (new) + 600 um
N° SDDs: 319 bkg function: pol1
L= 12.06 pb-1
 | Ee.m. [eV] | Eexp [eV] | Amp | events
KHe 3->2 | 6463.5 | 6462.5 2.0 | 416 9 | 1705 83
KAl 8->7 | 10435.1 | 10460 40 | 12 4 | 55 20
KAl 7->6 | 16088.3 | 16082.5 14 | 33 3 | 183 23
 | Ee.m. [eV] | Eexp [eV] | Amp | events
KHe 3->2 | 6463.5 |  |  | 
KAl 8->7 | 10435.1 |  |  | 
KAl 7->6 | 16088.3 |  |  | 

## Slide 56
SIDDHARTA-2: first scientific outcomes:
An improved Khe measurement with higher precision
The most precise kaonic aluminium measurement
Plan to prepare 1-2 new articles!

## Slide 57: Contents
Publications since last SC
62nd SciCom recommendations
SIDDHARTINO run outcomes
Activities in – SIDDHARTA-2 installation and first results
HPGe Detector: test run for kaonic lead (kaon mass)
Future plans
57

## Slide 58: Charged kaon mass puzzle:

## Slide 59
Installation of HpGe structures and preliminary shielding
Pb target support behind luminomiter

## Slide 60
Ge refilling
establish procedure to be done each 7-10 days

## Slide 61
Present status

## Slide 62
First HPGe spectrum (we plan a technical paper)

## Slide 64: Contents
Publications since last SC
62nd SciCom recommendations
SIDDHARTINO run outcomes
Activities in – SIDDHARTA-2 installation and first results
HPGe Detector: test run for kaonic lead (kaon mass)
Future plans, requests
64

## Slide 65: Project timeline – future
SIDDHARTA-2 setup ready
End May 2022
Start Run SIDDHARTA-2 and HPGe parasitic test From end May – early June 2022
Continue the run SIDDHARTA-2
Kd
HPGe
as soon as possible!
summer
shutdown middle July 2022
𝐃𝐀𝚽𝐍𝐄 summer
shutdown middle July 2022
SIDDHARTA-2 setup ready
End May 2022
Start Run SIDDHARTA-2 and HPGe parasitic test From end May – early June 2022
Continue the run SIDDHARTA-2
Kd
HPGe
as soon as possible!
SIDDHARTA-2 Kd run: run 1 (requested 300 pb-1 – 100 pb-1 ?) run 2/3 (700 pb-1) with optimized components
Start of the data taking kaonic deuterium SIDDHARTA-2 run
65

## Slide 66
SIDDHARTA-2 K-d measurement
achievable precision
Kaonic deuterium run in 2022/3
Monte Carlo for an integrated luminosity
of 800 pb-1
to perform the first measurement of the strong interaction induced energy shift and width of the kaonic deuterium ground state
(similar precision as K-p) !
When significative?
Depends on yield (unknown)
Not less than 500 pb -1

## Slide 67
SIDDHARTA-2 kaonic deuterium at
shift [eV]
width [eV]

## Slide 68
Kaonic Atoms with SIDDHARTA-2 at the DAFNE Collider
SIDDHARTA-2 K-d measurement
SIDDHARTA-2
    SIDDHARTA-2 setup ready for Kaonic deuterium first ever measurement:
    Plans and requests
Optimization of veto systems integration: end May 2022
First run with SIDDHARTA-2 setup originally planned for
about 300 pb-1 integrated luminosity; we now realistically can envisage ia first run to start June 2022 (till July tbd) – 100 pb-1?
Second and Third (?) runs with optimized shielding, readout electronics and other necessary optimizations; (for remaining integrated luminosity, i.e. about 700 pb-1) – as soon as possible

## Slide 72: Conclusions
Despite the difficult period, we have been able to follow our plan and Sci Com recom. and perform our activities along the schedule @SC62
In particular we: performed the most precise KHe measurement in gas and the measurement of yields at lowest density
17 articles were published/submitted since the last Sci Com – important scientific outcome, 2 are in preparation
We are ready and very motivated to start the SIDDHARTA-2 planned first Kd measurement as soon as possible
We put forward proposal for solid targets measurements with SIDDHARTA-2 setup for 100-150 pb-1 after Kd run - @SC62 as well as future measurements proposal
Notes: found the instruments In this contest we achived also aour phisics goal performi the most ..
We published about 10 articles and otjer 2 are in preparation.

## Slide 73
Kaonic Atoms with SIDDHARTA-2 at the DAFNE Collider
Kaonic atoms Kaon-nuclei interactions (scattering and nuclear interactions)
Part. and Nuclear physics QCD @ low-energy limit Chiral symmetry, Lattice
Kaonic Atoms to Investigate Global Symmetry Breaking Symmetry 12 (2020) 4, 547
Fundamental physics New Physics
The modern era of light kaonic atom experiments Rev.Mod.Phys. 91 (2019) 2, 025006
Astrophysics EOS Neutron Stars
The equation of state of dense matter: Stiff, soft, or both? Astron.Nachr. 340 (2019) 1-3, 189
Dark Matter studies
On self-gravitating strange dark matter halos around galaxies Phys.Rev.D 102 (2020) 8, 083015
Notes: The kaonic atoms spectroscopy is really a unique opportunity to obtain information about QCD at threshold energy because compared to scattering experiments the kaon interacts with the nucleus with relative energy of a few keV, instead of the tens MeV.

## Slide 74
Thank you!
Part of the SIDDHARTA-2 collaboration

## Slide 75
Special thanks to the accelerator, research and technical divisions, and in particular to the DANE staff and to the LNF Director

## Slide 76: spares

## Slide 77
KC5->4
KO6->5
KAl8->7
KHe L-high
SIDDHARTA-2 KHe 1.4%
Degraders: 475um (new) + 600 um
N° SDDs: 319 bkg function: pol1
L= 12.06 pb-1
 | Ee.m. [eV] | Eexp [eV] | Amp | events
KHe 3->2 | 6463.5 | 6462.5 2.0 | 416 9 | 1705 83
KAl 8->7 | 10435.1 | 10460 40 | 12 4 | 55 20
KAl 7->6 | 16088.3 | 16082.5 14 | 33 3 | 183 23
 | Ee.m. [eV] | Eexp [eV] | Amp | events
KHe 3->2 | 6463.5 |  |  | 
KAl 8->7 | 10435.1 |  |  | 
KAl 7->6 | 16088.3 |  |  | 

## Slide 78: Back. reduction: reinforced shielding around the setup
Lead foil near the beam pipe
Lead bricks around the vacuum chamber
78

## Slide 79: SIDDHARTINO - xray/cm2/pb-1
15 xray/cm2/pb-1
7 xray/cm2/pb-1
Background lowered by a factor 2
reinforced shielding around the setup

## Slide 80: Luminosity measurement to monitor also background
Luminosity detector:
- SIDDHARTA-2 luminometer used for back: kaons/MIPS
- luminosity delivery
Back to plastic scintillators in coincidence with RF/4 signal

## Slide 81: Background levels monitor
Background levels were monitored online by a counter based on Kaon/Mip rate and a second based on Kaon/SDD rate.
Shared with the staff to optimize the background
81