## Slide 1: EuPRAXIA Building & Machine Layout
Andrea Ghigo
Riunione Giunta Esecutiva INFN A.Ghigo Roma 5 Febbraio 2021

## Slide 2
EuPRAXIA Building rendering
(front view)
Riunione Giunta Esecutiva INFN A.Ghigo Roma 5 Febbraio 2021

## Slide 3
EuPRAXIA Site @ LNF
Riunione Giunta Esecutiva INFN
A.Ghigo Roma 5 Febbraio 2021

## Slide 4
EuPRAXIA Building rendering @ LNF
Riunione Giunta Esecutiva INFN A.Ghigo Roma 5 Febbraio 2021

## Slide 5
EuPRAXIA Building rendering @ LNF
Riunione Giunta Esecutiva INFN A.Ghigo Roma 5 Febbraio 2021
Main entrance
User hall
Control room
corridor

## Slide 6
Laser & THz clean rooms
Particle experimental halls
Photon user experimental hall
Accelerator tunnel
Undulators tunnel
Klystron&modulators
Power supplies gallery
Plant gallery
The layout legend of the rooms
Riunione Giunta Esecutiva INFN A.Ghigo Roma 5 Febbraio 2021

## Slide 7
Plants distribution
Laser shaft
holes for cables
Cavity for cooling tubes
Water collection area
The design now focuses on electrical distribution, air conditioning,
temperature stabilization, clean rooms, main water cooling systems
Riunione Giunta Esecutiva INFN A.Ghigo Roma 5 Febbraio 2021

## Slide 8
Linac & undulators 3D layout
Riunione Giunta Esecutiva INFN A.Ghigo Roma 5 Febbraio 2021

## Slide 9
EuPRAXIA Linac
Riunione Giunta Esecutiva INFN A.Ghigo Roma 5 Febbraio 2021

## Slide 10
New SPARC Gun
Riunione Giunta Esecutiva INFN A.Ghigo Roma 5 Febbraio 2021

## Slide 11
Cathode
RF Cavities
Waveguide
Solenoid
Valve
Laser ports
Corrector
Current transformer
Farady cup
Flag
Fast valve
New SPARC Gun Components
Riunione Giunta Esecutiva INFN A.Ghigo Roma 5 Febbraio 2021

## Slide 12
RF photoinjector
Photoinjector:
Two S-Band Klystron&modulator power stations.
RF Gun
Two 3m S-Band RF accelerating structures
Solenoids x gun and two accelerating structure
RF pulse compressor (SLED)
Riunione Giunta Esecutiva INFN A.Ghigo Roma 5 Febbraio 2021

## Slide 13
X-band Linear accelerator
Linac:
7 X-Band Klystron and modulator power stations.
18 X-band accelerating structures 0.9 m long
2 RF deflectors and 1 RF power station
6 RF pulse compressors (BOC)
Bunch compressor:
4 Dipoles magnetic chicane
+ quads
Riunione Giunta Esecutiva INFN A.Ghigo Roma 5 Febbraio 2021

## Slide 14
Undulators &
beam dump studies
Permanent magnet Undulators & Diagnostics
33 m total lenght
undulator module 2.3 m long
Combination of SC and NC undulator is under study
Riunione Giunta Esecutiva INFN A.Ghigo Roma 5 Febbraio 2021

## Slide 15: SUMMARY OF THE INTEGRATION STATE: New tools
CAD
LAY-OUT GENERAL
LINAC optic 
Diagnostics
LINAC 
Injector
Diagnostics
nomenclature
LAY-OUT INIETTORE
SPARC like 
ONDULATORs
MAGNETs
MODULATORs,
GUIDE & RF

done
To do

ready

## Slide 16: New Lay-out setting
positions and orientation of elements from file 200pC_1GeV_X_90cm_update_short_LH_4b_up_check_new_Oct_20_flr.xlsx
dipoles and quadrupoles = cubes with side equal to the magnetic length
RF sections = full size sketches
A lay-out definition meeting is being planned: find the status quo of the layout (visible on web browser) at the link https://autode.sk/2XRyIQV
the updated link will be made available for collaboration on TEAMS
When available, the 3D CADs will gradually replace the cubes.
The same general assembly will always be available also in "lightened" view to be able to interact quickly on positions and new entries.
REASONABLE IMMEDIATELY: insert the injector in the "new SPARC-like" status.
EASY NOW: integration of nomenclature from WBS and application to the automatic numbering of drawings

## Slide 17: Mechanical implementation tool
Riunione Giunta Esecutiva INFN A.Ghigo Roma 5 Febbraio 2021
L. PELLEGRINO – E. DI PASQUALE
Simplified 3D CAD version AUTODESK VIEWER environment on
WEB browser

## Slide 18: Possible to take measurements, identify components, etc.
Zoom view with dimension
Riunione Giunta Esecutiva INFN A.Ghigo Roma 5 Febbraio 2021

## Slide 19: interact quickly with the design team
L. PELLEGRINO – E. DI PASQUALE

## Slide 20
S.Pioli
R&D Activities
TEX: X-band test stand
EuPraxia/CERN collaboration

## Slide 21
R&D Activities
Plasma-lab
New capillary shapes test
Discharge circuit test
Quantum efficiency measurements of new emitter material
Cathode test
Cathode-lab
Riunione Giunta Esecutiva INFN A.Ghigo Roma 5 Febbraio 2021

## Slide 22: Thanks for the attention
Riunione Giunta Esecutiva INFN A.Ghigo Roma 5 Febbraio 2021