## Slide 1: EuPRAXIA@SPARC-LAB: Machine Layout
Andrea Ghigo on behalf of
EuPRAXIA@SPARC-LAB collaboration
EuPRAXIA@SPARC_LAB TDR Rev.Committee A.Ghigo Frascati October 26, 2021

## Slide 2
Laser & THz clean rooms
Particle experimental halls
Photon users experimental hall
Accelerator tunnel
Undulators tunnel
Klystron&modulators
Power supplies gallery
Plant gallery
Functional area distribution: ground floor
EuPRAXIA@SPARC_LAB TDR Rev.Committee A.Ghigo Frascati October 26, 2021
Users labs
S.Incremona

## Slide 3
Laser Power
Supplies Room
Control Room
Plants ext. corridors
User offices
Plants Gallery
Functional area distribution: first floor
Meeting Room
EuPRAXIA@SPARC_LAB TDR Rev.Committee A.Ghigo Frascati October 26, 2021

## Slide 4
Linac & undulators 3D layout (February)
EuPRAXIA@SPARC_LAB TDR Rev.Committee A.Ghigo Frascati October 26, 2021
E.Di Pasquale

## Slide 5
New RF photoinjector
RF Gun + Two 3m S-Band RF accelerating structures
See E.Chiadroni Talk
RF Gun + Three 3m S-Band RF accelerating structures
EuPRAXIA@SPARC_LAB TDR Rev.Committee A.Ghigo Frascati October 26, 2021

## Slide 6
EuPRAXIA@SPARC_LAB TDR Rev.Committee A.Ghigo Frascati October 26, 2021
Schematic layout of the linac and klystron gallery
50 MW X-band modulator & klystron
See A.Gallo talk

## Slide 7
EuPRAXIA@SPARC_LAB TDR Rev.Committee A.Ghigo Frascati October 26, 2021
< 5.2m >
< 4.5mm >
< 2m >
50 MW X-band modulator & klystron
Modulator & Klystron in the gallery

## Slide 8
EuPRAXIA@SPARC_LAB TDR Rev.Committee A.Ghigo Frascati October 26, 2021
50 MW X-band distribution
1 modulator&klystron -> 4 RF accelerating structures

## Slide 9
EuPRAXIA@SPARC_LAB TDR Rev.Committee A.Ghigo Frascati October 26, 2021
Schematic layout of the machine and klystron gallery
25 MW X-band modulator & klystron

## Slide 10
EuPRAXIA@SPARC_LAB TDR Rev.Committee A.Ghigo Frascati October 26, 2021
< 2m >
< 2m >
< 1.5m >
Schematic layout of the machine and klystron gallery
25 MW X-band modulator & klystron

## Slide 11
Standard modulator for 25 MW klystron
Reduced footprint modulator for 25 MW klystron
Footprint comparison for standard and compact
25 MW modulator
EuPRAXIA@SPARC_LAB TDR Rev.Committee A.Ghigo Frascati October 26, 2021

## Slide 12
EuPRAXIA@SPARC_LAB TDR Rev.Committee A.Ghigo Frascati October 26, 2021
F.Cardelli
25 MW X-band distribution
1 modulator&klystron ->
2 RF accelerating structures

## Slide 13
EuPRAXIA@SPARC-LAB Functional layout
EuPRAXIA@SPARC_LAB TDR Rev.Committee A.Ghigo Frascati October 26, 2021

## Slide 14
Plasma module region
First optics design completed with input and output matching sections
The design of the plasma module box started
EuPRAXIA@SPARC_LAB TDR Rev.Committee A.Ghigo Frascati October 26, 2021

## Slide 15
Permanent Magnet Undulators
22m active length + diagnostics sections: 25m total length
Optimized length for undulator module: 2.2 m
A structure with walls close to the undulator is foreseen to stabilize the temperature (XFEL solution)
Combination of SC and NC undulator is under study
See L.Giannessi talk
EuPRAXIA@SPARC_LAB TDR Rev.Committee A.Ghigo Frascati October 26, 2021

## Slide 16
Undulators cooling
EuPRAXIA@SPARC_LAB TDR Rev.Committee A.Ghigo Frascati October 26, 2021

## Slide 17: Thanks for the attention
EuPRAXIA@SPARC_LAB TDR Rev.Committee A.Ghigo Frascati October 26, 2021