## Slide 1
Acoustic detection of ultra-high energetic neutrinos
- a snap-shot -
R. Nahnhauer
DESY

## Slide 2
radio lobe
sound disk
nm
t
p
~ km
m
optical light cone
The Vision
*) see e.g. R. Nahnhauer ,ARENA 2010
Build ~100 km3 hybrid detector to:
Confirm GZK cutoff !
Do physics with extremely high energy cosmic neutrinos*)
- astrophysics - E > 1016eV :
study origin of cosmic rays - (AGN’s, black holes, GZK cutoff, …)
- particle physics - E > 1018eV :
study neutrino cross section (sphalerons, mini BH, strong,…)
- cosmology - E > 1021eV :
study relic neutrino
background radiation
(UHE absorption at CBR )

## Slide 3
Nobel price 1960: "for the invention of the bubble chamber"
Hydrodynamic radiation from tracks of ionizing particles in stable liquids
First mentioning of an acoustic particle detection possibility
A modern application: PICASSO - searching for Dark Matter
If a dark matter particle hits a nucleus in a tiny superheated droplet, the atom recoils and deposits its energy in a heat spike, which in turn triggers a phase transition.

## Slide 4
First experimental detection of acoustic particle signals ?
9 mm2
Phys. Rev. Lett. 23, V4 (1969)184
V. D. Volovik et al., Sov. JETP Lett. 13 (1971) 390
Ne
acoustic intensity

## Slide 5
The Thermo-acoustic Model
First ideas presented at the 1976 DUMAND workshop independently by T. Bowen and B.A. Dolgoshein, Proceedings not accessible (to me) but see:
G. A. Askaryan and B.Dolgoshein, JETP Lett. 25 (1977) 213 T.Bowen, Proc. 15th ICRC, Plovdiv, 1977, V6, p. 277
d
G.A. Askaryan et al. NIM 164(1979) 267
In frequency domain :
P = (k/cp) (E/R) M
M=(f2/2) (sinx/x)
f=vs/(2d), x=(L/2d)sin 
k : vol. expans. coefficient
cp: specific heat
signal shape:
flat disk, width ~L
T. Bowen:
In time domain :
P = (1/4)(k/cp) (E/R)
J. Learned, Phys.Rew. D 19 (1979) 3293
P = (1/√(5.4) (1/4)(k/cp) (E/R) (vs/)2
: Gaussian width of ionization distr.
E=1016 eV R=400 m

## Slide 6
Signal strength :
Strongly dependent on:
- cascade simulation
- inclusion of LPM-effect and photo-nuclear reactions
- attenuation model - matter effects
For a recent 3D CORSIKA simulation see:
S. Bevan et al. NIMA 607(2009)398

## Slide 7
signal strength ~ Gruneisen parameter 
 | water | South Pole ice | salt
c (m/s) | 1530 | 3880 | 4560
k (/K) | 25.5e-5 | 12.5e-5 | 11.6e-5
CP (J/kg/K) | 3900 | 1720 | 839
 = c2k/CP | 0.153 | 1.12 | 2.87
fmax (kHz) | 7.7 | 20 | 42
refraction | moderate | very small | small?
att | > 1000 m | ~300 m | > 100 m
noise | variable | stable, < 14 mPa | small?
Ice is the only medium where optical, radio and acoustic signals can be used simultaneously
Target material influence on signal strength :
adapted from B. Price, ARENA2005 using SPATS results
Baikal, ICRC 2007
TANTARES = 13C
TBaikal = 3C

Real signal strength depends strongly on local conditions
BUT
G.Sulak et al. NIMA 161(1979)203
What about permafrost?
R. Nahnhauer et al.,
NIMA 587 (2008) 29

## Slide 8
What do measurements say?
Sulak et al. NIM 161(1979) 203
BNL: 200 MeV and 28 GeV protons, Emin = 1020 eV Harvard: 158 MeV Protons, Emin = 1015eV
Early experimental checks 1979-80
P.I. Golubnichy et al. Proc. DUMAND-1979, 148 Laser , = 1060 m
Other questions studied A= f(d), varying beam diameter A= f(K/cp), varying liquids A=f(R), varying distance A=f(p), varying static pressure
Similar studies from the last decade
Conclusions
 many Thermo-acoustic Model predictions confirmed  dominant mechanism is thermal expansion  other contributions (microbubbles, ???) can not be completely excluded
No comparison of absolute amplitude strength between data and model(s) available up to now
V.I. Albul et al. Instr. and Exp. Techn. 44 (2001)327 125 Mev+200 MeV, p,H2O, ITEP Moscow
S. Böser et al. unpublished (Dipl.-Thesis J.Stegmaier, Mainz2004) 177 MeV, p, ice, TSL Uppsala
K.Graf et al., Int.J.Mod.Phys. A21(2006)127 177 MeV , p, H2O, TSL Uppsala Laser, 1064 nm, H2O, Erlangen
R. Nahnhauer et al., NIMA 587 (2008) 29 Laser, 1064 nm, “permafrost”, Zeuthen
G.De Bonis et al.NIMA 604 (2009) 199 100 MeV+200 MeV, p, H2O, ITEP

## Slide 9
A first relative comparison
Ice
H2O
LxBxH = 130x40x27 cm3
LxBxH = 135x45x27 cm3
Beam: p,  = 2cm, E = 110 PeV R = 40cm
• R = 42.5 cm 
• R = 77.6 cm 
• R = 90 cm 
• R = 43.5 cm 
• R = 74.6 cm 
unexpected:
SH2O ≥ Sice
But several experimental uncertainties, measurement needs to be repeated
Detectors: First generation glaciophones
mounted to 13 inch IceCube glass half-spheres
TSL Uppsala 2003 S. Böser et al. unpublished

## Slide 10
Soon new data from AAL ?
water measurements done
tank freezing started end of March, needs about 60 days
D. Heinen, talk at German DPG ,April 2011
excellent laser monitoring
preliminary

## Slide 11
Piezo-ceramic based acoustic sensors
~10cm
Typical sensitivity:
-190  -110 dB re 1V/Pa
commercial production
home made
ONDE: RESON
AMADEUS: HTI
BAIKAL: H2020C
Special cases: military applications
RONA – ACORNE
AUTEC - SAUND
AMADEUS: Erlangen
SPATS: DESY
HADES: Wuppertal
J.A.Aguilar et al., NIMA 626-627(2011) 128
N. Budnev talk at ARENA2010,
Sound
absorb. hats
Y. Abdou et al., arXiv: 1105.4339 submitted to NIMA
G. Riccobene talk at ARENA2005,
S. Böser talk at ARENA2005,

## Slide 12
“New“ sensor ideas
fibre acoustic sensors – first ideas go back more than 30 years
pressure wave on fibre :  modulation of cavity size, leading to modulation of laser wavelength detectable by interferometer
C.Trono talk at ARENA2005
Proven to work at static pressure of 35 MPa (3500 m depth) with higher sensitivity then PZT devices
P.E. Bagnoli et al., NIMA 567(2006) 515, E. Maccione et al.,NIMA 572 (2007) 490,
A.Cotrufo et al. NIMA 604 (2009) 219 (fiber wrapped on a mandrel)
For other recent publications see e.g.:
J. Wang et al., Optoelectronic letters V3 No 4 (2007) doi: 10.1007/s11801-007-6169-1
S. Goodman et al., Proc. SPIE V 7004 (2008), doi: 10.1117/12.785937
B.Guan et al. , Optics Express Vol 17 No.22 (2009)19544 and references therein
Another approach: use intensity variations instead of phase modulation

## Slide 13
Piezo-foils as acoustic sensors
a- PVDF foil
b- Electrical contact (Copper tape + Silver glue)
c- Preamplifier
d & e - PVC Support
Thermo-acoustic signal
Reflections
Clean bipolar signal (thermo-acoustic)
Nice separation between direct signal and reflections
Frequency of the bipolar signal related to the laser beam width
Test with laser in water tank 
Will be tested in ice next
preliminary

## Slide 14
Acoustic transmitter
Saund I calibration sources
21 events per light bulb
measure energy and location
J.Vandenbroucke at Stanford Acoustic Miniworkshop ,2003
SPATS transmitter: measure sound speed,
sound attenuation length,
produced shear waves
own production used in ice
R. Abbasi et al., APP 33(2010)277 R. Abbasi et al., APP 34(2011)382
commercial ITC1001 use in water filled holes
Position monitoring
Problem for all deep water optical neutrino telescopes
Solution : fix strong acoustic transmitters at known positions of the sea bed, add hydrophones to optical strings, ping every 1-2 minutes, triangulate pulses
Example: ANTARES precision < 10 cm
M. Ardid,
NIMA 602(2009)174
R&D for KM3NeT 
F.Ameli et al.,
NIMA 626(2011)211

## Slide 15
Acoustic transmitters for bipolar signals
M
E
T
H
O
D
1
M
E
T
H
O
D
2
ACORNE
Take into account transfer function between emitted
and received signal
For a bipolar pancake > 5 hydrophones needed
S.Danaher, ARENA2010,
doi:10.1016/j.nima2010.11.142
Valencia
M.Bou-Cabo, ARENA2010,
doi:10.1016/j.nima2010.11.139
Use parametric acoustic sources (non-linear effect)
At distances > O(100 m) the bipolar pulse is dominant
build 1 pancake:
3 transducers with 20 cm separation

## Slide 16
Sensor calibration for use in water
Example: AMADEUS sensors lab calibration
Sensitivity measured with calibrated hydrophone,
confirmed with reciprocity method In-situ calibrations and application of “fake neutrino source” planned for September 2011
 - freq sensitivity
/deg
f/kHz
R. Lahmann, talk at ARENA2008
B
U
T
G. Riccobene, talk at DESY 2009
Sensitvity variation, dB
-2
100
300
Pressure,Bar
2
J.A.Aguilar et al., NIMA 626-627(2011) 128
10
100
 - freq sensitivity
100
10
f/kHz
/deg

## Slide 17
Sensor calibration for use in ice
For real application: calibrate at -50 C, at 50 MPa, in ice  hard to achieve
A
PPROX
1
A
PPROX
2
Calbrate in water at 0  C
Study pressure dep. at room temp.
Study in air temperature dep.
Y. Abdou et al., arXiv: 1105.4339, subm. to NIMA
<Sice>SPATS(15-50kHz) = 4.2 1.6 V/Pa
<SH2O>SPATS(10-50kHz) = 2.8 0.8 V/Pa
Perform reciprocity calibration for AAL transmitters Do for SPATS3
- reciprocity cal.
- hybrid cal. (use calibrated transmitter)
SPATS3
Preliminary results consistent with approx1
PRELIMINARY

## Slide 18
Recent experimental test sites
x

## Slide 19
SAUND I 15 km3
J. Vandenbroucke et al., Astrophys.J. 621 (2005) 301
AUTEC - SAUND
Study of Acoustic Ultrahigh-energy Neutrino Detection
Data taking: 65 *106 trigger in 195 days
N. Kurahashi, G. Gratta Phys. Rev. D 78, 092001 (2008)
SAUND II 1500 km3
first flux limit from acoustics

Data taking: 328 *106 trigger in ~130 days
Two events after all cuts (one example below)
N. Kurahashi et al., Phys. Rev. D 82, 073006 (2010)

## Slide 20
RONA - ACoRNE
L. Thompson, ARENA2008 and S. Bevan, Theses
Use 8 hydrophones at sea bed
Search for primordial black holes
In 50 TB of data
81 trigger survived cuts
Only two events with “bipolar” waveform (excluded by other reasons)
S. Danaher, ARENA2010, doi:10.1016/j.nima.2010.11.075

## Slide 21
ODE
Long term measurements of acoustic background noise in very deep sea
4 hydrophones (10 Hz-40 kHz bandwidth) synchronized.
Acoustic signal digitization (24bit@96 kHz) at 2000m depth.
Data transmission on optical fibers over 28 km.
On-line monitoring and data recording on shore. Recording 5’ every hour.
Data taking from Jan. 2005 to Nov. 2006 (NEMO Phase 1 deployed).
The average noise in the [20:43] kHz band is 5.4 ± 2.2stat ± 0.3syst mPa
Next step:
From G. Riccobene: ARENA2008, VLVNT2009 also: arXiv: 0804.2913
See also G. Riccobenes talk at this conference

## Slide 22: An acoustic detector for background studies
BAIKAL
Listening from top to down, prototype device at
150m depth
tetrahedral antenna 1.5m
4 hydrophones H2020C
4-ch, 195kHz, 16-bit ADC
one-plate computer
2 Mbit DSL modem
Most of time RMS of noise is a few mPa
NT-200
One signal from the deep layer of the Lake
From N. Budnev, ARENA 2010, doi:10.1016/j.nima.2010.11.153
March 2011 : prototype acoustic string deployed
Antenna with 4 waveguide hydrophones made in Vladivostok State University
Data taking ongoing,
first results soon

## Slide 23
AMADEUS
36 sensors at 6 storeys (1 – 350m distance, 34 active) 16bit @ 250kSps sampling ~ -125dB re 1V/mPa sensitivity ~85-90% uptime
R.Lahmann, ARENA2010 doi:10.1016/j.nima.2010.11.157
Power Spectral Density of Noise
Noise strongly correlated with weather conditions
Beam forming or time difference algorithms used, uncertainty < 1 degree
J.A.Aguilar et al., NIMA 626-627(2011) 128

## Slide 24
SPATS
Attenuation length:
5 methods:=300
No evidence for depth or frequency dep.
Noise conditions: ~ 2 years monitoring
Gaussian, Stable,
Below 200 m ≤ 14 mPa
4 strings in IceCube holes
instrumented depth: 80 m - 500 m
per string:
7 stations with sensors + transmitters
pinger
T. Karg, ARENA2010, doi:10.1016/j.nima.2010.10.22 D.Tosi, TEVPA 2009
Sound speed:
- two combinations at 125 m distance - accuracy < 1% - first in situ measurements for P and S waves at SP
Transient events
Only from identified sources, connected to IceCube detector construction
See also talk of K. Laihem at this conference

## Slide 25
R. Abbasi et al.,arXiv:astro-ph/1103.1216
Acoustic neutrino flux limits
SPATS
SAUND2
ACORNE

## Slide 26
Future: Water
Near term:
  completion of the various feasibility studies
  close cooperation with marine science
  prototyping for next step, e.g. sensors, calibration
  In-situ calibration and “fake neutrino source” (e.g. ACoRNE and ANTARES, BAIKAL)
Intermediate term:
  scalability and design studies towards a km3-sized hybrid (acousto-optic) detector
  convergence of European acoustic activities
Long term challenges:
  handling of varying background levels to achieve low energy threshold (<1018 eV)
  large distance deployment
  hybrid option for large scale (> 100 km3) detector

## Slide 27
Future: Ice
Near term:
  completion of the SPATS feasibility study
  explanation of “low” attenuation length at the South Pole
  prototyping for next step, e.g. sensors, calibration
  check other locations than South Pole
Intermediate term:
 development of “robotic” drilling and deployment (example : IceMole [K. Laihem at this conference])
  build an intermediate size detector in cooperation
  with a similar size radio detector project (ARA, ARIANNA, new)
  check offline hybrid detection possibilities
Long term challenges:
  handling of background to achieve low energy threshold (<1018 eV)
  drilling and deployment of/in > 100 deep holes per season
  power and communication for a > 100 km3 detector in Antarctica

## Slide 28
Final Remarks
TeV-PeV neutrinos:
Should exist  possible sources : SN remnants, GRB’s, AGN’s, …
Have not been observed until now, why?
- Present detectors too small? But what is the right size?
- Have only optical detection technology working in this energy range
- May increase present projects in maximum by factor ~10
- What, if there are no such neutrinos?
- Would this be a catastrophe for our basics?
EeV neutrinos:
Must exist, otherwise basic physics knowledge has to be revised
 possible sources : GZK-effect, AGN’s, others
 have observed >1019.5 eV protons and CMB-photons
Don’t know frequency of occurrence vs. energy
Measured limits require 100-1000 km3 detectors to observe a few such neutrinos
Presently only radio and acoustic technologies allow to build such detectors
My conclusion:
- UHE neutrino search is a top priority topic
independent of the results achieved at lower energies
- Go for a hybrid detection concept to get convincing results

## Slide 29
The End