## Slide 1: One-day meeting on (n,cp) reactions at n_TOF Timepix and GEM detectors
Gempix 1 with internal target
Gempix 3 evolution
Timepix (silicon ) QUAD
Light Timepix 3 (silicon) QUAD
Diamondpix (Timepix3 with diamond sensor)
Multiboron GEM Detector

## Slide 2: GEMPix detector: studies with internal target
Triple GEM
Target
Mylar window
Neutron
Gas flux AR CO2 or AR CO2 CF4
Atmospheric pressure
Active Area : 3x3 cm2
Time resolution : 5 ns
Space resolution : 200 um
Particle id capability (dE/dX)
The target doesn’t have to produce oxygen inside the gas

## Slide 3: Alumina strips as target
Gas flux AR CO2 or AR CO2 CF4
Triple GEM
Mylar window
neutrons
HV
FITPIX
The alumina strips have dimension : 0.4 x 10 x 50 mm
Copper mesh
Allumina target
The mesh and the aluminized mylar
are at the same potential
Openable 12 um aluminized mylar
1.6 mm
Drift volume

## Slide 4: Prototype of the mesh window & alumina strips
A mouse in transparency
Alumina strips
Mylar window
Final target setup
Copper Mesh windows
The detector should be completed next week and ready to be tested on the dump area
The target can be changed removing the mylar window

## Slide 5: Next GEMPix Installation in Dump Area
X
Horizontal (pxl)
Vertical (pxl)
Beam image from silicon sensor
3x3 cm2

## Slide 6: Particle identification
The detector can perform particle id using the cluster parameters : alfas from protons and from gammas
The calorimetric measurements depends on the dimension of the drift space (with this version only 3mm)
Future : with Timepix3 technology it is possible to implement 3D reconstruction of the products tracks

## Slide 7: Particle ID with GEMPix detector

## Slide 8: GEMPix as small TPC
5 cm drift space

## Slide 9: GEMpix vs GEMPix3
Up to now we always used GEMPix detector with
10 ns resolution
50 um spatial resolution
Big dead time (few time frame per second)
Information on Charge OR Time
Improvement with GEMPix3 detector are:
1 ns resolution
50 um spatial resolution
NO dead time (data drive mode)
Information on Charge AND Time
Online Clustering

## Slide 10: Silicon sensor QUAD
BNCT studies

## Slide 11: Silcon sensor Timepix QUAD and target holder

## Slide 12: Particle ID using Timepix cluster analysis

## Slide 13: Measurements at Callab @ CERN
Gamma
Neutron
Charge/Size (dE/dX)
Charge
Neutron
Neutron
Gamma
Gamma
Cluster Charge vs Cluster size

## Slide 14: How to put a target in front of a silicon sensor
GEM foil
as collimator
Target

## Slide 15: 10B4C target on silicon sensor detector
Cuts in dE/dx &
1100 < volume < 2000
(1.1 < E < 2 MeV)
20mm

## Slide 16: Timepix Quad detector cross section
Kapton 50 um
70 um
50 um
Copper 5 um
Copper 5 um
target
< 400 um air (?)
0.5 um Alu
300 um silicon sensor
700 um Timepix
1.6 mm Ceramic
0.1 um Gold
4 mm Alu
1.6 mm PCB

## Slide 17: Light Timepix3 Quad detector cross section
Kapton 50 um
50 um
Copper 5 um
Copper 5 um
tissue
< 400 um air (?)
0.5 um Alu
100 um silicon sensor
200 um Timepix
70 um

## Slide 18: Light Timepix3 QUAD detector at CERN
Calibration ongoing …

## Slide 19: Diamondpix

## Slide 20: Diamondpix : a radiation tollerant detector
Two Diamondpix have been tested on
charged and neutron beam for future applications.
Pads on diamond
downward surface
Gold cathode on diamond
upward surface
Timepix3 Pads
Made by Element6 and Fraunhofer IZM
Diamond bump bonded on Timepix3

## Slide 21: Diamondpix : a radiation hardness detector
Details on :
Diamondpix: a CVD diamond detector with Timepix3 chip interface TNS 00581-2018-R1
Neutron / Gamma discrimination
Neutrons
Gammas
Beam image

## Slide 22: MultiBoron layer GEM detector

## Slide 23: MBGEM Detector Layout
Multiborate
cathode
3GEM
pad readoout
Thermal Neutron
a
a
a
Triple GEM
BGEMs
50 um
pad readoout
DRIFT
GAIN
12 layers of
1 um 10B4C
Triple GEM

## Slide 24: BGEMs with GEMPix : 3x3 cm2 active area

## Slide 25: BGEMs foils after Boron Carbide deposition 10x10 cm2

## Slide 26: BGEMs foils after Boron Carbide deposition 10x10 cm2

## Slide 27: MBGEM 10x10 cm2 detector at nToF
The detector has been placed on the optical table inside the dump area of EAR1

## Slide 28: MBGEM detector : boron layers contribution
BGEM
Layers
# Hits

## Slide 29: MBGEM detector : 2D image of the beam vs energy
Active area 10x10 cm2
Gammas
Fast
neutrons
Epitermic
Neutrons
Termal
Neutrons

## Slide 30: MBGEM detector : to be done
Cluster analysis
Energy reconstructions
Efficiency measurements
Passive divider

## Slide 31: SPARE

## Slide 32: GEMPix3 prototype costs
Katherine readout for a TIMEPix3 quad . : 4000
Timepix3 quad board . . . . . . . . . . . . . . . : 1400
Timepix wirebonding . . . . . . . . . . . . . . . . : 600
4 Timpix3 chips . . . . . . . . . . . . . . . . . . . . . : 1000
6 Alluminized GEM . . . . . . . . . . . . . . . . . . : 2000
2 cables VHDCI high speed . . . . . . . . . . . : 1000
Total . . . . . . . . . . . . . . . . . . . . . . . . . . . . . : 10000