## Slide 1: Preparation of tests of CP invariance in the lepton sector using ortho-positronium annihilation
Damir Bosnar and Ivica Friščić*
Department of Physics
Faculty of Science
University of Zagreb
The Hitchhiker’s Advanced Guide to Quantum Collapse Models
and their impact in science, philosophy, technology and biology
Laboratori Nazionali di Frascati 31.10.-04.11. 2022.
*Horizon 2020 Widening fellowship 2021-2023

## Slide 2: Motivation
Matter-antimatter asymmetry
Sakharov’s explanation requires CP violation (Z. Eksp. Teor. Fiz. 5, 32–35 (1967)
CP violation observed in the quark sector, but too small (
No CP violation observed in the lepton sector so far
Some theories assume CP violation in lepton sector, which could fulfill Sakharov’s requirement
Hint in experiments with neutrino oscillations, Kamiokande exp. (K. Abe, et al., Nature 580, 339–344 (2020))
It can be also investigated in ortho-positronium annihilation, table-top experiment, the most precise measurement up to date puts a limit on 10-3; limit of the Standard model is ~ 10-9 (W. Bernreuther, et al., Z. phys. C 41, 143 (1988) )

## Slide 3: Positronium: para-positronium, ortho-positronium
Positronium: electron-positron bound state
predicted by S. Mohorovičić Astron. Nachr. 253 (1934) 94
discovered by M. Deutsch Phys. Rev. 82 (1951) 455
Para-positronium (p-Ps): S=0, Sz=0, Mean lifetime approx. 125 ps,
Decay mode: 2,4,6, …2n γ
Ortho-positronium (o-Ps): S=1, Sz=-1,0,1, Mean lifetime approx. 142 ns,
Decay mode:3,5,7,… (2n+1) γ

## Slide 4: Ortho-positronium annihilation: mainly in 3γ, decay is in a plane, τ approx. 142 ns
E=1.022 MeV
Para-positronium annihilation: mainly in two back-to-back gammas, τ approx. 125 ps
γ1
γ2
o-Ps
p-Ps

## Slide 5: If CP is not conserved in o-Ps annihilation, the annihilation rate should be dependent on CP violating term
ki is direction of
ith gamma
N(t)=N0[1+CCP(1)(1x )]
S o-Ps spin
k1 > k2 > k3
H.Cheng, Phys. Rev. D28 (1983) 150)
τ is o-Ps lifetime
CCP is amplitude of CP
violation
The standard model prediction for CCP is of the order of 10-9.
(W. Bernreuther et al. Z. Phys. C41 (1988) 143)

## Slide 6
2
1
3
S o-Ps spin
k1 > k2 > k3
The analyzing power Q is defined:
Q=(1)(1x )= P2 sin2Θ sinψ cosΦ
P2=
We should somehow distinguish S z =0 and S z = +1, -1 states
P2 is o-Ps spin
alignment
(tensor polarization)

## Slide 7: How to do the measurement?
Produce Ps
Separate o-Ps
Polarize it
Separate Sz = 0 and Sz = +1, -1 states
Measure an asymmetry (if exists)

## Slide 8: A magnetic field can be used to orient o-Ps spins AND it also perturbs triplet S z=0 state:
In a magnetic field the o-Ps state with Sz= 0 and singlet state mix ->
greatly reduced mean lifetime of triplet Sz =0 state,
e.g. for 0.5 T to approx. 22 ns
Mean lifetime of triplet Sz= +1, and Sz= -1 states unchanged ~142 ns.
Figure: M. Felcini, Int. J. Mod. Phys A19 (2004) 3853
P2 =
Use ortho-positronium lifetime in a magnetic
field to select the Sz=+1,-1 states
(positron annihilation spectroscopy method)
Q=(1)(1x )= P2 sin2Θ sinψ cosΦ

## Slide 9: Most precise measurement using this method: T. Yamazaki et al Phys. Rev. Lett. 104 (2010) 083401
Q = P2 sin2Θ sinψ cosΦ,
Θ and ψ are constant
CCPQ(Φ)
is asymmetric function of Φ if CP violation exists

## Slide 10: Most precise measurement using this method: T. Yamazaki et al. Phys. Rev. Lett. 104 (2010) 083401
The line shows the expected
angular dependence for CCP=0.01
:CCP = 0.0013 0.0021 (stat) 0. 0006 (syst)
Our measurement is using the same approach.
Determined asymmetry:
which is CCPQ(ø)
P2=0.87 𝜟t=50-130 ns
(Q(Φ) = P2 sin2Θ sinψ cosΦ)

## Slide 11: Our measurement: 24 BaF2 scintillation detectors for detection of gammas from o-Ps annihilation
Each detector:
cylindrical 1”x1” BaF2 coupled to
Photonis XRQ2020 PMT with
µ-metal shielding
Built in the framework of diploma work of I. Friščić
-diameter 48 cm, variable
-rotatable

## Slide 12: Our measurement: 24 BaF2 scintillation detectors for detection of gammas from o-Ps annihilation
Altogether 48 detectors,
GEANT4 simulations for
acceptance efficiency, rate,… -> 24 detectors
Recently acquired 2”x1” cylindrical BaF2

## Slide 13: Our measurement: 24 BaF2 scintillation detectors for the detection of gammas from o-Ps annihilation
Data processing and acquisition:
2 x 16-channel CAEN V1743 fast pulse
digitizers, 3.2 GS/s, 12 bit, OR and AND
capabilities among the channels
This is all electronics
we need to run this
experiment 
CAEN 24-channel HV
Complexity in off-line
analysis
Large disk storages
It processes data and
stores complete signals:

## Slide 14: Our measurement: 24 BaF2 scintillation detectors for the detection of gammas from o-Ps annihilation
Tests of energy and time resolution with
analog electronics:
Energy resolution:
Time resolution:
R(FWHM)=194 ps

## Slide 15: Our measurement: 24 BaF2 scintillation detectors for the detection of gammas from o-Ps annihilation
Algorithms for energy and time reconstruction in Root
(developed using 4 channel PSI DRS4 evaluation
board with the same characteristics as CAEN V1743 ):
Measurements with 22Na
A signal from BaF2 acquired
with digitizer:
Energy reconstruction and
resolution
Timing determination and time resolution
FWHM
~154 ps
R11%
for 511 keV

## Slide 16: Our measurement: positronium and magnetic field
Positronium production:
1MBq 22Na source between
two samples of şilica aerogel
Magnet:
0.5 T, 40 mm x 40 mm
2 neodymium permanent
magnets :
Magnetic field production:
Yoke:
22Na
source
Eckert & Ziegler

## Slide 17: Our measurement: To do: holder for 22Na source and aerogel + scintillation detectors for positron detection
0.1mm (?) scintillators between 22Na source and silica aerogel + light guide + PMT (now Photonis XP2020 URQ,
application for Hamamatsu H8409-70 PMZ)
Tests with
25, 50, 100 µm
scintillators,
Shape of the
light guide

## Slide 18: Our measurement: expectations and outlook
With the present system the limit on the CCP expected between 10-3 and 10-4.
Time of measurement? -> Strongly dependent on the efficiency of positron detection and positronium production
Upgrade to 2”x1” scintillators
Hamamatsu H8409-70 PMTs?
….

## Slide 19: Thank you for your attention!