## Slide 1
Development and Charecterization of Plasma Sources
for Plasma-based Accelerators
EuPRAXIA@SPARC_LAB
Sahar Arjmand
Supervisor: Prof. Massimo Ferrario
Advisor: Dr. Angelo Biagioni
INFN-LNF (National Laboratories of Frascati)
sahar. arjmand@lnf.infn.it

## Slide 2
Research Outline
Advantages of Plasma Technology
Plasma Wakefield Acceleration
Important of Plasma Properties
Motivation
Future Prospective
Plasma Charecterization Results
Spectroscopic Plasma Density/Temperature Measurements
Study on Capillary with Different Geometry
Study on Capillary Aging
Study on Plasma Ramp Formation
Study on Shot-to-shot Stability of Plasma (Timing Jitter)
Study on Plasma Discharge Stabilization (Laser Trigger)
Changing Gas Type
New Material for Capillary
Large-scale Capillary
Experimental Setup
Plasma Diagnostic (Spectroscopic Techniques)
Plasma Sources
Plasma Module

## Slide 3
SPARC_LAB Accelerator
Plasma Module:
(Plasma Cavities/Active Lenses)
mm – cm Scale
1 mm => 100 MeV
Electeric field > 100 GV/m
Cost-effective
Capillary mounted on the SPARC_LAB Chamber
Motivation of Plasma-based Accelerators
COMB Chamber of the SPARC_LAB SPARC_LAB
Accelerating Gradient 30-180 MeV

## Slide 4
Plasma Wakefiled Acceleration
Creation of the plasma by discharge
Driver beam (electron bunch) enters the plasma
Break of neutrality by the Driver induces a following wake where
the second bunch (witness) can be placed
Acceleration Scheme
Witness bunch introduced in the plasma
Since the bunch density is > than plasma density the depleted region is Bubble-like
Background density regulates the accelerating field
E [V/m ] 96 (ne [cm-3])1/2
Electron bunch length and plasma density must be tuned finely
One possible matching way is to use plasma capillary devices
Plasma Parameters |  | 
( | () | (Hz)
 | 100 (300 fs) | 2
Plasma Parameters |  | 
 | 100 (300 fs) | 
Accelerating Section
Tajima and Dawson, Phys. Rev. Lett. 43, 267, (1979)
Electron-Witness
Electron-Driver
Bunch Parameters |  | 
Bunch | () | ()
Driver | 2 | 25 (75 fs)
Bunch Parameters |  | 
Bunch |  | 
Driver | 2 | 25 (75 fs)
Linear regime ( < )
Weakly NL regime ( = )
Non-linear regime ( >> )
Bubble
Driver
The higher is the density, the higher is accelerating gradient, the shorter is the plasma wavelength
Witness
Acceleration achieved by placing the Witness at the right distance from the Driver
Bubble length
=

## Slide 5
Plasma source for particle acceleration
The Plasma_LAB is devoted to the research and technological development activities for designing and characterizing plasma sources needed to implement particle accelerators based on plasma technology.
Plasma vacuum chamber to test devices
Plasma module to produce and confine plasma
Plasma_LAB of the SPARC_LAB
Porthole

## Slide 6
Electrode
Electrode
H_alpha
Experimental Apparatus of Plasma_LAB@SPARC
H_alpha Profile
Hydrogen is highly ionized at reletively low temperatures
Synchronizes Timing:
Valve opening time
Voltage delay time
Trigger of ICCD camera
Gas injection frequency 1-10 Hz
Gas injection time: 3 ms
Resolution
1024 x 255 pixels
Electrode
Electrode
(H_alpha)
Plasma Channel
Accelerating Sectio
n
Resistor Capacitor
Circuit
Vacuum Chamber
Spectral line
Plasma lasts 10-20 s
10-50 mbar
(imposes the density
Voltage lasts 1 s
(10-7 mbar)
Plasma Density
2
4
5
6
7
3
8
9
10
Spectral resolution 0.1 nm
Grating 1200 g/mm, 2400 g/mm
focal length: 275 mm
Aperture ratio: f/3.8
Electrode
Capillary
1

## Slide 7
Plasma Diagnostic
Electrode
Ramp
Ramp
Ionized Hydrogen emits in visible range four lines (Balmer series)
Broadening Mechanisms
Doppler Broadening:
caused by thermal particle motion, depends on plasma temperature.
Stark Broadening:
caused by the emitter interaction with the electric field produced by nearby charges (measured 23 nm).
Natural Broadening: energy transition between two states at the most elemental level results in the absorbing or emitting light of a single wavelength.
But for visible light, at temperatures of the order of 1- 4 eV is 0.3 nm (negligible)
3 eV (negligible)
2-4 eV (almost constant)
for alpha line = 0.0166 nm for beta line = 0.0919 nm
is a function of the electron density and the temperature (tabulated by Griem)
Electrode
Ramp
Ramp
Electrode
(Gaussian shape)
(Lorentzian shape)
(Lorentzian shape)
Plasma Density Temperature 1-4 eV
= 1 – 4 eV -
For beta line:
Spectral Lines
Research intrest:
alpha: n 3  2 656.2 nm
beta: n 4  2 486.1 nm
D. G. Jang et al., Appl. Phys. Lett. 99, 141502 (2011)
HR Griem, Academic Press Inc, App. III (1974)
FWHM
H_beta Profile
Broadening

## Slide 8
Plasma Sources Charecterization
Capillary Length
Capillary Diameter
Inlet Number
Inlets Distance
Channel Shape (Tapered/Enlarged)
Studied Parameters
Different Geometry
Plasma Ramp
Temperature Measurement
Shot-to-shot Stability
Plasma Density Stabilization
Plasma Stability
Ramp Formation
Ramp Stabilization
1
2
3
4
5
Oxygen Element (O II, O III)
Nitrogen Element (N II, N III)
VeroClear Material
Sapphire Material
Capillary Aging and Wall Deformation

## Slide 9
Study on Capillaries with Different Geometry
2cm/1mm/1inlet
2cm/2mm/1inlet
3mm/1mm/1inlet
3mm/1mm/2inlets
Capillary Length
Capillary Diameter
Inlet Number
Inlets Distance
Channel Shape
Tested Capillaries
2 cm
3 cm
1 mm
2 mm
Single
Double
24 mm
15 mm
12 mm
Linear
Funnel-end
(Enlarged)
Cigar-like
(Tapered)
Wide-square-end
(Enlarged)
0.9 mm
1.3 mm
1.3 mm
1.4 mm
2cm/1mm/1inlet
3cm/1mm/1inlet
1
2
3
4
2
1
3
4
1
2
3
1
2
3
1
1
2
2
1
2
2
2
1
1
1
2
The principal goal of changing the Capillary geometry is to have the plasma and electron bunch with a same phase.

## Slide 10
Changing the Channel Diameter and Number of Gas Inlets
2
3
4
1 mm
1
2 cm long
1 mm diameter
1 inlet
Voltage: 9 kV
Current: 300 A
peak
3.5×1017
2×1017
2 cm long
2 mm diameter
1 inlet
Voltage: 9 kV
Current: 300 A
peak
6×1016
Reduction of 75%
Reduction of 65%
3 long
1 mm diameter
1 inlet
Voltage: 9 kV
Current: 300 A
3 long
1 mm diameter
2 inlets
Voltage: 9 kV
Current: 300 A
2 mm
6.7×1017
4.5×1017
Quasi-Uniform
Rough reduction
Short ramp
Plateau
4.5×1017
6.5×1017
1×1017
1 inlet
2 inlets

## Slide 11
Changing the Positioning of Gas Inlets
3 cm long
1mm diameter
2 inlets
Voltage: 9 kV
Current: 300 A
Over-accumulation
Quasi-uniform
Gaussian
a)
b)
c)
Classical

## Slide 12
Changing the Longitudinal Shape of the Channel
1
2
Funnel-end
Linear
Cigar-like
1.4 mm enlargement
1.3 mm enlargement
3
4
Wide Square-end
1.3 mm enlargement
9 kV - 300 A
20 mbar
3 cm x 1 mm
1 inlet
Quasi-uniform
Gaussian
Accumulation
inlet
0.9 mm

## Slide 13
Plasma Temperature Analyses
13
S. S. Harilal et al., 52, 3, (1998)
We have retrieved electron temperature from line intensities of same element but with subsequent ionization stage.
Relative line intensities from the same element and same ionization state usually do not reveal accurate temperatures since there is relatively a slight separation between the upper levels of the two lines.
Lower ionization stage:
Higher ionization stage: , , ,
NIST Database (https://physics.nist.gov/PhysRefData/ASD/levels_form.html)

## Slide 14
Evolution of the Oxygen ions
Plasma Temperature Analyses
14
VeroClear Chemical Components ():
82.92% Carbon
16.50% Oxygen
78% Nitrogen in the air (impurity)
O II (471.9803 nm) or N II (471.8377 nm)
O III (508.8922 nm) or N III (454.970 nm)
3 cm long
1 and 2 mm diameter
Double-inlet system
20 mbar
12 kV – 400 A
800-2100 ns delay time
1 mm/diameter
2 mm/diameter
Two mechanisms:
Ablation
Desorption

## Slide 15
Plasma Temperature Analyses From Oxygen Ions
3 cm length
1 mm diameter
Double-inlets
20 mbar
12 kV – 400 A
Average temperature
2.06 - 2.34 eV
On-axis temperature estimation
I = 400 A = 0.4 (kA)
5.2 (eV)
A. J. Gonsalves, et al., Journal of Applied Physics 119, 033302 (2016)
3 cm length
2 mm diameter
Double-inlets
20 mbar
12 kV – 400 A
On-axis temperature estimation
I = 400 A = 0.4 (kA)
3.9 (eV)
Average temperature
1.96 - 2.14 eV

## Slide 16
3 cm length
1 mm, 2mm diameter
Double-inlets
20 mbar
12 kV – 400 A
Temperature Results Comparison (Oxygen/Nitrogen Ions)
3 cm long
1 mm diameter
Double-inlet system
20 mbar
12 kV – 400 A
Density
Temperature

## Slide 17
Plasma Temperature Simulation
17
NIST LIBS Database (https://physics.nist.gov/PhysRefData/ASD/LIBS/libs-form.html)
VeroClear Chemical Components ():
82.92% Carbon
16.50% Oxygen
78% Nitrogen in the air (impurity)
Experimental
Theoretical
Lower ionization stage: O II (471.9803 nm) or N II (471.8377 nm)
Higher ionization stage: O III (508.8922 nm) or N III (454.970 nm)

## Slide 18
3 cm long
1 mm diameter
1 inlet
12 kV
300 A
20 mbar
mean 6.5x1017
mean 4x1017
mean 5.2x1017
inlet
inlet
inlet
Super-Gaussian
Quasi-uniform
T
40%
reduction
The longitudinal profile is changed from super-gaussian to quasi-uniform profile and the mean value goes from 6.5x1017 to 4x1017 cm-3 (channel changed from 1 to 1.5 mm)
This deformation is proportional to the thermal energy deposition on the capillary walls:
Heat deflection temperature (HDT) of 313 - 323 K and
thermal conductivity of 0.2 W
Channel deformation
On-axis temperature:
0 shot
0 shot
40000 shots
100000 shots
A. J. Gonsalves, et al., Journal of Applied Physics 119, 033302 (2016)
S. Arjmand
6 September 2022
Capillary Aging Studies Using VeroClear () Material

## Slide 19
Capillary Aging Studies Using Sapphire Material
(mm)
3 cm long
1 mm diameter
2 inlets
12 kV
300 A
20 mbar
inlet
inlet
inlet
mean 7x1017
mean 7x1017
inlet
inlet
inlet
After 105 shots there is no any changing of the longitudinal profile and the mean value goes from 7x1017 cm-3 (maybe we have to reach 106 shots).
Inner Sapphire Core
Melting point of 2300 K as stainless steel and
thermal conductivity of 40 W
mean 7x1017
0 shot
40000 shots
100000 shots

## Slide 20
Plasma Ramps Formation
Plasma density inside and outside the capillary changes during the current pulse. Such a behaviour it is essential for injecting the electron bunch at the right time. Moreover, Plasma density ramps at the ends of the capillary can reach a total expansion length around 40 mm (20 mm each one) that is comparable with the channel length of 30 mm, so they can strongly affect the bunch properties that passes through the capillary.
Electrode
Electrode shadow
Electrode shadow
Discharge Voltage 18 kV
Capillary
Electrode
Plasma channel
20 mm/2 μs
Vacuum
Captured 20 images separated by 100 ns, so 2 µs of total observation time of the plasma ramp.
3 cm/long
1 mm/diameter
Double inlets
Voltage: 18 kV
NB
The movie is of the real behavior of the ramp (recorded via the ICCD without the usage spectrometer).
Voltage lasts 1 s
Plasma lasts 10-20 s

## Slide 21
Plasma Ramps Stabilization through Spacer Device
Electrode
Plasma Channel
Electrode shadow
Electrode shadow
a)
b)
a)
d)
a) Linear Spacer
b) Linear+deflectors
Standrad Capillary
Spacers mounted on the capillary
Linear Spacer
Spacer: Is a 1 cm elongation that can be mounted on the capillary’s exterimities, near the electrodes to stabilize the plasma ramps (expanding the capillary length without changing the position of electrodes).
c)
Spacer with 2 deflectors

## Slide 22
Plasma Ramp Evolution without and with Spacer
No_Spacer_delay2000 ns
Snap-shot of the plasma Ramps Without Spacer
Snap-shot of the plasma Ramps With Linear Spacer
Movies are of the real behavior of the ramps, recorded via the ICCD without the spectrometer.
NB
Electrode is at the bottom of the image.
Linear Spacer_delay2000 ns

## Slide 23
Plasma Ramp Stabilization
S. Arjmand et al., JINST 15 C09055 (2020)
10 mm
9 mm
6 mm
23
Comparison of Ramps:
Standard Geometry (without Spacer)
Capillary with Linear Spacer
Capillary with Spacer and deflector (deflectors made 2 cm far from the spacer edge)
3 cm/long-1 mm/diameter
Single-inlet
Voltage: 10 kV
Current: 350 A
pressure: 20 mbar
Repetition rate: 1 Hz
Vacuum: 10-7 mbar

## Slide 24
Study on shot-to-shot Stability of the Plasma Density
~ 150 ns timing jitter
3 cm in length
1 mm in diameter
2 inlets
5 , 16 kV
10, 20, 30 mbar
100 consecutive current pulse waveforms acquired by an oscilloscope at a 1~Hz repetition rate.
Timing jitter: measuring the enlargement of the current pulse waveforms by setting the infinitive persistence on the oscilloscope
S. Arjmand et al., JINST, 2021 (Under revision)
5 kV – 120 A
16 kV – 670 A
%
0.5×1017
0.7×1017
%
~ 20 ns timing jitter
Voltage: 5 kV
Current: 120 A
Voltage: 16 kV
Current: 670 A

## Slide 25
Plasma Density Stabilization By Laser a Technique
A. Biagioni, S. Arjmand et al., Plasma Phys. Control. Fusion 63 115013, (2021)
11%
25%
Q-switched Nd:YAG Laser at 1064 nm
Pulse duration 11 ns
Few tens of ns before the discharge
Laser intensity
Amplitude jitter 10.7 A
Timing jitter 32 ns
Amplitude jitter 1 A
Timing jitter 1.7 ns
NO Laser
Laser 80 mJ
3 cmx1mm
2 inlets
20 mbar
Voltage: 5 kV
Laser: 80 mJ
Current: 110 A
25

## Slide 26
PWFA: Preliminary Results
Plasma obtained at 12kV-310 A
Electron density 1015 cm-3
~ 1050 um
By using a 3cm long capillary, an accelerating gradient of 100 MV/m has been obtained, which is comparable to 20-30 MeV of conventional accelerating system.
R. Pompili et al., Nature, 605, 659–662 2022

## Slide 27
Future Prospective:
Using a mixed gas (Ar+H, etc.) for generating the plasma
New component (Glass) for printing out the capillary
Study on the Large-scale capillaries (up to 40 cm), with 2 or 3 electrodes
Test the segmented capillary
Plasma generation in curved capillary channels
Increasing the repetition rate (10 Hz) by improving the vacuum pumping system
40cm/2mm
Conclusions:
The electron temperature in gas-filled capillaries through relative line intensities from different elements has studied.
We have demonstrated that spacer device is stabilized the plasma ramps instabilities.
Tests on channel shaping allow us to modify the plasma density longitudinal profile depending on the application.
The timing jitter of the plasma insatiability has studied and is proved that by increasing the voltage the timing jitter will be decreased.
We have observed that the plasma instability reduced from 25% to 11% by applying a laser pulse of 80 mJ at one electrode.
Tested sources:

## Slide 28
Under Revision
S. Arjmand et al., "Spectral line shape for plasma electron density characterization in capillary tubes", Journal of Physics: Conference Series (JPCS), 2022.
S. Arjmand et al., "Study the on shot-to-shot stability of the plasma density for gas-filled plasma capillaries", JINST, 2021.
Published
S. Arjmand et al., "Spectroscopic measurements as diagnostic tool for plasma-filled capillaries", Proc. IPAC’22, JACoW-IPAC2022-WEPOST035 {Proc. IPAC’22}, 1776-1779. doi:10.18429/
Riccardo Pompili et al., "First lasing of a free-electron laser with a compact beam-driven plasma accelerator", Nature, 2021-05-08735.
Mario Galletti et al., “Advanced Stabilization Methods of Plasma Devices for Plasma-Based Acceleration”, Symmetry 2022, 14(3).
G Costa et al., “Characterisation and optimisation of targets for plasma wakefield acceleration at SPARC_LAB”, Plasma Phys. Control. Fusion, (2022) 64 044012.
Angelo Biagioni et al., "Gas-filled capillary-discharge stabilization for plasma-based accelerators by means of a laser pulse", Plasma Phys. Control. Fusion, PPCF-103442.R1.
S. Arjmand et al., "Characterization of plasma sources for plasma-based accelerators", Plasma Physics By Lasers and Applications (PPLA), 2019, JINST 15 C09055.
Core Publications:

## Slide 29
Do appreciate
your
attention,
S. Arjmand
Covid Affected Thesis