## Slide 1
L. Palumbo
SAFEST & PE6
SApienza Flash Electron Source for radio-Therapy
VHEE-FLASH-RT Research Facility

## Slide 2: Electron FLASH-RT Linacs
7 MeV FLASH S- band LINAC
VHEE FLASH C-band LINAC
12 MeV FLASH C- band LINAC
2020
2021
2022

## Slide 3
Electron LINAC-FLASH 7 MeV – constructed by SIT Company
2023
CURIE INSTITUTE
ANVERSA
PISA (CRPF)
MADRID
CATANIA (Università)
ROMA (Gemelli)

## Slide 4
LINAC@5.712 GHz
PRF 2.5 MW
C-Band
C-band LINAC 12 MeV, for FLASH-RT
80 cm
2023

## Slide 5
FIRST TESTS 5 ACCELERATING CELLS – SAPIENZA RF LAB
FINAL PROTOTYPE 32 CELLS IN CONSTRUCTION

## Slide 6
TOWARD VHEE LINACS
FOR DEEP TUMORS
VHEE -> 60-250 MeV

## Slide 7
JOINT
STUDY GROUP
SAPIENZA – INFN
2021
Costituito a seguito di un incontro
tra Rettrice Sapienza e Presidente INFN

## Slide 8: What range of energy ?

## Slide 9: PDD Integrated Dose – 9 MeV, 80 MeV, 130 MeV
,
9 MeV
80 MeV
130 MeV
Integrated Relative Dose
1
cm
1
10
20
30
40
50
10
100%
Beam spot 3 cm
Never introduced such VHEE in clinical RT till now!
Percentage Depth Dose curve

## Slide 10: 1. VHEE BETTER THAT PHOTONS EVEN WITHOUT FLASH
2. VHEE COMPARABLE WITH PROTONS IN CASE OF FLASH
SIMULATIONS WITH MONTECARLO CODE SHOW THAT
(V. PATERA)

## Slide 12
2022

## Slide 13
SAPIENZA 480 K
SIT (PARTNER) 1.6 M
* Inizialmente insieme a INFN (G. Cuttone)

## Slide 14: PE6: BASIC PROTOTYPE SAPIENZA & SIT
MODULATOR (100 Hz – 1 KHz)
KLYSTRON 50 MW <10 ms
PULSE COMPRESSOR
TW C-SECTION 1
TW C-SECTION 2
QUADRUPOLES
1 m
1 m
GRADIENTE 40 MV/m
REALIZZATO PRESSO SIT, SARA’ TRASFERITO ALLA SAPIENZA A FINE PROGRAMMA
PE6: SPOKE 3 – Collaboration with Un. PISA & CRPF

## Slide 15
ESEMPIO DI STRUTTURA TW CON SEZIONE LOW BETA
STRUTTURA TW HIGH GRADIENT
ESEMPIO DI STRUTTURA TW CON SEZIONE LOW BETA
ESEMPIO DI STRUTTURA TW CON SEZIONE LOW BETA

## Slide 16
Dual-feed input and output RF power couplers;
Iris aperture radius a = 5 mm;
Reflection Coefficient S11 = -30 dB at 5.712 GHz;
3D split CAD from CST courtesy of Daniele Francescone
Power in
Power out
Electric field
Power in
Power out
L. Giuliano, D. De Arcangelis, D . Francescone
Electric field on the axis
Arbitrary Unit
Accelerating structure: TW linac full RF design

## Slide 17
bolts to join the cells
water for cooling
tuners
Accelerating structure: mechanical design

## Slide 18
PROTOTYPING WITH SAPIENZA FUNDINGS

## Slide 19
LAVOR. : MARCO MAGI
OFF. MECC. INFN-ROMA1

## Slide 20
COTTURA E BRASATURA :
MARCO MAGI
ROBERTO DI RADDO
VALERIO LOLLO
FORNO LNF

## Slide 21: FUNDINGS & SCHEDULE

## Slide 22
PNRR – PE6
Selected and funded for FLASH:
480 K to Sapienza for Project and RF C-band Linac components (100%)
1.6 M to SIT Hardware for the realization of a full system prototype
(60% of its own costs)
SAPIENZA
Commissione Scientifica Ateneo : 50 k C-Band prototyping

## Slide 23
PROJECT TIMELINE

## Slide 24
PE6 : VHEE-FLASH
Scientific Committee
for Radiobiology and medical applications
V. Cardinale
G. Cenci
F. De Felice
E. Gaudio
G. Minniti
R. Negri
M. Osti
M. Pacilio
G. Pallacani
V. Tombolini
Referente Sapienza
Vincenzo Patera
Project Coordinator
Luigi Palumbo
Treatment Plans VHEE
A. Sarti
RF Design : L. Giuliano
LINAC VHEE-FLASH
M. Migliorati
RF prototype: A. Mostacci
Beam Dynamics : L. Giuliano
Beam Delivery : A. Vannozzi (INFN) & A. Trigilio
Diagnostics : A. Mostacci
Beam measur. : E. Chiadroni
Linac Parameters : M. Migliorati & L. Giuliano
e-beam/dose character L. Giuliano ….
Linac Controls : A. Mostacci
Magnets: A. Vannozzi (INFN)
Online Beam Monitor : M. Marafini & A. Trigilio
Dose engine: G. Traini & G. Franciosini
Optimization: A. Schiavi & A. Di Gregorio
Radioprotection: A. Di Gregorio & G. Franciosini, F. Perondi
Mech. machining: M. Magi
WEB, Repository & Network M. Coppola
SIT

## Slide 25
1) Collaborazione tecnica e scientifica
Riguarda la collaborazione su alcuni aspetti progettuali del prototipo, in particolare radiofrequenza, vuoto,
magneti e diagnostica, competenze presenti a LNS e Roma1.
2) Utilizzo facilities INFN
- Officina meccanica Roma1
- Facilities LNS
3) Contributo (on loan) al progetto VHEE con i prototipi realizzati da GrV FRIDA
- prototipo sezione accelerante alto gradiente (Roma1)
- prototipo compressore di impulsi di potenza (LNS)
4) Collaborazione nei test di collaudo del prototipo
COLLABORAZIONE INFN ?
N. 2 RIUNIONI CON INFN4LS (G. Cuttone)

## Slide 26
RF Design : L Faillace, Alesini
RF prototype: Faillace, Alesini
Beam Dynamics : L. Faillace
Diagnostics : G. Franzini
RF Linac Controls : S. Gallo
Magnets: A. Vannozzi
LNF GOST Collaboration
Beam delivery : A. Vannozzi
Brasatura: Lollo, Di Raddo
G. Cuttone
P. Cirrone
G. Torrisi (Pulse compresor)
LNS Collaboration
L. Ficcadenti
Facilities (off. Meccanica)
……….
Roma1 Collaboration

## Slide 27
FRIDA Project (INFN Gr.V call) 4 work-packages:
mechanism modelling & radio-biology experiments;
120 k: beam delivery techniques (VHEE) – Prototype HG C-band Section
70 k : C-band pulse compressor
Detectors for beam monitoring;
treatment planning development
ACCORDO DI COLLABORAZIONE IN PROGRESS ……

## Slide 28
PNRR – IPCEI – MISE (2022)
Admitted to phase 2
SIT + Sapienza + European institution and industries
Financial request 4 M
PNRR – MISE – innovation II (2023)
Sapienza
Financial request 1.2 M
24/134 admitted

## Slide 29
COSTS OF HARDWARE and SYSTEMS
# | Task | Fornitore | Ente
1a | SSM K300 series | Scandinova | SIT
1b | SSM K400 series | Scandinova | 
2a | Klystron E37217 + solenoid magnet | Scandinova (Canon-Toshiba) | SIT
2b | Klystron E37212 + solenoid magnet | Scandinova (Canon-Toshiba) | 
3 | Struttura meccanica | TBD | SIT
4 | Sistema di alimentazione | SIT | SIT
5 | Elettronica di controllo e gestione | LIBERA (TBC) | SIT
6 | Diagnostica monitor fascio (in vacuum) | TBD | SBAI
7 | Elettronica di monitoraggio fascio | TBD | SIT/SBAI
8 | SW di stimolo e misura con HMI | COSYLAB | SIT
9 | Iniettore (TW o SW) | SBAI/SIT | SBAI
10 | LINAC C-band TW | SBAI/SIT | SBAI
11 | Compressore di impulsi | SBAI/SIT | SBAI
12 | Sistema da vuoto | Agilent | SIT
13 | Sistema di termoregolazione | TBD | SIT
14 | Sistema Dose delivery | TBD | SBAI
15 | TPS | TBD | SBAI