## Slide 1: Cosmic-Ray Test of the 2nd IHEP SCD and the status of test beam preparation
Rui Qiao; Ke Gong; Wen-Xi Peng; Rui-Jie Wang; Bing Lu; Ruo-Si Lu

## Slide 2: The 2nd IHEP SCD
IHEP: VA & Detector gluing. Capacitor soldering.
PMO: VA & Detector bonding.
IHEP: Pedestal & CR test.
PMO bonding of 2nd IHEP SCD
Notes: G:\keyan\HERD项目文档\周进展\资料\20221019_紫台帮忙bonding\*

## Slide 3: Pedestal Test
Pedestal(Y) vs Ch(X)
Sigma(Y) vs Ch(X)
The detector performance is perfect. No damage during bonding thanks to the PMO colleague.

## Slide 4: Cosmic-Ray Test
CR hitting the readout strips of 60um width section
CR hitting the readout strips of 25um width section

## Slide 5: Status of test beam preparation
PMO SCD: Detector Test
PMO SCD: Detector Packing
Detector Assembling on test beam support
IHEP SCD:
Detector Test
IHEP SCD:
Detector Packing
IHEP PSD:
Detector Test
IHEP PSD:
Detector Packing
Detector test with full setups
Packing at Oct.30. Transportation at Oct.31

## Slide 6: Cable routing
220V
Swiss type
Swiss->CN Convertor
10m cable
4 kW
Fanout; 4kW
5m power strip.
8 sockets. 2.5 kW.
SCD DC Power*2
SCD PC *4
PSD DC Power*3
PSD PC*1
SCD Monitor *2
~2.4 kW
~1.2 kW

## Slide 7: Detector Packing for IHEP SCD
Aluminum box
& detector
Aluminum cover
carbon-fiber window
Notes: G:\keyan\HERD项目文档\周进展\资料\20221026_束流实验支撑和包装\

## Slide 8: Transportation box
PMO SCD
PMO PC*2
SCD DC power*2
IHEP SCD; PSD;
Notebooks*3
Suport
PSD DC power*3
Monitor*2
Cables
Notes: G:\keyan\HERD项目文档\周进展\资料\20221026_束流实验支撑和包装\