## Slide 1
Piergiorgio Cerello
INFN, Sezione di Torino, Torino, Italy
Summary
Nuclear Physics Mid Term Plan in Italy
LNF – Session
Frascati, December 1st - 2nd 2022
Nuclear Physics at DAΦNE
Charged Particle Detectors
Silicon Detectors for High Energy Experiments
Neutron Detectors
Detectors for Medical Applications
Target Development for Nuclear Physics
γ-Χ ray Detectors
New Facilities at LNF, LNL, LNS

## Slide 2
Charged Particle Detectors
Nuclear Physics Mid Term Plan in Italy
LNF – Session
Frascati, December 1st - 2nd 2022

## Slide 3
Charged Particle Detectors
Gabriele Pasquali

## Slide 4
Charged Particle Detectors
Gabriele Pasquali

## Slide 5
Charged Particle Detectors
Gabriele Pasquali

## Slide 6
Franco Galtarossa
GRIT: Granularity, Resolution, Integration, Transparency,
+ modularity + embedded PSA + cryo target compatibility
Light ISOL RIBs @GANIL, up to early 2021 (Assié at al., NIMA 1014, 2021).
First implementation used in conjunction with AGATA and VAMOS.
To come next: LISE@GANIL and SPES@LNL
GRIT: an array of highly-segmented silicon detectors for direct reactions
France – Italy – UK – Spain collaboration

## Slide 7
PRE-AMP REDESIGN
Particle spectroscopy/discrimination with silicon detectors
Franco Galtarossa
Future developments
NEED FOR A MULTIPLEXING SOLUTION
The read-out of several hundreds of channels without multiplexing is not practical since requires great efforts in terms of digitizing power and signal routing from detector to back-end. The GRIT collaboration is working on the PLAS analog memory that will provide a 32x multiplication factor
Main challenges:
Preserve the original resolution
Allow for PSA
Exact timestamping
Design of a non-paralyzing structure
Phase: B (3-5 years)
Photograph of the SeDIFF modules used to send differential signals to the digitizers rack during the 2021 test campaign.
The ASIC pre-amplifiers are undergoing a re-design phase for spec improvement.
- Power consumption reduction (or implementation of more functions within the power budget 11mW/ch)
- Study of resistorless solutions to improve compactness and resolution
- Differential outputs
IMPLEMENTATION OF TOT-COMPATIBLE FIRMWARE FOR DIGITIZERS
In order to fully exploit the dynamic-range extention provided by the fast-reset technology it is mandatory to write a dedicated firmware.
This work will be carried out in sympathetic resonance with the ASIC re-design.
Phase: A (1-3 years)
Phase: A (1-3 years)

## Slide 8
Charged Particle Detectors: Diamond detectors
Leonello Servoli

## Slide 9
Charged Particle Detectors
Leonello Servoli

## Slide 10
Charged Particle Detectors
Leonello Servoli

## Slide 11
Charged Particle Detectors
Leonello Servoli

## Slide 12
Charged Particle Detectors
Leonello Servoli

## Slide 13
Charged Particle Detectors
Leonello Servoli

## Slide 14
Neutron Detectors
Nuclear Physics Mid Term Plan in Italy
LNF – Session
Frascati, December 1st - 2nd 2022

## Slide 15
Candidate: plastic scintillator EJ276-Green Type (ex EJ299-33) (3x3x3cm3)
1 cluster: 4 cubes -> 3x3x12 cm3
Reading the light signal: Si-PM and digitalization
Ca. 50% neutron detection eff. (for prototype)
Modular, reconfigurable
PSD of n/γ (but also light charged particles)
Energy measurement from ToF (Δt≤0.5 ns with LToF≈1÷1.5m)
TOF using RF or with ancillary MCP (low intensity exotic beams)
Energy resolution < 10%
Neutron-particles correlations (HBT)
Reaction Dynamics and time scale
Symmetry Energy in EoS of nuclear matter
Nuclear structure of unbound exotic nuclei
In medium nuclear interaction
Nuclear astrophysics (neutron stars and nucleosynthesis processes)
Medical applications
Physic cases
Andreas Best
Neutron Detectors
Organic Scintillators

## Slide 16
Regular hexagon to tile up a surface
5” PM Hamamatsu R11833-100HA QE 33%
PSA liquid EJ301  3 liters
TiO2 Reflexion paint
Expansion chamber ΔT =10-50 C
Voltage divider transistorized for large counting rates
Single to differential converter
1mm mu-metal shielding
Self produced
Expansion chamber
Flexible array – variability of focal positions (experiment dependent) or configurations (mechanics to be done)
Neutron multiplicity filter. Efficiency 1n 30%
Pulse shape discrimination – online trigger selectivity
Off-line implementation of traditional algorithms and/or Neural Networks
Angular resolution: Dθ(0.5 m) = ±7° - Dθ(1 m) = ±4°
Timing better than 1 ns. Same performance digital/analog.
Energy resolution ΔE/E: NEDA 1m – 40%, NEDA 7m – 5%
Andreas Best
NEDA – NEutron Detector Array
Neutron Detectors

## Slide 17
SHADES Scintillator-3He Array for Deep-underground Experiments on the S-process
A. Best, D. Rapagnani, D. Mercoligliano, C. Ananna, A. Di Leva, G. Imbriani (UniNa, INFN-Na), M. Junker (INFN-LNGS)
Array of 12 EJ-309 (high flash point, good PSD) and 18 3He counters
Efficiency for low-energy neutrons ~ 20%
Coincidence 3He-Scintillator for capture-gating/energy veto
Energy resolution 20% or better (depending on E)
(First) use case: low-energy nuclear astrophysics @ LNGS
Measure 22Ne(25Mg for astrophysical s process
Ultra-low background, high sensitivity system
ERC-StG UniNa/INFN
Andreas Best
Neutron Detectors

## Slide 18
POLYFEMO (AsFin R&D) Neutron detection in laser-driven nuclear experiments
Use case: diagnostics for plasma fusion (nuclear astrophysics - stellar plasma in laboratory)
Fast recovery from EMP and gamma flash
Tests with table-top DD fusion: EJ-309 (liquid), EJ-232Q (plastic), Li-glass, EJ-276G (plastic)
G.L. Guardo1, M. La Cognata1, D. Lattuada1,2, G. D'Agata1,3, A.A. Oliva1,3, G.G. Rapisarda1,3, M.L. Sergi1,3 1- Laboratori Nazionali del Sud - INFN, Catania, Italy 2- Università degli Studi "Kore" di Enna, Enna, Italy 3- Università degli Studi di Catania, Catania, Italy
Andreas Best
Neutron Detectors

## Slide 19
ODeSA The ORNL Deuterated Spectroscopic Array
EJ-315 deuterated benzene-d6, 10+4 detectors
Spectrum unfolding for medium energy neutrons 0.4 – 15 MeV
Use case: energy sensitivity without TOF capabilities
Intrinsic eff. ~ 30%, resolution ca. 4%
On behalf of: M. Febbraro (ORNL), R.J. deBoer (U. Notre Dame/JINA)
Febbraro et al. NIM A 946 (2019) 162668
Febbraro, Becker, deBoer et al. NIM A 989 (2021) 164824
Febbraro, deBoer et al. PRL 125, 062501 (2020)
Andreas Best
Neutron Detectors

## Slide 20
SiMon
Simone Amaducci
Text
S. Amaducci, A. Manna and the n_TOF Collaboration
(n,cp) detector
4x Off beam silicon detectors detecting the products of the 6Li(n,t) reaction from a thin (<2 μm) LiF sample on a mylar foil
Measure neutron flux from thermal to 1 MeV, very low sensitivity to γ
Acting as a permanent neutron beam monitor (SiMon and SiMon2)
Silicon -> SiC to increase rad. hardness and work in NEAR

## Slide 21
Parallel Plate Avalanche Counter (PPAC)
Simone Amaducci
S. Amaducci, A. Manna and the n_TOF Collaboration
Fission detector
The samples:
235U 238U
Neutron energy range:
from thermal to few GeV
The electrodes:
coated with gold, 700 nm thick
Anode:
coated gold (700 nm thick) uniform and double sided
Cathodes:
coated gold (700 nm thick)divided into 2 mm wide strips

## Slide 22
Recoil Proton Telescope (RPT)
Simone Amaducci
Text
S. Amaducci, A. Manna and the n_TOF Collaboration
n-p elastic scattering
Carbon
Hydrogen
*non-relativistic approximation
2 silicon detectors: 300 μm
4 plastic scintillators:
0.5 cm, 3 cm, 6 cm, 6 cm
C2H4 target, subtraction for carbon needed

## Slide 23
10B-BaF2 and 10B-BGO detectors at LNL
Simone Amaducci
Text
P. Mastinu and G. Martin Henandez​
10B-BaF2 detector developed at LNL for low neutron energy spectra measurements with pulsed beam. Recently, upgraded with a BGO crystal instead of the BaF2.
Detector principles: BaF2 and BGO with 10B removable capsule. Neutrons detected via 480 keV gamma from 10B(n,α) 7Li.
Efficiency one order of magnitude higher than Li-glass detector
Carbon fiber capsule filled with 10B powder

## Slide 24
Timepix3 diamond detector for fast neutron
Simone Amaducci
Text
G. Claps et al.
A polycristalline CVD diamond with a thickness of 500 mm was bump-bonded to the Timepix3 chip on one side and a gold layer was deposited on the othe side in order to polarize the diamond.
Timepix3 board
500µm thick CVD diamond
300 nm thick gold layer
Timepix3 board
Timepix3 chip
A cluster Analysis Algorithm was developed to distinguish neutron tracks from gamma background.
gamma track
neutron track
FNG facility, ENEA Frascati, 2017
14 MeV neutrons

## Slide 25
Timepix3 silicon with plastic converter (FNG, ENEA Frascati)
Simone Amaducci
G. Claps et al.
Max Neutron flux @ 33 cm: 2.3×106 n/s
14 MeV neutron energy
No cut
Particle discrimination using ToT volume
and Cluster Height parameters
Soft-X and Hard X-rays region
α, p, heavy ions region
Electrons and γ rays region
no converter
1 mm polyethylene converter
with polyethylene converter (thickness 1 mm)

## Slide 26
MBGEM-Pix
G. Croci et al.
Conversion region
Multiplication region
Alpha
Gamma
Simone Amaducci

## Slide 27
MICADO
Simone Amaducci
Text
G. Elio Poma
MICADO project: SiLiF neutron detector for radwaste monitoring
Main goals of the MICADO project Measurement and Instrumentation for Cleaning And Decommissioning Operations
cost-effective solution for non-destructive characterization of nuclear waste
automatic and remote measurement instruments
uniform methodology for waste characterization and management
digitization process as a referenced standard
full traceability of waste
minimize the dose exposure for personnel
External monitoring of radioactive waste based on penetrant radiation (n or gamma)

## Slide 28
MICADO
Simone Amaducci
Text
G. Elio Poma et al.
MICADO project: SiLiF neutron detector for radwaste monitoring
Cosentino, L.; Ducasse, Q.; Giuffrida, M.; Lo Meo, S.; Longhitano, F.; Marchetta, C.; Massara, A.; Pappalardo, A.; Passaro, G.; Russo, S.; Finocchiaro, P. SiLiF Neutron Counters to Monitor Nuclear Materials in the MICADO Project.Â SensorsÂ 2021,Â 21, 2630. https://doi.org/10.3390/s21082630
Silicon enclosed between two 6LiF, deposited on a carbon fiber.
Plastic case to obtain a flat efficiency.

## Slide 29
BoLAS and BoLAS_NEXT
Simone Amaducci
Text
C. Provenzano et al.
10B-based conversion layers combined with a silicon detector or CsPbBr3-based scintillators for thermal neutron detection
5 cm
CONTEXT:
INFN BoLAS and BoLAS_NEXT experiments
PI: G. Quarta
AIM:
study of the properties and performances of 10B layers deposited by laser ablation when coupled with different detectors.
These conversion layers have been tested in combination with:
conventional silicon detectors
a perovskite-based scintillating material (CsPbBr3).
Chiara Provenzano (1,2), Anna Paola Caricato (2,3), Marcella Marra (2,3), Paolo Finocchiaro(4), Simone Amaducci(4), Lucio Calcagnile(2,5), Maurizio Martino(2,3), Alberto Quaranta (6,7), Sandra Moretto (8), Felix Pino (8), Gianluca Quarta(2,5)
Department of Engineering of Innovation, University of Salento
INFN-Lecce Section
Department of Mathematics and Physics “E. De Giorgi”-University of Salento
INFN-Laboratori Nazionali del SUD
CEDAD-Department of Mathematics and Physics, University of Salento
Department of Industrial Engineering, University of Trento
INFN-TIFPA, Trento
University of Padova, Padova

## Slide 30: Outline
Innovative neutron detectors / measurement strategy within INFN
CLYC scintillators and Siloxane-based scintillators:
  Thermal and fast neutron spectroscopy
  γ/n separation through SPD
Ultra-fast neutrons detection:
  Tracking
  Energy measurement
  Neutron production cross section in interaction of light ions (up to 56Fe) in the energy range 100-800 MeV/u
  γ/n separation
Marco Toppi
Neutron Detectors

## Slide 31
6Li Enriched
7Li Enriched
Thermal Neutrons:
6Li (n,)t
  - Q-value = 4.78 MeV
Good Energy resolution:
Better than NaI worse than LaBr3:Ce
PSD possible !
Easy - g/n discrimination
Complex - a/p discrimination
A.Giaz et al. NIM A825(2016)51
A.Giaz et al. NIM A810(2016)132
F. Camera et al private communications
R  4.5%
137Cs
60Co
Fast Neutrons
35Cl(n,p)35S
  - Q-value = 0.6 MeV
35Cl(n,)32P
  Q-value = 0.9 MeV
6Li (n,)t
  - Q-value = 4.78 MeV
CLYC crystal 7Li enriched
Fast neutrons from an Am-Be Source
with gate on the 4.4 MeV g-ray from 12C
Marco Toppi Nuclear Physics Mid Term Plan in Italy – LNF Session
The energy of the outgoing proton or α particle scales linearly with the incident neutron energy
CLYC (Cs2LiYCl6:Ce3+) scintillator
Neutron Detectors

## Slide 32: POLIMI is developing a custom ASIC for the Pulse Shape Discrimination with a CLYC crystal readout by SiPMs
The signal produced in some radiation detectors (e.g. CLYC scintillator) shows a time profile that changes significantly for different radiation sources.
The charge integration approach is based on measurements of integrated charge over two different time regions:
neutron
Gamma ray
Neutron Detectors

## Slide 33: Possible CLYC array for SPES
Instead of the Ge clovers, a 4 array of 3inch CLYC scintillators
5% neutron efficiency at 1 MeV
10-12% neutron energy resolution
20% -ray efficiency at 1 MeV
4% -ray energy resolution at 662 keV
Possibility to perform - delayed -ray and neutron spectroscopy with the same detectors
Advantages in 2n emission detection
Drawback: low efficiency
In neutron-rich nuclei (near shell closures):
High Q-values (> 10 MeV)
Low neutron separation energies ( 4 MeV)
β-delayed neutron emission
Marco Toppi
Neutron Detectors

## Slide 34: Siloxane-based scintillators for neutrons
Contributors
UNIPD-DFA: Sara Maria Carturan, Sandra Moretto, Felix Pino, Jessica Delgado, Gianluigi Maggioni
INFN-LNL: Marco Cinausero, Tommaso Marchi
UNITN-DII: Alberto Quaranta, Matteo Polo
UNIBO-DFA: Laura Basiricò, Beatrice Fraboni
INFN-BO: Ilaria Fratelli
AimFabrication of siloxane-based neutrons sensors with a high light yield that can be used as compact, lightweight, rad resistant and flexible detectors in:
  monitoring neutrons as secondary radiation from high energy proton (H+) beam in proton therapy (APSS-Trento Hospital)
CNR-IMM
INFN-RM3
foundry for
OPT flex
INFN-TIFPA: Enrico Verroi, Francesco Tommasino
Test beam @APSS
Materials design and characterization; test beam @LNL
project FIRE (INFN)
SPES cyclotron @LNL
Euritrack (EU FP6) Tagged Neutron Inspection System
  workers surveillance in nuclear power plant or nuclear physics experimental hall (SPES @LNL)
  revealing different impinging radiation for homeland security using common PMT or Si-PM as photosensors
Marco Toppi
Neutron Detectors
Notes: At the Materials Physics Lab the synthesis of novel organic scintillators is pursued since many years in collaboration with these research units (BOX da indicare). The aim of this research topic is the fabrication…. (box da leggere) ….monitoring neutrons (clic)… workers (clic)…. revealing (clic)…

## Slide 35
Siloxane scintillators for thermal neutrons
Transparency preserved for low dyes concentration
Optimal LY vs EJ-254 standard under Am-Be thermalized n source
Addition of o-carborane 
n + 10B→ 7Li(0.83 MeV) +4He(1.47 MeV) +  (0.48 MeV) [94%]
Foldable siloxane-based nanocomposites
  Synthesis of nanocrystals of 6LiF or 6Li210B4O7addition of high L.O. inorganic scintillator (ZnS:Ag)entrapment in siloxane
  Coupling with bendable OPTfully FLEXIBLE n detector
S.M. Carturan et al., Radiat Prot Dosimetry. 2011
F. Pino, J. Delgado et al., submitted to Adv. Mater.
  Wrapping PSD organic scintillator TRIPLE PSD
MUNES @LNL
I. Fratelli, BEYOND - Grant giovani 2023
6Li + n  3H + 4He + 4.78 MeV
7Li(p,n)9Be @CN-LNL
increasing amount of dyes, fixed B conc. 3%
Marco Toppi
Neutron Detectors
Notes: Siloxane scintillators might also dissolve suitable organo-boron compounds, such as carborane, preserving transparency (clic). They have shown good response to thermal n from Am-Be source with LO comparable to Boron doped plastic standard (EJ-254).
Very recently (clic) the preparation of foldable siloxane scintillators for thermal n has been carried out. Nanocrystals of lithium fluoride or lithium tetraborate with isotopic enrichment have been prepared and embedded into siloxane with inorganic scintillator powder. (clic) The flexible foils were used to “dress” commercial scintillator with PSD properties , resulting in optimal triple PSD (fast n, thermal n and gamma rays). Few days ago (clic), the proposal BEYOND presented by Ilaria Fratelli has won the Grant selection for young researchers at INFN, where the research starting point is a fully flexible thermal n detector composted of organic phototransistor and the nanocomposite siloxane scintillator.

## Slide 36: Detectors for fast and ultra-fast neutrons
Fast and ultra-fast neutron detection is needed in many research fields, as nuclear, particle and astroparticle physics as well as Particle Therapy and (Space) radiation protection.
Neutron detectors able to measure energy and position and/or with tracking capability in particular will play a relevant role in nuclear and subnuclear physics as well as in applications in the next years:
Neutron detectors with tracking capability in particular will play a relevant role in nuclear and subnuclear physics as well as in applications in the next years:
n_TOF @ CERN. Neutron-neutron scattering length.
FOOT (FragmentatiOn Of Target)
BGOOD (BGO ball Open Dipole magnet)
And many others (astrophysics in space environment = solar neutrons)
Marco Toppi
Neutron Detectors

## Slide 37: MONDO
Text
2015-2020: Several prototypes of fiber matrix have been built and tested [cosmic rays, BTF (LNF), APT (Trento)]. Test with different photon detectors and FBK sensors (SPADnet)
2018-2019: SBAM-I sensor built (2x2mm2). Time resolution and trigger measured with a 90Sr source have provide its preliminary characterization
A SBAM-II sensor, larger (~1cm2) and optimized is needed. Work of the next years
Huge effort to produce reliable MC simulation to optimize the detector and study its performances.
Performances (MC reconstruction):
back-tracking resolution @ 20cm < 5 mm
energy resolution 4-6 % for contained protons
DES efficiency ~ 10-3 -10-4
R.Mirabelli et al, IEEE TRANSACTIONS ON NUCLEAR SCIENCE, VOL. 65, NO. 2, 2018
E.Manuzzato et al., IEEE SOLID-STATE CIRCUITS LETTERS, VOL. 2, NO. 9, 2019
Riccardo Mirabelli PhD thesis
M.Toppi, Front. Phys. 8:567990. doi: 10.3389/fphy.2020.567990
SPADnet
SBAM-I
Marco Toppi
Neutron Detectors

## Slide 38: RIPTIDE - RecoIl Proton Track Imaging DEtector
Novel recoil-proton track imaging system in which the light output from a fast scintilating 6x6x6 cm3 cube is used to perform a complete reconstruction in space and time of the event
Basic requirements: (i) technological improvements in single photon counting, (ii) fast electronic readout of large amount of data
A. Musumarra et al., JINST 16 (2021) C12013; 10.1088/1748-0221/16/12/C12013
C. Massimi et al., JINST 17 (2022) C09026; 10.1088/1748-0221/17/09/C09026
M. Villa, in Preparation JINST, https://arxiv.org/pdf/2210.17431.pdf
RIPTIDE concept
Need to reconstruct how the light is produced along the track:
Optical systems of lens coupled to an imaging light detection (TimePix, Mimosa28, MIMOSIS) device to perform the 3D reconstruction of the proton track (lens distance ~ 5-8 cm from the cube center, will reduce the solid angle coverage by a factor of 20)
Non imaging sensors (such as commercial SiPMs) to have a fast signal connected to the neutron scattering inside the cube for triggering purposes
Marco Toppi
Neutron Detectors

## Slide 39
BGO calorimeter of BGOOD/MAMBO experiment
The experiment BGOOD@ELSA (MAMBO in CSN3) pursues a systematic investigation of non-strange and strange meson photoproduction, using polarized (and not) photon beams in the energy range of Eγ = (500 MeV - 3 GeV) inpinging on liquid hydrogen and deuterium targets.
The central part of the detector is done by an almost 4π acceptance BGO crystal calorimeter (polar angle 25°-155° ): 480 BGO crystals (21 radiation lenghts) each coupled to a PMT to detect both charged (protons e pions) e neutral (photons e neutrons) particles
Target (HL o DL)
2 cylindrical MWPC’s
BGO calorimeter
Barrel of 32 plastic scintillators
The 480 BGO crìystals calorimeter is a hodoscope whom granularity allows the polar and azimuthal emission angle of the detected praticle
σ(E)/E ~ 3% FWHM ( @ 1 GeV for photons )
The calorimente allow to measure proton energy up to 400 MeV kinetic energy
The PMT readout is performed through Sampling-ADC, so a time measurement can be performed with a resolution ~ 2ns.
Marco Toppi

## Slide 40
Detectors for Medical Applications
Nuclear Physics Mid Term Plan in Italy
LNF – Session
Frascati, December 1st - 2nd 2022

## Slide 41
Treatment Monitoring
Piergiorgio Cerello
Text
Courtesy of Roberto Sacchi
ABACUS ASIC (24 ch)
2.7×2.7 cm2 active area (144 strips)
Collaboration with INFN-EXFLU project
MOVEIT sensors
Beam monitoring in particle therapy
Space…
Time…
Energy…

## Slide 42
Treatment Monitoring
Piergiorgio Cerello
The Project
INnovative Solutions for In-beam DosimEtry
in particle therapy
In-beam PET
- positron emitters
- proton and carbon in-vivo verification
Dose Profiler
- secondary protons
- carbon ion in-vivo verification

## Slide 43
Treatment Monitoring
Piergiorgio Cerello
Text
Courtesy of Elisa Fiorina
The INSIDE clinical trial
in-beam PET image - 2 fx
In-beam PET image - 21 fx
Planning CT
Control CT
in-beam Positron Emission Tomography
ClinicalTrials.gov NCT03662373

## Slide 44
Treatment Monitoring
Piergiorgio Cerello
3D emission map of fragments collected during the treatment delivery
Gamma test (9mm/10%) has been used for voxel to voxel comparison
beam
gamma map
Courtesy of Alessio Sarti
The INSIDE clinical trial
Dose profiler
ClinicalTrials.gov NCT03662373

## Slide 45: The PAPRICA project
Treatment Monitoring
Piergiorgio Cerello
Text
Courtesy of Ilaria Mattei
in-vivo monitoring of inter-fraction morphological variations
with prompt photons (E > 4MeV) detection through the pair production mechanism
Prototype design (~ 5x20 cm2 total surface)
Converter: LYSO fibres, 1.5x1.5x50 mm3 each
Tracker: 3 planes of ALPIDE pixels (27x29x100 μm3)
Calorimeter: EJ-200 plastic scintillator rods, 6x6x50 mm3 each
Expected performance from FLUKA Monte Carlo simulation, on patients from the INSIDE clinical trial
PAPRICA spots morphological variations
in 2/2 replanned patients
in 0/4 not replanned patients
TRACKER
CALORIMETER

## Slide 46
Treatment Monitoring
Piergiorgio Cerello
Courtesy of Francesco Pennazio
First I3PET proton beam test (June 2021):
primary-secondary radiation coincidences identified!!!
- Trigger on PET detector
- Joint DAQ
I3PET module
signal
UFSD
signal
5 ns
beam
MoVeIT UFSD
I3PET modules
Primary beam
Secondary radiation
Innovative In-beam Imaging: the I3PET project
monitoring of Positron Emitters & Prompt Photons with the same PET detector

## Slide 47
Treatment Monitoring
Piergiorgio Cerello
Text
MERLINO: From PGT to stopping power!
Courtesy of Veronica Ferrero
Measurement of the EneRgy Loss for IN-vivo Optimization in particle therapy
Multi-detector approach relying on the SER-PGT reconstruction algorithm
(F. Pennazio et al., Phys Med Biol 2022)
The Bragg curve (in-vivo!!!)
t (ns)

## Slide 48
Treatment Monitoring
Piergiorgio Cerello
Courtesy of Veronica Ferrero
Detector holder
LaBr3 cylinder scintillator 3.81 cm diameter 3.81 cm height + PMT
15 x 15 x 40 cm3 PMMA target
UFSD 8 strips
Beam nozzle
227 MeV protons on PMMA
Beam average rate 107 pps
LaBr3 – UFSD time coincidences
MERLINO: From PGT to stopping power!
t (ns)

## Slide 49
Treatment Monitoring
Piergiorgio Cerello
Text
Courtesy of Veronica Ferrero
MERLINO: From PGT to stopping power!

## Slide 50
Treatment Monitoring
Piergiorgio Cerello
Text
Courtesy of Veronica Ferrero
MERLINO: From PGT to stopping power!

## Slide 51: Fluorescence-based beam monitor for FLASH RT
Treatment Monitoring
Courtesy of Alessio Sarti
Real time beam monitoring (intensity and direction) is required
Standard detectors (i.e., ionization chambers) not suitable in FLASH regime
- discharges
- dose-dependent effects
arXiv:astro-ph/0409727
air fluorescence to detect electron current and measure its characteristics
emission of optical photons from molecular excitation with an almost constant yield over a wide energy range
air as a medium minimizes the material thickness on the beam line

## Slide 52: Fluorescence-based beam monitor for FLASH RT
Treatment Monitoring
Courtesy of Alessio Sarti
Proof of principle using the ElectronFlash machine, by Sordina IORT Technologies S.p.A.
air volume (2x2x60 cm3) enclosed by a thin layer of tedlar, light sensors on the edges

## Slide 53: Fluorescence-based beam monitor for FLASH RT
Treatment Monitoring
Optimize the light detection system to make it more stable and precise, and reduce the risk of saturation
Optimize design with MC simulations
Aim: monitor the intensity of typical FLASH pulses making a 2D mapping of the beam with a spatial resolution ≈mm
3 - 20 Gy/pulse
pulse duration: 4 µs
Dose: Gy / pulse
Integrated PMT signal
Courtesy of Alessio Sarti

## Slide 54: Boron Neutron Capture Therapy (BNCT)
Treatment Monitoring
Piergiorgio Cerello
Text
- neutron flux on 10B-enriched target tissue
- high LET secondaries produced in 10B(n,α)7Li
- highly effective at cell level
Charged particles Range (μm)

## Slide 55
Treatment Monitoring
Piergiorgio Cerello
BNCT dosimetry: the present limit
”therapeutic” dose due to 10B accumulation dD(x,y,z) ~ n10B(x,y,z) . Φ(x,y,z)dV
thermal neutron flux @ tumour site
10B distribution @ irradiation time
are presently measured indirectly - huge uncertainties on dose estimation
10B concentration from blood samples and ICP-AES or MS, coupled with pharmacokinetic models
Monte Carlo-based Treatment Planning Systems (TPS) validated through TE-phantom measurements
Courtesy of Nicoletta Protti

## Slide 56: BENEdiCTE (Boron Enhanced NEutron CapTurE)
Treatment Monitoring
Piergiorgio Cerello
Text
Courtesy of Carlo Fiorini
Minimum 10B-concentration of 60ppm detected at Lena (Pavia)
Boron concentration (ppm)
Count rate

## Slide 57
Treatment Monitoring
Piergiorgio Cerello
Text
SPECT and Compton Imaging
“single stage" Compton Camera
3D CZT detectors (3CaTS project)
DoseCapture modules for BNCT-SPECT (ENTER-BNCT project INFN + UNIPV Dipartimento di Eccellenza)
CdZnTe room-temperature semiconductor detectors:
the cutting-edge technology for small field of view scanners
g-rays
(iii) a square 4 holes Pb collimator to select the photon direction
(i) an array of 4 Frisch Grid (FG) CZT detectors
(ii) 6Li-enriched neutron shield surrounding the array to reduce the (n,γ) reactions of 113Cd (~12% natural abundance)
(iv) proprietary digital electronics for acquisition, correction and analysis
S.Fatemi et al., NIM-A 903: 134-139 (2018)
3D-CZT prototype, 20x20x20 mm3
drift strip detectors:
anode-cathode
orthogonal strips
to have a virtual pixel
L. Abbene et al., J Synchrotron Rad 27: 1564-1576 (2020)
L. Abbene et al., Sensors 22:1502 (2022)
Courtesy of Nicoletta Protti

## Slide 58
Dosimetry, QA and Radiotherapy
Giada Petringa

## Slide 59
Dosimetry, QA and Radiotherapy
Giada Petringa

## Slide 60
Dosimetry, QA and Radiotherapy
Giada Petringa

## Slide 61
Dosimetry, QA and Radiotherapy
Giada Petringa

## Slide 62
Dosimetry, QA and Radiotherapy
Giada Petringa

## Slide 63
Dosimetry, QA and Radiotherapy
Giada Petringa

## Slide 64
Dosimetry, QA and Radiotherapy
Giada Petringa

## Slide 65
Dosimetry, QA and Radiotherapy
Giada Petringa

## Slide 66
Dosimetry, QA and Radiotherapy
Giada Petringa

## Slide 67
X and γ ray Imaging
Luca Brombal

## Slide 68
X and γ ray Imaging
Luca Brombal

## Slide 69
X and γ ray Imaging
Luca Brombal

## Slide 70
X and γ ray Imaging
Luca Brombal

## Slide 71
X and γ ray Imaging
Luca Brombal

## Slide 72
X and γ ray Imaging
Luca Brombal

## Slide 73
X and γ ray Imaging
Luca Brombal

## Slide 74
X and γ ray Imaging
Luca Brombal

## Slide 75
X and γ ray Imaging
Luca Brombal

## Slide 76
γ-Χ ray Detectors
Nuclear Physics Mid Term Plan in Italy
LNF – Session
Frascati, December 1st - 2nd 2022

## Slide 77
X-γ Rays Detectors
Alessandro Scordo

## Slide 78
X-γ Rays Detectors
Alessandro Scordo

## Slide 79
X-γ Rays Detectors
Alessandro Scordo

## Slide 80
X-γ Rays Detectors
Alessandro Scordo

## Slide 81
X-γ Rays Detectors
Alessandro Scordo

## Slide 82
X-γ Rays Detectors
Alessandro Scordo

## Slide 83
X-γ Rays Detectors
Alessandro Scordo

## Slide 84
X-γ Rays Detectors
Alessandro Scordo

## Slide 85
X-γ Rays Detectors
Alessandro Scordo

## Slide 86
X-γ Rays Detectors
Alessandro Scordo

## Slide 87
X-γ Rays Detectors
Alessandro Scordo