## Slide 1
Ion Beam Test 2022:
Some Preliminary Things for IT SCD
A. Oliva
19/12/2022

## Slide 2
SPS Secondary Ion Beam
Pb (150 A GeV/c or 379 GV/c) + Be (40 mm)  Fragments selected magnetically.
Chosen the rigidity interval of few % around 300 GV/c.
Given straight-ahead approx. this corresponds to A/Z=2.
 Maybe not the best configuration for high-Z.
 However, enough to see Z=26.
Pb
primary
Why this 10% spread?
I don’t think it is intrinsic of the beam,
should be resolution of this momentum detector (?)
8Be hole
CALO PD Tower
Be hole
12C

## Slide 3
Ladder Under Test

## Slide 4
POX05 (-Y) POX06 (+X) POX12 (-X) L13 (+Y) POX01 (-Y) POX02 (-Y) L10 (+X) L09 (+X)
Hierarchical Common-Noise estimation (Ladder, ADC, VA). Large ladder-CN for POX06.
Dead strip detection to be implemented.
Very high-Z event, a lot of cluster over threshold (delta-rays inside and before sensor, beam halo, …).
Here only the selected largest cluster is displayed.
Clusterization
Run 229 (last), no finger, ~1M events

## Slide 5
POX05 (-Y) POX06 (+X) POX12 (-X) L13 (+Y) POX01 (-Y) POX02 (-Y) L10 (+X) L09 (+X)
Run 229 (last), no finger, ~1M events
Seed Strip and Saturation
 Broad distribution along Y and thin distribution along X (as expected from beam characteristics).
VA saturation (no ADC saturation observed for any-Z).
Gain difference still to be corrected.

## Slide 6
S2
S1
S4
S3
S2
S1
S4
S3
S1: Seed strip (largest strip)
S2: Second strip (second larger)
S3: Next-to-seed strip
S4: Next-to-second strip
SR, SL: are the left and right strips of the couple S1 and S2
SRR: Next-to-right strip (can be S3 or S4)
SL: Next-to-left strip (can be S3 or S4)
+ ): the center of gravity of the two highest strips (S1 and S2).
SL
SR
SRR
SLL
SL
SR
SRR
SLL
Cluster Naming

## Slide 7
Saturation
The 𝜂-distribution shows 2 extra-peaks at about 1/3 and 2/3 as expected from the presence of 2 floating strips.
Selecting two regions profiting of the 𝜂-symmetry: readout, floating.
Basically we can see up to 6 with readout region, and up to 14 with floating using total signal (as ∼ expected).
VA04 of POX06 in run 229.
Total Signal vs 𝝶

## Slide 8
Readout region
Charge Loss
Floating region
Charge Loss ∼ 50%
Not a big non-linearity
Some non-linearity below saturation.
 Better to use seed to study non-linearities!

## Slide 9
VA04 of POX06 in run 229.
Seed Strip vs 𝝶
Seed distribution explains in full what we observe with total signal.
At moderate-Z (Z=8), seed saturates, while at high-Z (Z=14) seed strip start to saturate on floating.
Peak position of seed can be used to gain-calibrate, and verify linearity up to saturation.
Saturation

## Slide 10
Charge Coupling
Both 𝜂-distribution and/or S2/S1 ratio show a charge coupling of about 0.8%.
“1/3”
“2/3”
No-seed-saturation, S1 < 2000
VA04 of POX06 in run 229.

## Slide 11
Conclusions
There is a lot of data analysis still to be done: 8 ladders, and many runs. I took a look only to one VA.
Basic properties of the VA: charge loss 50%, charge coupling 0.8%.
Observed charge peaks up to Z=8 with readout region, and up to Z=14 with floating region.
Use of external strips (S3, S4) to extend dynamic range is still to be tried.