## Slide 1: Report of charge sharing results for beam test
Lu Ruosi

## Slide 2: outline
Analysis of particle hitting readout strip
Analysis of particle hitting floating strip

## Slide 3: Data processing workflow
prepare advanced data
filter for 10 hit positions
filter ETA and particle types
post-processing
elements
amplitude of each channel in Cluster(ADC)
sequence number of maximum amplitude channel
the number of maximum amplitude channel in the cluster
Maximum channel amplitude(ADC)
the sum of amplitudes of all channels in the Cluster
ETA value
and so on

## Slide 4: Data processing workflow
0ohm
0
1
2
3
4
5
6
7
8
9
68pF
47pF
20pF
100pF
0ohm
distinguish 10 different sections :
prepare advanced data
filter for 10 hit positions
filter ETA and particle types
post-processing
60um width
25um width

## Slide 5: Data processing workflow
readout strip
readout strip
floating strip
prepare advanced data
filter for 10 hit positions
filter ETA and particle types
post-processing

## Slide 6
Ch46
Ch47
float
float
float
Ch45
float
Ch44
float
Ch43
Ch48
float
Ch49
float
float
Ch42
Ch50
seed
2nd
1st
1st
3rd
4th
2nd
3rd
4th
Signal amplitude of the cluster:
hit readout strip
=

## Slide 7
readout strip:
seed
2nd
1st
3rd
4th
for example: silicon microstrip width is 25um, capacitance is 20pF

## Slide 8: Data processing workflow
prepare advanced data
filter for 10 hit positions
filter ETA and particle types
post-processing
Get the mean value and sigma value corresponding to different detector, section, Z
through error transfer function, obtain the final charge sharing ratio that doesn’t distinguish between Z
gaussian fit for the accumulated histogram of the filtered
charge sharing ratio

## Slide 9: Data processing workflow
prepare advanced data
filter for 10 hit positions
filter ETA and particle types
post-processing
Get the mean value and sigma value corresponding to different detector, section, Z
through error transfer function, obtain the final charge sharing ratio that doesn’t distinguish between Z
gaussian fit for the accumulated histogram of the filtered
charge sharing ratio
1st

## Slide 10
through error transfer function, obtain the final charge sharing ratio that doesn’t distinguish between Z
seed
2nd
3rd
4th
1st
red:60um
blue:25um

## Slide 11
Ch46
Ch47
float
float
float
Ch45
float
Ch44
float
Ch43
Ch48
float
Ch49
float
Ch42
1st
1st
4th
3rd
2nd
3rd
4th
2nd
hit floating strip
Signal amplitude of the cluster:
=

## Slide 12
floating strip:
for example: silicon microstrip width is 25um, capacitance is 20pF
1st
2nd
3rd
4th

## Slide 13: Data processing workflow
prepare advanced data
filter for 10 hit positions
filter ETA and particle types
post-processing
Get the mean value and sigma value corresponding to different detector, section, Z
through error transfer function, obtain the final charge sharing ratio that doesn’t distinguish between Z
gaussian fit for the accumulated histogram of the filtered
charge sharing ratio

## Slide 14: Data processing workflow
prepare advanced data
filter for 10 hit positions
filter ETA and particle types
post-processing
Get the mean value and sigma value corresponding to different detector, section, Z
through error transfer function, obtain the final charge sharing ratio that doesn’t distinguish between Z
gaussian fit for the accumulated histogram of the filtered
charge sharing ratio
1st

## Slide 15
through error transfer function, obtain the final charge sharing ratio that doesn’t distinguish between Z:
1st
4th
3rd
2nd
red:60um
blue:25um

## Slide 16: conclusion
Analyse the relationship between charge sharing ratio and external capacitance

## Slide 17: Thanks!