## Slide 1: IHEP SCD Charge reconstruction

## Slide 2: The IHEP SCDs
The 3.6 cm width detector is divided into 10 sections.
Each section has unique strip width & capacitance.
Each section has 40 implant strips and 20 readout channels.
60um
25um
0ohm
0ohm
68 pf
47 pf
20 pf
100 pf
3.6cm

## Slide 3: Data analysis framework
Section Selection
Raw Data Conversion
Pedestal analysis and subtraction
CN analysis and subtraction
Cluster Finding
Charge reconstruction
Raw data processing
High-level data processing
ETA Selection
PMO SCD provides PID

## Slide 4
High-level data processing
Section Selection——10 section
The horizontal coordinate is ETA and the vertical coordinate is Sqrt (Cluster ADC)

## Slide 5
ETA Selection ——20 ETAbin
High-level data processing
eta selection , plot sqrt(ADC) spectrum
FIG.1

## Slide 6
High-level data processing
FIG.2

## Slide 7
High-level data processing
The peak positions of each particle were fitted using a Gaussian to obtain the corresponding mean values.
FIG.3
Gaussian fitting

## Slide 8
High-level data processing
Extracting the mean values for each ETAbin for each particle and plotting eta versus peak position, one can see a V-shaped band similar to that in Figure 1.
FIG.4
Too few counts to be fitted

## Slide 9
Spline interpolation
FIG.5
By interpolating the spline curve ,plotting Z versus ETA, you can see that the V-shaped band in the graph becomes a horizontal band, eliminating the dependence on ETA.
Charge reconstruction

## Slide 10
Charge reconstruction
Accumulated charge spectrum
FIG.6

## Slide 11
Charge reconstruction
FIG.7
The reconstructed charge spectrum for each particle in each section are accumulated in turn according to the PID.

## Slide 12
Charge reconstruction
Landau Gaussian fitting
The FWHM of each particle is calculated by a Landau Gaussian fit to obtain the final charge resolution.
FIG.8
Z=1
Z=2
Z=3
Z=4
Z=5
Z=6

## Slide 13
Charge reconstruction
Z=7
Z=8
Z=9
Z=10
Z=11

## Slide 14
Charge reconstruction
FIG.9
FIG.10
Results of charge reconstruction in 10 sections
60um
25um

## Slide 15
Charge reconstruction
FIG.11

## Slide 16
Conclusion
Charge spectra from Z=1 ~ 11 were reconstructed with the help of the PMO PID using the ETA correction method.

## Slide 17
Thanks!