## Slide 1: PADME experiment geometry and beam characteristics
P. Valente – Run III Analysis Workshop
19/1/2023

## Slide 2: BTF beam-line and PADME
on + off, 49 pulses/s
on + on, 1 pulse/s
45 dipole 1*
45 dipole 2 (steering), R=1.72 m
BTF-1 hall
Target
Beam from linac
ECal
ETag
TimePix
Lead Glass
quadrupoles
quadrupoles
3 dipole
3 dipole
*bending by 42, R=1.84 m
60 dipole
linac spectrometer
collimators
FitPix
Lead Glass
BTF diagnostics
Vacuum
vessel
PADME dipole off (residual 10G)
Momentum selection
Beam transport and focussing
PADME detectors

## Slide 3
BTF-1 hall
FitPix
Lead Glass
256256 pixels, 5555 m2 each
Typical spot: 11 mm2
(but not same focus as on PADME target)
Current monitor
dipole 2 off
200 ns
dipole 2 on
200 ns
Lead Glass
Lead glass: 10.537 cm3
Single PMT, 10241 ns samples
Hall probe inside dipole 1 gap
(stable within 0.2 G during each scan point)

## Slide 4
[MeV]=0.0551318[Gauss]
G. Mazzitelli, M. A. Preger, C. Sanelli, F. Sgamma, P. Valente
DAFNE technical note BTF-1 (2003)
*bending by 42
[Gauss] =27.16 + 28.446 [Ampere]

## Slide 5
BTF-1 hall
Target
ECal
ETag
TimePix
Lead Glass
62 array of TimePix3
256256 pixels, 5555 m2 each
(but not integrated in the general DAQ)
CVD diamond, 100 m thick
1515 strips, 1 mm wide
Target to:
TimePix = 425 cm
dipole 2 exit = 60 cm

## Slide 6
BTF-1 hall
Target
ECal
ETag
TimePix
Lead Glass
6 long 23 short + 6 long bars
Readout by 4 SiPMs on left and right edges
(double readout long bars only)
626 BGO crystals, 2121230 mm3
Readout by 19 mm PMTs
Target to:
Etag = 360 cm
ECal = 365 cm
Measures:
Energy, time, position of /
=2%
=1-2 ns
= 7 mm ( and )
Measures:
Time, position of
0.5 ns
4 cm granularity in

## Slide 7
With respect to Run II ECal moved away from target by
17.8 cm (straw man measurement)
176.9 mm/174.4 mm door/wall side (survey)
ETag
box

## Slide 8
Large spread beam
from Linac
TimePix
Target
Can also be computed from collimators’ gaps/distances
[Nucl. Instrum. Meth. A515 (2003) 524]:
With H=h=2 mm we get 0.22%
In a spectrometer line the horizontal position of a particle with momentum with , will be offset by , where is the dispersion function; ( is the arm length and the deflection angle)
The beam spot size is given by:
If the geometric beam size in absence of dispersion can be neglected, , we can get the spread from:
From a no-target run (otherwise Coulomb scattering would be not negligible) we estimate: 0.24%
Dipole 1: 200.2 A 200.7 A and back

## Slide 9
0.3 A/176.075 A= 0.47 MeV/276.3 MeV
1.25 mrad
1 mm
Distance 0.8m
(dipole 2-to-Target 0.6 m)
F: +1.7 MeV «linac» energy
+0.5 MeV selected energy
A, C, D
B, E

## Slide 10: No target
293.7 MeV
296.7 MeV
50.4 mm
13.8 mm
3 MeV/296.7 MeV
7.33 mrad
36.6 mm
distance5 m
(dipole 2-to-TimePix 4.85 m)

## Slide 11
280 MeV, target in
280 MeV, target out
;

## Slide 12
Sorry:
some useful information is surely still missing
I will keep updating this presentation as much as I can
Feel free to ask