## Slide 1
The First Dedicated
Axion Quark Nugget Experiment
Using a Haloscope at CAPP
Jinsu Kim
IBS-CAPP
07/06/2023
Introduced by prof. Ariel Zhitnitsky

## Slide 2: Table of Contents
Motivation
Axion Quark Nuggets (AQNs)
Properties of AQN
Experiment at CAPP
Summary

## Slide 3: Motivation
Many DM axion experiments aim for finding virialized haloaxions
However, there are other axion sources, depending on scenarios
CAST experiment searches helioaxions coming from the Sun
ADMX recently searched for cosmic axion background
Those axions have different density & velocity distribution
Analysis w/ various models = higher chance of finding axion
Nitta, T., et al. "Search for the Cosmic Axion Background with ADMX." arXiv preprint arXiv:2303.06282 (2023).
New CAST limit on the axion–photon interaction. Nature Physics, 2017, 13.6: 584-590.

## Slide 4: New axionic structure: AQNs
AQNs are dark matter (DM) candidates introduced by prof. Ariel Zhitnitsky
(Anti-)quarks are trapped inside the axion domain wall
AQN is stable enough to be DM
Typical radius of the AQN: R~100 nm
Typical baryon number of the AQN: |B|~
AQN energy density: same as CDM (Maxwellian)
Axions are expected to be released if the structure collapses
[1] Zhitnitsky, Ariel. "Axion quark nuggets. Dark matter and matter–antimatter asymmetry: Theory, observations and future experiments." Modern Physics Letters A 36.18 (2021): 2130017.
Zhitnitsky, Ariel. "Structure Formation Paradigm and Axion Quark Nugget dark matter model." arXiv preprint arXiv:2302.00010 (2023).

## Slide 5: AQN-induced axions
There are several mechanisms for AQNs to be collapsed
The mechanism used at CAPP is based on AQN-Earth pair annihilation[1]
If dark matter AQN passes through Earth, there is a chance of (matter in Earth) - (anti-matter in AQN) annihilation near the laboratory
Axion domain wall disappears, and many axions are released from the wall
AQN-induced axions are now detectable using the haloscopes
[1] Zhitnitsky, Ariel. "Axion quark nuggets. Dark matter and matter–antimatter asymmetry: Theory, observations and future experiments." Modern Physics Letters A 36.18 (2021): 2130017.

## Slide 6: Property 1: daily modulation
DM wind due to the Earth’s rotation
DM wind in oscillation by the Earth spin
Noticeable daily modulation exists (~10%)
South Korea has
Liang, Xunyu, et al. "Axion quark nugget dark matter: Time modulations and amplifications." Physical Review D 101.4 (2020): 043512.

## Slide 7: Property 2: broadband axion
If AQNs are dominant dark matter, AQN must be cold according to CDM model
However, AQN-induced axions have different energy distribution, as the potential energy of the AQN can be added to axion kinetic energy
Broadband search is possible (axion is everywhere)
Axions are dispersed broadly () [1]
Zhitnitsky, Ariel. "Axion quark nuggets. Dark matter and matter–antimatter asymmetry: Theory, observations and future experiments." Modern Physics Letters A 36.18 (2021): 2130017.

## Slide 8: Property 3: new form factor
Most of AQN-induced axions are relativistic
Short wavelength induces spatial dependency
→ Form factor is dependent on the axion direction
New Form factor:
= 8.2 ueV
TM010 (2.270 GHz)
TM011 (2.391 GHz)
TM012 (2.720 GHz)
TM013 (3.195 GHz)
TM014 (3.760 GHz)

## Slide 9: Challenges of AQN experiments
Daily modulation amplitude is about 3% of the conversion power
AQN-induced axions lose CDM Q factor advantage:
Averaged form factor is smaller than non-relativistic axions:
Boost of the axion signal is necessary

## Slide 10: AQN experiments at CAPP
CAPP recently launched an AQN experiment using the haloscope
SC taped cavity, developed by CAPP SC team, is implemented
Dr. Danho Ahn’s talk

## Slide 11: Conversion power of high-Q cavities
Let’s consider a non-tunable cavity with
Only small portion of the axion energy is converted to photons
However, high-Q means less resistance, increasing steady power
For Lorentzian signal, two effects cancels each other, leaving [1]
Axion bandwidth
Cavity bandwidth
Less loss
[1] Kim, Dongok, et al. "Revisiting the detection rate for axion haloscopes." Journal of Cosmology and Astroparticle Physics 2020.03 (2020): 066-066.
Detuning

## Slide 12: Noise & SNR of high-Q cavities
Then why do we have to use SC cavity?
Copper cavity is already
However, the noise power inside the cavity bandwidth is reduced
(Nyquist theorem)
Figure of merit
The higher Q factor, the better scanning speed

## Slide 13: Experimental setup

## Slide 14: Experimental parameters
Data collected: June 8th ~ (now ongoing)
  SC cavity & JPA are implemented to the system
  Digitizer w/ 62.5 Hz resolution
Frequency | Loaded Q | Coupling | Volume | B-field | Base | Cavity bottom | JPA gain | Tsys
2,269,455,000 Hz | 1,200,000 | 0.5 | 1.5 L | 8 T | 60 mK | 75 mK | 19.5 dB | 250 mK (2.2 SQL)
Reference
tone
Y-factor noise
(absolute meas.)
→ Track using VNA data & reference tone
Reference
tone
Idler
Artifact

## Slide 15: Gain & noise calibration of the spectrum
Raw spectrum
Gain & noise
Gain & noise calibrated
Histogram of the ‘(left) x 240’
(blue: theoretical statistics by the Nyquist theorem)
Reference signal

## Slide 16: Excess series over time
Merge spectrum
(combination)
= JPA adjustment
Single point
Repeat

## Slide 17: Preliminary results
Until so far (~18 days data), there is no significant 24 hours period signal
The analysis is still ongoing (Bayesian method)
Blue: fitted
CAST (2017)
Now (modulation)
DC level + 3% mod.
He tuning cav. (Dr. HeeSu Byun)
Preliminary
~ 1.3 GHz range!

## Slide 18: Haloaxion analysis
Haloaxion analysis using the data after 2nd JPA adjustment (~ 16 hours)
< DFSZ sensitivity has been reached
RBF
QCD band
KSVZ
DFSZ
This work
0.78 x DFSZ
Preliminary
x 14,400

## Slide 19: Summary
AQN dark matter is the alternative model to the haloaxion dark matter
AQN-induced axions are daily modulating broadband signals
From single haloscope data it is possible to analyze using both models
AQN haloscope experiment is ongoing at CAPP
SC cavity (M) & JPA ( mK) are implemented
Analysis is in progress
THANK YOU