## Slide 1: X-ray imaging using compact light sources Silvia Cipiccia
Department of medical PHYSICS and biomedical engineering

## Slide 2: X-ray imaging
M.E. Couprie
Journal of Electron Spectroscopy and Related Phenomena 196 (2014) 3–13
SYNCHROTRON
XFEL
Laboratory sources
Novel sources
Liquid metal-jet
Inverse Compton Scattering
Laser-driven sources

## Slide 3: - Each source has different specific features - Not a solution fits all
Coherent diffraction imaging
Multimodal imaging at the femtosecond

## Slide 4: Coherent diffraction imaging
Conventional Microscopy
Radiation is scattered from a sample and is focussed through a lens into an image plane
The detector is placed in the image plane and captures the intensity image (lost phase information)
The image is limited in resolution by the quality of the lens profile to the high scatter angles

## Slide 5: Coherent diffraction imaging
Replace the function of the lens with a computational reconstruction
Allows to recover both the modulus and phase components of the wave
Is not limited by the quality of the optical components (perfect transfer function)
Recover the relative phase

## Slide 6: Ptychography: Scanning Coherent Diffraction Imaging
Extends the coherence by scanning
Does not require pre-knowledge of the illumination
Sample raster scanned
FZP
XPCD
pinhole
Coherent
X-ray beam
Lsc
D1
Source
d
D2 (far field)

## Slide 7: X-ray ptychography
Nanoscale resolution
Sensitive to small changes in electron density
Quantitative
Requires high quality beam:
  high coherence

## Slide 8: X-ray ptychography
Magnetic domain imaging
Electronic science
Batteries

## Slide 9: Coherent diffraction imaging with an LMJ
Can be performed outside a synchrotron?
YES
SMALL laboratory Sheffield: Sasha Mykhaylyk
Brilliance 1011 photons/(0.1%BW s mrad2 mm2)

## Slide 10: Coherent diffraction imaging with an LMJ
Long acquisition
Source instability
Main Challenge
Dedicated setup
Next steps
Increase usable flux
Broadband
Hyperspectral detector
Algorithm

## Slide 11: Broadband ptychography
Detector as monochromator
Hyperspectral detectors (e.g. Hexitec, SLcam)
Scanning Ni edge in a single acquisition
Edge subtraction
Limitation:
  Not compatible with high flux
  Resolution limited by the detector bandwidth

## Slide 12: Broadband ptychography
Algorithm as monochromator
Multiple illuminations (one per energy)
Modify standard algorithm
Multiple objects (one per energy)
Probe
Object
Initial guess
Transport to far field (FFT)
Measured
intensity
Calculated intensity
Probes_E
Objects_E
Simulated objects
Retrieved objects
Individual FFT
Add modulus

## Slide 13: Laser-driven x-ray sources
Unique Features
Compact
Femtosecond pulse duration
Small source size → high spatial coherence
Phase Contrast
Ultra-fast imaging
To exploit at the best:
Single-shot: to make sue of the femtosecond time resolution
Multimodal: access multiple information in one acquisition

## Slide 14: Edge Illumination-Beam Tracking
a)
b)
c)
absorption
phase
scattering
Robust
Polychromatic sources
Low spatial coherence (large source size)

## Slide 15: Beam Tracking with a laser-driven source

## Slide 16: Beam Tracking with a laser-driven source
Tungsten mask: 12 um aperture, 39 um period. Laser micromachined by Scitech Precision
Resolution
Single shot: mask period
Dithering: mask aperture
Bridges to reinforce the self-standing structure
Detector
Andor Ikon L
1024x1024 pixels, 13 um pixel size

## Slide 17: Source characterization
Source pointing
Energy Spectrum
A. Doherty et al. ‘Femtosecond multimodal imaging with a laser-driven x-ray source’.
Comm. Physics, in review

## Slide 18: Dithering acquisition
Parameters
4 dithering steps
Pixel size 10.7x30 um
Sample orange peel
100 cumulated shots per dithering step
Transmission
A. Doherty et al. ‘Femtosecond multimodal imaging with a laser-driven x-ray source’.
Comm. Physics, in review
Refraction
Scattering
Transmission
1 mm

## Slide 19: No dithering
Transmission
Refraction
Scattering
50 shots
Single shot
1 mm
Binning 2: Pixel size 39x30 um
Parameters
Scaling
Tailored plasma: up to factor 100
More efficient detector
Laser power: 145 TW 750W, factor 3
Parameters
Binning 8: Pixel size 39x120 um
A. Doherty et al. ‘Femtosecond multimodal imaging with a laser-driven x-ray source’.
Comm. Physics, in review
Factor 12 in statistics
Resolution
Masks: 2 um aperture, 7 um period
Similar statistics
Higher resolution

## Slide 20: Challenges:
Spectral variations
Main Challenge
More robust fitting
Flat battery cell 8 mm diameter
Free space propagation
BT- transmission
Fitting issues
transmission
refraction
scattering

## Slide 21
Enabling science
Novel Sources
Imaging techniques
Applications
s.cipiccia@ucl.ac.uk

## Slide 22: Thank you!