## Slide 1
High precision kaonic atoms X-ray spectroscopy with the SIDDHARTA-2 experiment at the DANE collider
Francesco Sgaramella on behalf of the SIDDHARTA-2 Collaboration

## Slide 2
Francesco Sgaramella
High precision kaonic atoms X-ray spectroscopy with the SIDDHARTA-2 experiment at the DAFNE collider
Kaonic atoms
Kaon-nuclei interactions (scattering and nuclear interactions)
Part. and Nuclear physics
QCD @ low-energy limit
Chiral symmetry, Lattice
Astrophysics
EOS Neutron Stars
Dark Matter studies
Fundamental physics
New Physics
On self-gravitating strange dark matter halos around galaxies
Phys.Rev.D 102 (2020) 8, 083015
Kaonic Atoms to Investigate
Global Symmetry Breaking
Symmetry 12 (2020) 4, 547
Why Kaonic Atom?

## Slide 3
Catalina Curceanu (A. Scordo)
Strong interaction induced width and shift obtained by measuring the emitted X-rays
A new renaissance for kaonic atoms at DAΦNE: future measurements and perspectives
Kaonic Atom
Francesco Sgaramella
3
High precision kaonic atoms X-ray spectroscopy with the SIDDHARTA-2 experiment at the DAFNE collider

## Slide 4: SIDDHARTA-2 Collaboration
Silicon Drift Detectors for Hadronic Atom Research by Timing Application
LNF-INFN, Frascati, Italy
SMI-ÖAW, Vienna, Austria
Politecnico di Milano, Italy
IFIN –HH, Bucharest, Romania
TUM, Munich, Germany
RIKEN, Japan
Univ. Tokyo, Japan
Victoria Univ., Canada
Univ. Zagreb, Croatia
Univ. Jagiellonian Krakow, Poland
ELPH, Tohoku University
Francesco Sgaramella
High precision kaonic atoms X-ray spectroscopy with the SIDDHARTA-2 experiment at the DAFNE collider

## Slide 5
To perform the first measurement ever of kaonic deuterium X-ray transition to the ground state (1s-level) such as to determine its shift and width induced by the presence of the strong interaction.
Analysis of the combined measurements of kaonic deuterium and kaonic hydrogen
Scientific Goal
Experimental determination of the isospin-dependent
K-N scattering length
Francesco Sgaramella
High precision kaonic atoms X-ray spectroscopy with the SIDDHARTA-2 experiment at the DAFNE collider

## Slide 6
DAFNE
DEAR
2002
SIDDHARTA-2 2022
SIDDHARTA
2009
The modern era of light kaonic atom experiments Catalina Curceanu, Carlo Guaraldo, Mihail Iliescu, Michael Cargnelli, Ryugo Hayano, Johann Marton, Johann Zmeskal, Tomoichi Ishiwatari, Masa Iwasaki, Shinji Okada, Diana Laura Sirghi, and Hideyuki Tatsuno
Rev. Mod. Phys. 91, 025006 – Published 20 June 2019
Francesco Sgaramella
High precision kaonic atoms X-ray spectroscopy with the SIDDHARTA-2 experiment at the DAFNE collider
J-PARC

## Slide 7
LNF – Accelerator Complex
Francesco Sgaramella
High precision kaonic atoms X-ray spectroscopy with the SIDDHARTA-2 experiment at the DAFNE collider
DANE
DAMPING RING
LINAC
Φ → K- K+ (48.9%)
Monochromatic low-energy K- (127 MeV/c ; Δp/p = 0.1%)
Less hadronic background compared to hadron beam line
Suitable for low-energy kaon physics:
kaonic atoms
Kaon-nucleons/nuclei interaction studies

## Slide 8
Francesco Sgaramella
High precision kaonic atoms X-ray spectroscopy with the SIDDHARTA-2 experiment at the DAFNE collider
Experimental Principle

## Slide 9
Francesco Sgaramella
High precision kaonic atoms X-ray spectroscopy with the SIDDHARTA-2 experiment at the DAFNE collider
Experimental Principle

## Slide 10
Francesco Sgaramella
High precision kaonic atoms X-ray spectroscopy with the SIDDHARTA-2 experiment at the DAFNE collider
Experimental Principle

## Slide 11
Francesco Sgaramella
High precision kaonic atoms X-ray spectroscopy with the SIDDHARTA-2 experiment at the DAFNE collider
Experimental Principle

## Slide 12
Francesco Sgaramella
High precision kaonic atoms X-ray spectroscopy with the SIDDHARTA-2 experiment at the DAFNE collider
Experimental Principle

## Slide 13
x
y
z
e-
510 MeV/c
e+
510 MeV/c
127 MeV/c
Δp/p=0.1%
K+
K-
Φ
Target
Detect
by SDDs
Detect by two scintillators
The SIDDHARTA Experiment (2009)
1 cm2 x 144 SDDs
X-ray
Francesco Sgaramella
High precision kaonic atoms X-ray spectroscopy with the SIDDHARTA-2 experiment at the DAFNE collider

## Slide 14
The SIDDHARTA Experiment (2009)
Francesco Sgaramella
High precision kaonic atoms X-ray spectroscopy with the SIDDHARTA-2 experiment at the DAFNE collider
EM value
K-p Kα
Kaonic hydrogen
Kα
Kβ
higher
C. Curceanu et al., Phys. Lett. B 704 (2011) 113

## Slide 15
Kaon nucleon scattering amplitude
Francesco Sgaramella
High precision kaonic atoms X-ray spectroscopy with the SIDDHARTA-2 experiment at the DAFNE collider

## Slide 16
Francesco Sgaramella
High precision kaonic atoms X-ray spectroscopy with the SIDDHARTA-2 experiment at the DAFNE collider
The SIDDHARTA-2 apparatus
384 SDDs
Target
Kaon Trigger
Veto-1
Veto-2
Veto-3

## Slide 17
48 arrays with 8 SDD units (0.64 cm2)
for a total active area of 246 cm2
The thickness of 450 μm ensures a high collection efficiency for X-rays of energy between 5 keV and 12 keV
Silicon Drift Detectors
Francesco Sgaramella
High precision kaonic atoms X-ray spectroscopy with the SIDDHARTA-2 experiment at the DAFNE collider
M Miliucci et al 2021 Meas. Sci. Technol. 32 095501
F Sgaramella et al 2022 Phys. Scr. 97 114002

## Slide 18
Silicon Drift Detectors
Francesco Sgaramella
High precision kaonic atoms X-ray spectroscopy with the SIDDHARTA-2 experiment at the DAFNE collider
Time Resolution
Linearity
Stability
SIDDHARTA-2 ROI
∆E/E < 10-3
∆E < 10-3
FWHM Fe Kα line
161 ± 1 eV
Energy Resolution
SDD Drift time distribution FWHM
M Miliucci et al 2021 Meas. Sci. Technol. 32 095501
Time resolution FWHM @ -140 °C

## Slide 19
High precision kaonic atoms X-ray spectroscopy with the SIDDHARTA-2 experiment at the DAFNE collider
Kaon trigger up
Kaon trigger down
e+
e-
Kaons
MIPS
The ToF is different for Kaons, m(K)~ 500 MeV/c2 and light particles
originating from beam-beam and beam-environment interaction (MIPs).
Can efficiently discriminate by ToF Kaons and MIPs!
The Kaon Trigger

## Slide 20
High precision kaonic atoms X-ray spectroscopy with the SIDDHARTA-2 experiment at the DAFNE collider
TiK
TiK
CuK
BiL
BiL
SIDDHARTA-2 Background rejection

## Slide 21
High precision kaonic atoms X-ray spectroscopy with the SIDDHARTA-2 experiment at the DAFNE collider
Ti K
KC 6->5
Ti K
Au L
KC 5->4
Bi L
Total rejection Factor
SIDDHARTA-2 Background rejection

## Slide 22
High precision kaonic atoms X-ray spectroscopy with the SIDDHARTA-2 experiment at the DAFNE collider
SIDDHARTINO (2021) The kaonic 4He 3d->2p () measurement
SDD Drift time distribution FWHM
Kaons
MIPS
SIDDHARTINO spectrum before applying the kaon trigger and the drift time rejection
Kaon Trigger
Optimization of the trigger and SDDs during the DAΦNE beams commissioning phase in preparation for the K-d run through the measurement of K-4He 3d->2p transition

## Slide 23
D Sirghi et al 2022 J. Phys. G: Nucl. Part. Phys. 49 055106
Francesco Sgaramella
High precision kaonic atoms X-ray spectroscopy with the SIDDHARTA-2 experiment at the DAFNE collider
K-4He 3d->2p shift and width: the most precise measurement in gas!
SIDDHARTINO (2021) The kaonic 4He 3d->2p () measurement

## Slide 24: K-4He low density run: 0.75% liquid helium density -> yields at lowest measured density
SIDDHARTINO The kaonic 4He yield measurement
D.L. Sirghi, et al. Nuclear Physics A 1029 (2023) 122567
Francesco Sgaramella
High precision kaonic atoms X-ray spectroscopy with the SIDDHARTA-2 experiment at the DAFNE collider

## Slide 25
Measurements of high-n transitions in intermediate mass kaonic atoms
Francesco Sgaramella
High precision kaonic atoms X-ray spectroscopy with the SIDDHARTA-2 experiment at the DAFNE collider
KC 5->4
KO 6->5
KAl 7->6
KC 6->4
KN 5->4
KC 7->5
KO 7->6
KC 6->5
KN 6->5
KAl 8->7
K4He 3->2
K4He 4->2
K4He 5->2
K4He L-high
SIDDHARTA-2 (2022)
Sgaramella, F., al. Eur. Phys. J. A 59, 56 (2023)

## Slide 26
KHe 5->3 (M)
KHe 6->3 (M)
KHe 7->3 (M)
KHe 8->3 4435.4 eV
KHe 9->3 4587.3 eV
KHe 10->3 4696.6 eV
KHe 11->3 4696.6 eV
Ti K
Ti K
 | X-ray relative yield
M/ M | 0.48 0.11
M/ M | 0.43 0.12
L/ M | 0.91 0.14
L/ L | 0.172 0.008
L/ L | 0.012 0.001
 | X-ray relative yield
SIDDHARTA-2 Kaonic 4He – M-type transitions
Line | Energy [eV]
K-4He M | 3300.8 13.2 (stat) 2.0 (sys)
K-4He M | 3860.4 13.6 (stat) 2.2 (sys)
K-4He M | 4214.1 19.6 (stat) 2.2 (sys)
Line | Energy [eV]

## Slide 28
SIDDHARTA-2 Kaonic Neon (2023)
K-Ne 8->7
K-Ne 7->6
KC 5->4
K-Ne 6->5
K-Ne 9->8
KAl 8->7
KAl 7->6 KC 6->4
KO 6->5
KO 5->4
KC 7->5
Line | Energy [eV]
K-Ne 98 | 4218.96 3.28 (stat)
K-Ne 8 | 6156.83 0.84 (stat)
K-Ne 7 | 9450.76 0.42 (stat)
K-Ne 6 | 15614.80 0.70 (stat)
Line | Energy [eV]
First K-Ne measurements – possible implications on K- multinucleon interaction and kaon mass
Francesco Sgaramella
High precision kaonic atoms X-ray spectroscopy with the SIDDHARTA-2 experiment at the DAFNE collider
Preliminary

## Slide 29
SIDDHARTA-2 Kaonic Neon (2023)
K-Ne 8->7
K-Ne 7->6
KC 5->4
K-Ne 6->5
K-Ne 9->8
KAl 8->7
KAl 7->6 KC 6->4
KO 6->5
KO 5->4
KC 7->5
Line | Energy [eV]
K-Ne 98 | 4218.96 3.28 (stat)
K-Ne 8 | 6156.83 0.84 (stat)
K-Ne 7 | 9450.76 0.42 (stat)
K-Ne 6 | 15614.80 0.70 (stat)
Line | Energy [eV]
First K-Ne measurements – possible implications on K- multinucleon interaction and kaon mass
Francesco Sgaramella
High precision kaonic atoms X-ray spectroscopy with the SIDDHARTA-2 experiment at the DAFNE collider
Preliminary
P.A. Zyla et al. (Particle Data Group), Prog. Theor. Exp. Phys. 2020, 083C01 (2020)
Kaon mass discrepancy

## Slide 30
Francesco Sgaramella
High precision kaonic atoms X-ray spectroscopy with the SIDDHARTA-2 experiment at the DAFNE collider
SIDDHARTA-2 ready for the kaonic deuterium measurement

## Slide 31
Kaonic deuterium run ongoing 2023/24
Monte Carlo for an integrated luminosity
of 800 pb-1
to perform the first measurement of the strong interaction induced energy shift and width of the kaonic deuterium ground state
(similar precision as K-p) !
Significant impact in the theory of strong interaction with strangeness
Kaonic deuterium data taking
Monte Carlo Simulation
Francesco Sgaramella
High precision kaonic atoms X-ray spectroscopy with the SIDDHARTA-2 experiment at the DAFNE collider
achievable precision

## Slide 32
Francesco Sgaramella
High precision kaonic atoms X-ray spectroscopy with the SIDDHARTA-2 experiment at the DAFNE collider
Kaonic deuterium shift and width
achievable precision
Oset 2001
Liu 2020
Mizutani 2013
Shevchenkov 2012
Gal 2007
Meißner 2011
Weise 2017

## Slide 33
Francesco Sgaramella
High precision kaonic atoms X-ray spectroscopy with the SIDDHARTA-2 experiment at the DAFNE collider
achievable precision
Oset 2001
Liu 2020
Mizutani 2013
Shevchenkov 2012
Gal 2007
Meißner 2011
Weise 2017
Kaonic deuterium shift and width

## Slide 34
Francesco Sgaramella
High precision kaonic atoms X-ray spectroscopy with the SIDDHARTA-2 experiment at the DAFNE collider
Except for the most recent measurements at DAFNE and JPARC on KHe and KH, the database on kaonic atoms dates back to 1970s and 1980s
These data are the experimental basis for all the developed theoretical models
KN interaction at threshold
KNN interaction at threshold
Nuclear density distributions
Possible existence of kaon condensates
Kaon mass
Kaonic atoms cascade models
These theoretical models are used to derive, for example:
Beyond SIDDHARTA-2: why still kaonic atoms?

## Slide 35
Francesco Sgaramella
High precision kaonic atoms X-ray spectroscopy with the SIDDHARTA-2 experiment at the DAFNE collider
The available data on “lower levels” have big uncertainties
Many of them are actually UNmeasured
Many of them are hardly compatible among each other
Relative yields with upper levels are not always measured
Absolute yields are basically unknown (except for few transitions)
The REmeasured ones have been proved WRONG
This situation would already be a proper justification for new measurements
Beyond SIDDHARTA-2: why still kaonic atoms?

## Slide 36
EXtensive
Kaonic
Atoms research: from
LIthium and
Beryllium to
URanium
EXKALIBUR
proposal to perform fundamental physics at the strangeness frontier at DAFNE
for a 3-years period (post-SIDDHARTA-2)
Dedicated runs with different types of detectors: CZT detectors, HpGe, SDD 1mm, crystal HAPG spectrometer from VOXES project
Fundamental physics at the strangeness frontier at DAΦNE. Outline of a proposal for future measurements,
C. Curceanu et al., e-Print: 2104.06076
Beyond SIDDHARTA-2: EXKALIBUR
We propose to do precision measurements along the periodic table at DAFNE for:
Kaonic Hydrogen: 200 pb-1 – with SIDDHARTA-2 setup – to get a precision < 10 eV (KH)
Selected light kaonic atoms (LHKA)
Selected intermediate and heavy kaonic atoms charting the periodic table (IMKA)
Ultra-High precision measurements of Kaonic Atoms (UHKA)

## Slide 37
Catalina Curceanu (A. Scordo)
A new renaissance for kaonic atoms at DAΦNE: future measurements and perspectives
Francesco Sgaramella
37
High precision kaonic atoms X-ray spectroscopy with the SIDDHARTA-2 experiment at the DAFNE collider
Various setups in preparation:
  HPGe
  CdZnTe detectors
  SDD 1mm for kaonic atoms measurement
Li, Be, B targets
SDD 1mm
HPGe

## Slide 38
Ti, C, Zr, Ag targets
Cd(Zn)Te
ASTRA STRONG-2020
Catalina Curceanu (A. Scordo)
A new renaissance for kaonic atoms at DAΦNE: future measurements and perspectives
Francesco Sgaramella
38
High precision kaonic atoms X-ray spectroscopy with the SIDDHARTA-2 experiment at the DAFNE collider

## Slide 39
Conclusions
Kaonic Atoms are a unique tool to study the kaon-nucleon interaction
  Tool to directly probe low energy QCD
  Rich of implications from nuclear and particle physics to astrophysics
Measurement of Kaonic-Deuterium key to fully disentangle isospin dependence on KN scattering lengths
SIDDHARTA-2 at DAFNE
  Kaonic 4He sub eV (stat) precision measurement
    Energy shift and width
    Yield at two different density 1.9 g/l and 0.82 g/l
  Several solid target high-n transition energies measured for the first time
  First kaonic Neon measurement -> implications on kaon mass
Francesco Sgaramella
High precision kaonic atoms X-ray spectroscopy with the SIDDHARTA-2 experiment at the DAFNE collider
we plan to perform fundamental Physics at the strangeness frontier at DANE:
High Precision Kaonic Atoms Measurements on DAFNE: EXKALIBUR

## Slide 40
Thank You

## Slide 42
1mm SDDs for larger efficiency at E>10keV
Financed by INFN gr 3 (Nuclear Physics) - FBK
1-2 mm SDDs may increase x2-x4 the efficiency @30keV vs. present 450um SDDs
800um and 1mm SDDs prototypes already produced by FBK for ARDESIA (INFN)

## Slide 43
Francesco Sgaramella
High precision kaonic atoms X-ray spectroscopy with the SIDDHARTA-2 experiment at the DAFNE collider
  KH Kaonic Hydrogen: 200 pb-1 – with SIDDHARTA-2 setup – to get a precision < 10 eV (present precision about 40 eV shift and 90 eV width) very important for theory (QCD at threshold with strangeness – physic below threshold) - (Weise, Nucl Phya A 2021)
  2) Setup with 1 mm SDD detectors:
  Kaonic Li; Be; B; He in the energy region 10-40 keV – precision < 2-3 eV
  SDDs are financed and ordered (FBK)
  Will be ready within 2023!
  2) Setup with 2 HPGe detectors/CdZnTe
  Heavy kaonic atoms: transitions above 70 keV
  Kaonic Pb, W – precision at the level of 3-10 eV
  HPGe available (Zagreb) and ready for use
  Total required integrated luminosity: 200 + 400 (200) pb-1
Light and Heavy Kaonic Atoms measurements: LHKA

## Slide 44
  Setup with CdZnTe detectors:
  Kaonic Ti, C, Zr, Ag, between 40 and
  200 keV – precision 3-5 eV
  CdZnTe are developed within
  ASTRA STRONG-2020 project
  Will be ready within 2023
  3) Setup with 2 HPGe detectors continued
  Heavy kaonic atoms: transitions above 70/100 keV
  Kaonic Co, Au, Pt – precision at the level of 5-10 eV (depending on energy of transition)
  HPGe available and ready for use (Zagreb Univ. plus Mainz – additional HPGe)
  Total required integrated luminosity: 400 (200) pb-1
Catalina Curceanu (A. Scordo)
A new renaissance for kaonic atoms at DAΦNE: future measurements and perspectives
Francesco Sgaramella
44
High precision kaonic atoms X-ray spectroscopy with the SIDDHARTA-2 experiment at the DAFNE collider
Intermediate and Heavy Kaonic Atoms measurement: IHKA

## Slide 45
SIDDHARTA-2 Kaonic 4He
Ti K
KC 6->5
Ti K
KC 5->4
KHe L
KHe L
KHe L
K He L-high
Kaonic 4He
M transitions ROI
KHe 5->3 3303.6 eV
Coincidence between L (n=2) and M (n=3) transitions

## Slide 46
SIDDHARTA-2 Kaonic 4He
KHe 5->3 3303.6 eV
KHe 6->3 3871.1 eV
KHe 7->3 4213.3 eV
KHe 8->3 4435.4 eV
KHe 9->3 4587.3 eV
Ti K 4509 eV
Feasibility test for future kaonic atom measurements (kaonic 4He fundamental level)
Coincidence between L (n=2) and M (n=3) transitions