## Slide 1: A software for extracting quantitative metrics and radiomic features in CT images of the lung: development of a practical tool and clinical applications
L’ESPERIENZA DI OSPEDALE NIGUARDA
L. Berta for the Niguarda COVID-19 WG
S.C. Fisica Sanitaria, ASST NIGUARDA (Milano)

## Slide 2
1
3
1
2
3
1 slice
1 slice
1 slice
3D
#QCT
Outline
Introduction (MPE, quantitative imaging, Niguarda experience)
Quantitative Metrics in Lung CT
Automatic segmentation
AI models for COVID-19
Deployment in clinical environment
Work in progress
Conclusions

## Slide 3
1
3
1
2
3
1 slice
1 slice
1 slice
3D
#QCT
Introduction

## Slide 4
1
3
1
2
3
1 slice
1 slice
1 slice
3D
#QCT
Introduction

## Slide 5
1
3
1
2
3
1 slice
1 slice
1 slice
3D
#QCT
Introduction

## Slide 6
1
3
1
2
3
1 slice
1 slice
1 slice
3D
#QCT
The role of Medical Physicist Expert (MPE)
PATIENTS
Clinical Staff
Medical Doctors
MPE
Scientific-Technical Area
Clinical-Medical Area
Image Management and Big-Data
Hi-Tech Equipment
Techiniques of calculations
Matematicians
Clinical Engineers
Computer/Data Scientists
Test, Validate, Optimize new technologies (rarely develop)

## Slide 7
1
3
1
2
3
1 slice
1 slice
1 slice
3D
#QCT
Datalake Project: a platform for clinical data collection developed during the first wave of COVID (04/20-04/21)

## Slide 8: 1 - CLINICAL task: can we QUANTIFY THE LUNG VOLUME AFFECTED BY THE DISEASE?
#Estimation #QCT

## Slide 9
1988
Quantitative analysis based on the frequency distribution of the CT numbers (QCT)
CT numbers represents the linear attenuation coefficient of an x-ray given substance normalized to the linear attenuation coefficient of water
#QCT

## Slide 10
Ground-Glass Opacity
#Estimation #QCT
HP
1-Well-Aerated Lung:
  Homogenous tissue
  Gaussian Distribution
2-Total Lung:
  Well-Aerated + Disease +
  Vessels
Solids or Fluids
Well-Aerated Lung

## Slide 11
2020
WAVE = Well-Aerated Volume Estimation
#Estimation #QCT
From Histogram data (first-order RF) we can extract more information about WAVE and density distribution of affected lung

## Slide 12: 2 - Technical & logistic task: can we develop a pipeline starting from automatic segmentation?
#Automatization

## Slide 13
Example of automatic segmentators
#Automatization
How inaccuracies of automatic segmentations propagate in the calculation of quantitative metrics?
ISP
ABAS
QUIBIM
SLICER
INFN

## Slide 14
AUTOMATIC SEGMENTATION ASSESSMENT
#QA #Automatization #QCT
QCT in automatic & reference segmentation
«Automatic» vs «Gold Standard» segmentations -> QUANTITATIVE
Subjective score (5-points scale) by 4 clinicians –> QUALITATIVE

## Slide 15
#QA #Automatization
Qualitative or quantitative approaches provide both good methods for the assessment of Automatic Segmentation
AUTOMATIC SEGMENTATION ASSESSMENT
Accuracy of QCT metrics with automatic segmentation
Visual Assessment by Radiologists
(Optimal, Sub-Optimal, Unsuitable)

## Slide 16: 3 - Clinical task: can we use QCT and radiomics tools to CLASSIFY covid-19 and other viral pneumonia from CT images?
#Classification

## Slide 17
COVID-19 PNEUMONIA
VS
VIRAL PNEUMONIA
#Classification

## Slide 18
DATASET (from DATALAKE)
647 COVID-19
= 0.71
Median age = 67
Period: 2020 - 2021
384 non-COVID-19
= 0.62
Median age = 66
Period: 2018 - 2019
1031
PATIENTS WITH VIRAL PNEUMONIA
EVALUATED WITH CT
PCR-proven!
#Clinical Data

## Slide 19
a) QUANTITATIVE METRICS
#QCT
QUANTITATIVE METRICS
(1° histogram,
«WAVE Model» )
Whole LUNG
n = 20
4 GEOMETRICAL SUBDIVISION
n = 80

## Slide 20
GLCM = Gray Level Co-occurrence Matrix
GLSZM = Gray Level Size Zone Matrix
b) RADIOMIC FEATURES (only whole Lung)
#Radiomics
FIRST ORDER FEATURES
RF1 n = 19
SECOND ORDER FEATURES
RF2 n = 40
e.g. skewness, standard deviation, entropy
GLCM n = 24
e.g. cluster-shade, correlation
GLSZM n = 16
e.g. small area emphasis, zone entropy

## Slide 21
MODELS PERFORMANCE
MODEL 3
AUC-Test = 0.87
AUC-IVS = 0.83
BUILT WITH 1° 2° ORDER RADIOMIC FEATURES on entire lungs
(but NOT QCT…)
#Classification
Training-Test
811 CT images, 4fold-CV
Independent Validation
220 CT images

## Slide 22
CLASSIFICATION: AI vs RADIOLOGISTS
INDEPENDENT VALIDATION SET
220 PATIENTS
READERS
3 radiologists: >10-y experience
1 resident: 3-y experience
CO-RADS score:
Score = 1 or 3: non-COVID-19
Score= 3-5: COVID-19
MODEL 3
#Classification

## Slide 23
RESULTS
ACCURACY:
AI = 79%
RADIOLOGISTS = 78%
#Classification

## Slide 24
↓↓NON-COVID↓↓
RESULTS
#Classification
↓↓NON-COVID↓↓
↓↓COVID↓↓
➙AI Correct, all readers fail
➙All readers correct, AI fails

## Slide 25
CHALLENGING CASES
CO-RADS 3 score assigned by 2 or more radiologists
Difference between CO-RADS score assigned ≥ 3
 | 220 VALIDATION CASES |  | 59 CHALLENGING CASES | 
 | AI | RADIOLOGISTS | AI | RADIOLOGISTS
Accuracy | 79% | 78% | 75% | 55%
Specificity | 78% | 66% | 78% | 34%
Sensitivity | 79% | 83% | 72% | 69%
#Classification

## Slide 26: 4 - Technical and logistic task: can we implement this model in the «real» clinical practice?
#Deployment

## Slide 27
CLEARLUNG
Framework for quantitative analysis and radiomics on lung CT scans
COVID-19 AI diagnosis
Real-time analysis and prediction thanks to PACS connection
#Deployment

## Slide 28
PACS CONNECTION
#Deployment

## Slide 29
1 minute and 29 seconds!!!
#Deployment

## Slide 30
RESULT OF THE AUTOMATIC ANALYSIS
#Report

## Slide 31
W.I.P. 1: «AI in Clinical Practice»
AI
Prediction: 0.78
CORADS = 3
CORADS = 4
Discuss Δ-Time and Δ-accuracy

## Slide 32
W.I.P. 2: «Antrhopomorphic Phantom»
#Radiomics #QA

## Slide 33
CONCLUSIONS
Structured Data and QA is mandatory to develop robust and automatic pipelines: this can be done only by humans
Artificial intelligence modeling is «feasible» in clinical environment
Clinical validation with independent data and medical doctors is mandatory
Interdisciplinary approach leads to results applicable in the clinical setting

## Slide 34
Niguarda Team:
Thanks!