## Slide 1: Real-time RBE-weighted 4D-dose calculation for carbon ion therapy
Funded by European Union’s Horizon 2020 research and innovation program under the Marie Sklodowska-Curie grant agreement No 955956
Cosimo Galeone1,2,3, Timo Steinsberger1, Lennart Volz1, Marco Donetti4, Felix Mas Milian2,5,6, Roberto Sacchi2,6, Anna Vignati2,6, Marco Durante1,7, Simona Giordanengo6, Christian Graeff1,3 1GSI Helmholtzzentrum für Schwerionenforschung GmbH, Biophysics, Darmstadt, Germany. 2University of Torino, Physics, Torino, Italy. 3Technical University of Darmstadt, Department of Electrical Engineering and Information Technology, Darmstadt, Germany. 4Fondazione CNAO, Medical physics, Pavia, Italy. 5Universidade Estadual de Santa Cruz, Department of Exact and Technological Sciences, Ilheus, Brazil. 6National Institute of Nuclear Physics, Division of Torino, Torino, Italy. 7Technical University of Darmstadt, Condensed Matter Physics, Darmstadt, Germany

## Slide 2
RAPTOR Consortium
Particle Therapy academic and research institutes
Particle therapy clinics and companies
RAPTOR = Real-Time Adaptive Particle Therapy of cancer
Online Adaptive Therapy in clinics
Funded by European Union’s Horizon 2020 research and innovation program under the Marie Sklodowska-Curie grant agreement No 955956

## Slide 3
Rationale
Why do we need adaptation? Patient anatomy changes
F. Albertini, PTCOG 59 2021

## Slide 4
Offline Adaptive Therapy
OFFLINE Adaptive Proton Therapy – status QUO
Control image:
regularly scheduled
ad hoc triggered
Improve the adaptation process
F. Albertini, PTCOG 59 2021

## Slide 5
Outline
OFFLINE Adaptive Proton Therapy – status QUO
ONLINE Daily Adaptive Proton Therapy

## Slide 6
Online Daily Adaptive Therapy
F. Albertini, PTCOG 59 2021
Real-time delivery feedback

## Slide 7
PhD : Objective
Dose delivery feedback for daily adaptive particle therapy
Assessment of efficacy of NEW motion mitigation strategies
FAST
ACCURATE
FLEXIBLE
Tool for real-time 4D dose reconstruction
CLINICS
EXPERIMENTAL
GPGPU = General Purpose computing
on Graphics Processing Units

## Slide 8
Why GPU?
M.A. Meselhi, et al., 2017
Few very high-speed cores
Thousands of medium-speed cores
RIDOS LAPTOP WORKSTATION
CPU
GPU
~ 3.5 GHz
~ 1.5 GHz
Clock Speed
6
6144
# of cores

## Slide 9
Why GPU?
CPU
GPU
1
2
3
4
5
6
…
998
999
1000
Few the Flash
Thousands of Cosimo

## Slide 10
State-of-art
RIDOS= Real-Time Ion Dose Planning and Delivery System
RIDOS GUI
Gamma-index
Planned dose
Delivered dose
S.Giordanengo et al., 2019
Dose delivery time structure with synchrotron
3D
4D
Notes: Controllare per bene quanto scritto nelle nuvole del dose delivery time structure

## Slide 11
Dose Delivery System connection
RIDOS
workstation
Dose Delivery System
(DDS)
S.Giordanengo et al., 2015
S.Giordanengo et al., 2018

## Slide 12
RIDOS 4D workflow
Online inputs
GPU dose calculation
Update
GUI
Start Slice
End Slice
Pre-treatment inputs
Pre-treatment
…
PRE-TREATMENT
INPUT DATA:
4DCT;
Treatment plan;
Deformable Vector Fields
Dose Delivery System(DDS)
DATA HANDLING INTERFACE
RIDOS WORKSTATION
ONLINE INPUTS:
Beam position;
# of particles;
Motion phase
Prototype of future clinical CNAO DDS
End treatment

## Slide 13
PATIENT FOR EXPERIMENTAL TESTS
Cosimo Galeone, c.galeone@gsi.de
25 phases
Half respiratory cycle
Full respiratory cycle
10 phases
4 phases
PERIODIC MOTION
T. Steinsberger, PhD defense, 2023

## Slide 14
TREATMENT PLANS
Cosimo Galeone, c.galeone@gsi.de
Static Plan

## Slide 15
TREATMENT PLANS
Cosimo Galeone, c.galeone@gsi.de
Motion including
Plan
4 phases
10 phases
Multi-Phase 4D (MP4D)
C.Graeff, 2014

## Slide 16
MP4D
Multi Phase 4D dose delivery (MP4D)
Library of 3D sub-plans optimized on each of the motion phase considered
M.Lis et al, 2020
3D plan phase 1
3D plan phase 2
3D plan phase 3
3D plan phase 4
3D plan phase 5
3D plan phase 6
Each spot has a specific assigned motion phase

## Slide 17
EXPERIMENTAL SETUP
Cosimo Galeone, c.galeone@gsi.de
T. Steinsberger, PhD defense, 2023
Dose Delivery System(DDS)
DATA HANDLING INTERFACE
RIDOS WORKSTATION
Experimental room CNAO (Pavia, Italy);
Carbon ions;
ABSORBED DOSE!

## Slide 18
MP4D TEST (10 PHASES)
All calculations performed within next beam pause
~ 0.25 ms per spot reconstruction
~ 2.2 ms per spot delivery
Mini-talk ESTRO 2023

## Slide 19
RIDOS EXPECTED DVH workflow
Online inputs
GPU dose calculation
Update
GUI
Start Slice
End Slice
Pre-treatment inputs
Pre-treatment
…
PRE-TREATMENT
INPUT DATA:
4DCT;
Treatment plan;
Deformable Vector Fields
Dose Delivery System(DDS)
DATA HANDLING INTERFACE
RIDOS WORKSTATION
ONLINE INPUTS:
Beam position;
# of particles;
Motion phase
Prototype of future clinical CNAO DDS
End treatment
Full plan dose calculation
= # of spots delivered up to that point
Talk PTCOG 2023

## Slide 20
INTERPLAY TEST (1)
Cosimo Galeone, c.galeone@gsi.de
Dose Delivery System(DDS)
T. Steinsberger, PhD defense, 2023
Static Plan

## Slide 21
INTERPLAY TEST (2)
Cosimo Galeone, c.galeone@gsi.de
Static Plan
All calculations performed within next beam pause
~ 0.5 ms per spot reconstruction
~ 6 ms per spot delivery
Full plan
Expected final

## Slide 22
RBE-weighted 4D dose
Cosimo Galeone, c.galeone@gsi.de
RIDOS
TRiP
MP4D (4 phases), carbon ions
~ 0.45 ms per spot reconstruction
Gamma-index comparison (3%/3mm) > 98%

## Slide 23
CONCLUSIONS
Cosimo Galeone, c.galeone@gsi.de
Proved feasibility of real-time dose calculation in a clinical environment
NEXT STEPS
Extended experimental campaign with patient data;
Experimental tests with other
motion management strategies (Gating, ITV, Tracking);
Experimental tests with irregular motions
FUTURE PROSPECTIVES
Active intervention?
Real-time adaptive?
THANK
YOU
Funded by European Union’s Horizon 2020 research and innovation program under the Marie Sklodowska-Curie grant agreement No 955956