## Slide 1: EuPRAXIA 2nd SITE
View from CNR
Leonida A. GIZZI,
CNR-INO and INFN, Pisa, Italy
6th European Advanced Accelerator Concepts Workshop
17–23 Sept 2023
Hotel Hermitage, La Biodola Bay, Isola d'Elba, Italy

## Slide 2
CONTENTS
Motivation
ID of host Institution (CNR)
2nd site supporting Laboratory (ILIL): profile and topics
Role in EuPRAXIA
Ongoing developments towards 2nd site
2nd site proposal institutional support
Future actions
Leonida A. Gizzi | EAAC 2023 | 17-22 September 2023 | Isola d’Elba, Italy

## Slide 3
MOTIVATION
Long term engagement in high power laser and laser-plasma interactions;
Strong multidisciplinary scientific potential;
Emerging innovation and disruptive approaches;
Leverage on national support to the field;
Growing industrial impact of intense lasers.
Leonida A. Gizzi | EAAC 2023 | 17-22 September 2023 | Isola d’Elba, Italy

## Slide 4
Consiglio Nazionale delle Ricerche (CNR)
Strong commitments to large scale facilities
http://www.dsftm.cnr.it/large-scale-facilities/
ELETTRA and FERMI (beamlines),
ESRF (beamlines)
ILL, ISIS, ESS, NFFA, XFEL, ELI
Leonida A. Gizzi | EAAC 2023 | 17-22 September 2023 | Isola d’Elba, Italy

## Slide 5
CNR, Area della Ricerca del CNR, Pisa
Leonida A. Gizzi | EAAC 2023 | 17-22 September 2023 | Isola d’Elba, Italy

## Slide 6: Facilities and infrastructures
Overview of laser and light sources infrastructures obtained by a recent LASERLAB-ELI-ERIC joint study.
ICUIL World map of lasers with peak power >100 TW, G. Mourou Nobel Lecture: Extreme light physics and application”, Rev. Mod. Phys., 91, 030501 (2019).
Fast growing research and technology
Emerging new installations
Leonida A. Gizzi | EAAC 2023 | 17-22 September 2023 | Isola d’Elba, Italy

## Slide 7: The Intense Laser Irradiation Laboratory (ILIL)
2018
LASER CAPABILITIES:
240 TW, Ti:Sa, up to 5 Hz, 27 fs;
1kHz, >20 mJ, Ti:Sa + OPA
100 Hz, >1J, TiSA (procurement in progress)
A member of Laserlab-Europe-AISBL
Leonida A. Gizzi | EAAC 2023 | 17-22 September 2023 | Isola d’Elba, Italy

## Slide 8: MAIN SCIENTIFIC ENGAGEMENTS @ ILIL
High intensity laser-plasma interaction physics and applications
Laser-fusion studies
  LPI studies for Inertial Fusion (HiPER+)
  kJ, laser concept development
  Material studies
HiPER+
Laser-plasma acceleration
  High quality GeV electron beamline design
  VHEE beamline for medical applications
  Advanced laser-target interaction for proton beamline and applications
Laser development
  100 Hz beamline
  kHz laser technology development for high efficiency operation
Leonida A. Gizzi | EAAC 2023 | 17-22 September 2023 | Isola d’Elba, Italy

## Slide 9: HIGH QUALITY GEV SCALE LWFA
Motivation: Within the EuPRAXIA project we aim at generating 4.5/5GeV bunches with FEL quality
dE/E SLICE | en SLICE | Q | Ipeak
<0.1% | <0.1 mm mrad | >30 pC | >2kA
Bunch
specifications - GOAL:
This is a very challenging working point for a plasma-based accelerator.
We developed a laser-driven scheme, the Resonance Multi-Pulse Ionization Injection scheme (REMPI [1])
The REMPI scheme combines the most advanced concepts conceived to date in LWFA to deliver high quality electron beam to drive an X-ray FEL.
R. Assmann et al., “EuPRAXIA Conceptual Design Report” The European Physical Journal Special Topics 229, 3675–4284 (2020); https://doi.org/10.1140/epjst/e2020-000127-8
[1] Test platform: P. Tomassini et al., “The resonant multi-pulse ionization injection,” Physics Of Plasmas 24, 103120, 2017.
The REsonant Multi-Pulse Ionization Injection (REMPI) scheme
Leonida A. Gizzi | EAAC 2023 | 17-22 September 2023 | Isola d’Elba, Italy

## Slide 10: FEL MODELLING of REMPI BEAM
GENESIS 1.3 simulations by
Federico NGUYEN
(ENEA, Frascati)
  Up to 39 m planar undulator line with period λu = 14 mm, with Ebeam ≈ 4.5 GeV, the resonant wavelength of 1.5 Å.
  The Self-Amplified Stimulated Emission (SASE) vs. pulse energy, gain length and resonant wavelength
Emission stable against plasma density variations (10%)
Now working on the proof of principle implementation and model refining
Laser-plasma
REMPI SCHEME
TRANSPORT
to undulator
FEL
emission
P. Tomassini, L. Giannessi, A. Giribono, F. Nguyen, and L. A. Gizzi, “Brilliant X-Ray Free Electron Laser Driven by Resonant Multi-Pulse Ionization Injection Accelerator”, presented at the FEL2022, Triest, Italy, Aug. 2022, paper TUP17.
Leonida A. Gizzi | EAAC 2023 | 17-22 September 2023 | Isola d’Elba, Italy
See WG1 talk today by Paolo Tomassini (ELI-NP)

## Slide 11: TOWARDS EuPRAXIA LASER DEVELOPMENT
Three main modules: LASER1, LASER2, LASER3
LASER1: stand-alone for LPI 150 MeV
LASER2: output stage for LPI 1 GeV, second stage for LPA 5GeV
LASER3: high energy stage for LPA 5GeV
Two levels of performance : P0 and P1
LASER1
Eout 8.8 J (P0) / 12.5 J (P1)
To the
compressor
LPI 1GeV
LASER2
Eout 18.8 J (P0) / 37.5 J (P1)
LPA 5GeV
LASER1
Eout 8.8 J (P0) / 12.5 J (P1)
LASER2
Eout 18.8 J (P0) / 37.5 J (P1)
LASER3
Eout 62.5 J (P0) / 125 J (P1)
LASER1
Eout 8.8 J (P0) / 12.5 J (P1
To the
compressor
To the
compressor
Epump: 19.2J (P0)/ 25.7 J (P1)
Epump: 37.2J (P0)/ 65.2 J (P1)
Epump: 105J (P0)/ 197 J (P1)
LASER
FRONT-END
100 HZ
J-SCALE
Leonida A. Gizzi | EAAC 2023 | 17-22 September 2023 | Isola d’Elba, Italy

## Slide 12: LASER: INTERMEDIATE MILESTONE
EuPRAXIA
PW class,
100 Hz repetition rate,
multi kW average power,
diode pumped
Full thermal load transport
EuAPS@CNR-Pisa
30 TW peak power
100 Hz repetition rate
≈100 W average power
Diode pumped
Thermal load effects
CURRENT
PW class,
Hz repetition rate,
≈10 W average power
flashlamp pumped
No thermal load transport
Eupraxia laser development is aimed at delivering more efficient, kW-PW laser driver for plasma acceleration at >100 Hz rate
Leonida A. Gizzi | EAAC 2023 | 17-22 September 2023 | Isola d’Elba, Italy

## Slide 13: Underpinning EuPRAXIA Laser development
THERMAL
MANAGEMENT OF
POWER AMPLIFIERS
WATER/GAS COOLING
COMPRESSOR AND TRANSPORT: THERMAL AND MECHANICAL STABILITY
Gold -> MD, MLD, MMLD
reduction of the thermal load
cooling of residual heat
control of thermal effects
Main challenges: large optics, mechanical stability, beam quality control, pointing stability
DiPOLE 100 (STCF)
DPSSL PUMP
SOURCES
TECHNOLOGY
P-60 technology (Amplitude)
Currently no solution for full system specs (P1): development
Multipass transmission
AMPLIFIER GEOMETRY
TRANSMISSION
VS. REFLECTION
Multipass reflection
Prototyping needed
DIODE LASERS EFFICIENCY,
BRIGHTNESS AND
LIFETIME
Needs development
Prototyping needed
High repetition rate (100 Hz) will speed up R&D of pending issues for Ti:Sa laser TDR
Leonida A. Gizzi | EAAC 2023 | 17-22 September 2023 | Isola d’Elba, Italy

## Slide 14: Cutting edge infrastructure: EUAPS
Strong upgrade of existing labs and implementation of user access to unique laser and laser-plasma configurations
Strengthens the integration of national effort in the field and paves the way to further initiatives
Leonida A. Gizzi | EAAC 2023 | 17-22 September 2023 | Isola d’Elba, Italy

## Slide 15: Cutting edge infrastructure: IPHOQS
Part of :
A new network of priority national RI with a broad view on photonics and related fields, including high field photonics
Will provide a platform for coordinated user access to the most advanced labs and facilities
Leonida A. Gizzi | EAAC 2023 | 17-22 September 2023 | Isola d’Elba, Italy

## Slide 16: ILIL LAB UPGRADES IN PROGRESS
UPGRADE OF ILIL FACILITY FOR:
Upgrade of existing laser system (240 TW) for enhanced stability and control;
New laser systems for high repetition rate operation (100 Hz-1J, 1kHz-20 mJ);
New Infrastructure development, including underground bunker for user access to beamlines;
All upgrades funded and in progress – completion expected by mid-2026.
Operating 240 TW Facility
Planned underground Bunker (100 Hz operation)
Laser Dev. Lab (kHz)
LASER FRONT END
10 TW, 10 Hz
POWER AMPLIFIER
Up to 240 TW
SHIELDED TARGET AREA for PARTICLE ACCELERATION
BEAMLINE for
PRE-CLINICAL
STUDIES
DIAGNOSTICS DEV. LAB
USER
CONTROL ROOM
kHz 20 mJ 800nm/ 1.5 mJ OPA
Offices and support
Offices and support
Leonida A. Gizzi | EAAC 2023 | 17-22 September 2023 | Isola d’Elba, Italy

## Slide 17: ROADMAP for 2nd Site: Institutional Support
So far a bottom-up approach was followed, building the case on scientific and technological development;
Following the success of the PP application and the outcome of significant funding proposals, higher level support is emerging;
  National (NGE-PNRR) RI are speeding up the establishment of the national cooperation;
  CNR headquarters have been engaged with positive feedback;
  Scientific council is being involved;
  Contact established with ESFRI delegate;
  Higher level (ministerial) engagement is in progress;
Engagement of the National (INFN, Universities …) partners for synergic approach;
Discussion of EuPRAXIA partners and collaborators ongoing.
Leonida A. Gizzi | EAAC 2023 | 17-22 September 2023 | Isola d’Elba, Italy

## Slide 18
Thank you
THE END
Leonida A. Gizzi | EAAC 2023 | 17-22 September 2023 | Isola d’Elba, Italy