## Slide 1
5th EuPRAXIA@SPARC_LAB TDR Review Committee
Plasma module development
A. Biagioni, R.Pompili
15th June 2023

## Slide 2
Plasma module for the EuPraxia@SPARC_LAB project
1.1 GeV (1.5 GV/m 40cm capillary - density 1016 cm-3)
  Direct plasma discharge for 40cm long capillary
    Stability
    Longitudinal profiles
  Plasma sources operating at 100 – 400 Hz
    Vacuum system requirements (neutral gas)
    Study on materal science to increase capillary’s longevity
    High-voltage sources for plasma formation
Segmented capillary
    Plasma sources larger than 40 cm (m-scale)
    Longitudinal density modulation
    5 GeV case for EuPRAXIA (1.5 GV/m m-scale capillary - density 1016 cm-3)
40cm capillary
Introduction
15th June 2023 TDR review committee
1

## Slide 3
  Plasma sources operating at 100 – 400 Hz
Gas injection
Pressure
regulator
RepRate
regulator
Spectrometer
ICCD
camera
HV generator
Delay
generator
HV pulser
3cm long
capillary
+
GND
Plasma light
Vacuum system
        Neutral gas pressure
        Gas molecule (H2, Ar, N)
        Repetition rate
      Capillary’s longevity
      High-voltage sources for plasma formation
Stark broadening technique
2

## Slide 4
  Plasma sources operating at 100 – 400 Hz
15th June 2023 TDR review committee
Vacuum requirements
10 kV 60-70 mbar
6 kV 60-70 mbar
3

## Slide 5
  Plasma sources operating at 100 – 400 Hz
15th June 2023 TDR review committee
10 kV 90-100 mbar
6 kV 90-100 mbar
4

## Slide 6
  Plasma sources operating at 100 – 400 Hz
60-70 mbar
 | Hydrogen |  | Nitrogen | 
 | C-band | FEL side | C-band | FEL side
1 Hz | 5.2x10-9 mbar | 2x10-7 mbar | 3x10-9 mbar | 1x10-7 mbar
10 Hz | 2.5x10-8 mbar | 6x10-7 mbar | 8x10-9 mbar | 2x10-7 mbar
Stable operation at 10 Hz by using N gas
600 MV/m acceleration gradient (similar to H2 gas)
5

## Slide 7
  Stable operation at 10 Hz with Nitrogen
Plasma stabilization with laser
Results obtained by turning ON/OFF the laser stabilizing the plasma discharge
The laser hits the negative electrode of the capillary 200 ns before the discharge trigger
Witness energy jitter with laser ON(OFF): 0.6(1.2) MeV
Laser ON
Laser OFF
D
W
D
W
3cm long capillary
6

## Slide 8
ne
8 cm
7.5 kV
6 kV
Measured longitudinal profile
    Plasma sources larger than 40 cm (m-scale) with HV pulses less tahn 10 kV
    Longitudinal density modulation
    5 GeV case for EuPRAXIA (1.5 GV/m m-scale capillary - density 1016 cm-3)
First result
  Segmented capillary
15th June 2023
TDR review committee
15th June 2023 TDR review committee
7

## Slide 9
  Segmented capillary
Gas injection
Pressure
regulator
RepRate
regulator
Spectrometer
ICCD
camera
HV generator
Delay
generator
HV pulser
15 cm long
Segmented
capillary
+
+
GND
Plasma light
Electrical
ground
+
+
Common electrical ground
HV source design
Syncronization between sections
Plasma density modulation
Stark broadening technique
8

## Slide 10
5.5E16
inlet
electrode
electrical ground
HV1
HV2
electrode
  Segmented capillary
15th June 2023
TDR review committee
15th June 2023 TDR review committee
9

## Slide 11
  Segmented capillary
x2
6kV
6kV
6kV
7.5kV
10

## Slide 12
x1.75
6kV
6kV
6kV
7.5kV
  Segmented capillary
Central electrode
Spectral line
11

## Slide 13
    Each segment can be independently controlled
    Voltage amplitude
    Ignition
    Delay time after ionization
6kV – 7.5kV
6kV – 6kV
  Segmented capillary
6kV
6kV
6kV
6kV
6kV
7.5kV
6kV
7.5kV
12

## Slide 14
  Segmented capillary
6kV – 7.5kV_segmented
6kV – 6kV_segmented
Conventional capillary
10kV_3cm long_2 inlet
Longitudinal profile modulation (uniform or segmented) by using voltage, pulse syncronization or delay time
inlet
13

## Slide 15
Ongoing studies concerning all sections of the plasma module for EuPRAXIA@SPARC_LAB project
1.1 GeV (1.5 GV/m 40cm capillary - density 1016 cm-3)
  Direct plasma discharge for 40cm long capillary
    Stability
    Longitudinal profiles
  Plasma sources operating at 100 – 400 Hz
    Vacuum system
            Neutral gas pressure
            Gas molecule (H2, Ar, N)
            Repetition rate, stable operation at 10 Hz with N gas (600 MV/m acc. gradient)
    Study on materal science to increase capillary’s longevity
    High-voltage sources for plasma formation
Segmented capillary
    Plasma sources larger than 40 cm (m-scale)
    Longitudinal density modulation
    Different uses for each stage
    5 GeV case for EuPRAXIA (1.5 GV/m m-scale capillary - density 1016 cm-3)
40cm capillary
Segmented capillary
  Conclusions
14

## Slide 16
Thank you for your
attention
  Conclusions
15th June 2023
TDR review committee

## Slide 17
  Conclusions
15th June 2023
TDR review committee
5_5 kV
5_7 kV