## Slide 1
FLYDOS
Grant Giovani CSN 5
Neutron dosimetry for aircrew and onboard electronic components
06/07/2023
Alessandro Calamida (& LEMRAP Group - INFN)
IEAv (Brazil) – Instituto De Estudos Avançados

## Slide 2: Framework
Data gap on neutron measurements at flight altitudes.
Sensitive targets:
Aircrew radiation protection:
2013/59/EURATOM and D. Lgs. 101/2020;
Single Event Effects (SEE):
Affecting on-board electronics;
Collaboration:
INFN-LNF;
IEAv (Brazil), Instituto De Estudos Avançados.
Importance of neutron spectrometry and dosimetry at flight altitude in the SAA:
Very few data available;
Barycentre now in South Brazil - Van Allen Belts closest to the Earth's surface:
  Minimum geomagnetic field;
  Highest flux of neutrons (95% of SEE in satellites occur in SAA + poles).

## Slide 3
Neutron Spectrum – Compact ERBSS;
Individual Dose –personal dosimeter extended to high-E;
Organ Dose – Sensors in anthropomorphic phantom;
Ambient dose – Commercial dosemeters from IEAv;
Thermal neutron mapping on-board aircraft (SEE-related);
Validation of a new aircrew dosimetry code (REP).
Objectives:
Validation of:
  Codes for aircrew dosimetry:
    New code REP by IEAv;
  Models for SEE in aircrafts.
  Through neutron measurements function of the elevation (dedicated flight up to 12 km).

## Slide 4: Neutrons at High Elevations
According to the IEC 62396 Part 5, almost of the dose equivalent at high elevations is due to neutrons.
Cosmic neutron spectra, Gulmarg, India, ~2600 m.
Fluence to Dose coefficients for neutrons.

## Slide 5: Neutron Spectrum with Extended Range Bonner Sphere Spectrometer (ERBSS)
3He based, 8 spheres (2 high-energy);
Compact and stand-alone (no PC allowed);
Calibrated in ISO reference neutron fields;
Tested at high altitudes at Testa Grigia lab (~3500 m);
Final measurement in the SAA at high altitudes with a dedicated flight from 8 km to 12 km.

## Slide 6: Individual dosimetry
DOIN patented design will be:
  Extended to high-Energy;
  Calibrated in reference ISO fields;
  Tested at high-elevation (Testa Grigia);
  Final measurements onboard the dedicated flight (8 km to 12 km);
IEAv will develop an anthropomorphic phantom (RANDO-type) for:
  Allocating DOIN-H;
  Allocating internal neutron sensors for organ-dose measurements.

## Slide 7: Thermal neutron mapping on-board
According to International IEC and Aeronautic EASA Standards, thermal neutrons are mainly responsible for SEE onboard;
Only numerical works were done to estimate the distribution of the thermal neutron field onboard;
The dedicated flight will comprise an 3He based thermal neutron detector mapping their distribution onboard with the purpose of providing MEASURED data for the first time.

## Slide 8
IEAv developed a new code (REP) for aircrew dosimetry:
Possibility to change nuclear models;
Directional distributions are given up to 80 km;
FLYDOS measurements will be fundamental for the validation of REP and other existing aircrew dosimetry codes.
Aircrew dosimetry

## Slide 10: FLYDOS Participants
PI of the Project
Name | Institution | FTE
Alessandro Calamida | INFN-LNF (assegnista) | 1
Roberto Bedogni | INFN-LNF (T.I., Ric. II) | 0.5
Claudio Cantone | INFN-LNF () | 0.3
Jose-Maria Gomez-Ròs | INFN-LNF (associato) | 0.3
Antonino Pietropaolo | INFN-LNF (associato) | 0.3
Claudio Antonio Federico | IEAv Brazil (senior Res.) | 0.3
Odair Lelis Gonçalez | IEAv Brazil (senior Res.) | 0.2
Adriane Cristina Mendes Prado | IEAv Brazil (junior Res.) | 0.3
Williams Principe Fernandes | IEAv Brazil (junior Res.) | 0.3
Felipe B. Gaspar | IEAv Brazil (Master Student) | 0.5
Maurizio T. Pazianotto | IEAv Brazil (senior Res.) | 0.3
Guilherme Gazolla Santana | IEAv Brazil (Master Student) | 0.2
TOTAL |  | 4.5

## Slide 11: FLYDOS Activities

## Slide 12: FLYDOS Budget
The IEAv group will co-fund the project in-kind by providing the following equipment and facilities for 74 k€:
The RANDO human phantom, 36 k€;
The dedicated flight, for an estimated cost of 20 k€;
The semiconductor detectors that will be installed in the phantom organs, 1 k€;
The beam time for the Organ Dose system calibration, 1 k€;
The manufacturing of the mechanical support for the FLYDOS in the aircraft, 5 k€.
The WENDI system for ambient dose equivalent measurement onboard, 11.5 k.
The systems for acquiring micro-dosimetric spectra (TEPC) and total deposited dose in Silicon (LIULIN) are already available at IEAv.

## Slide 13: Flight Confirmation

## Slide 14: Conclusions
The data gap for neutrons in the SAA will be filled;
The dose measurements will allow to assess accurately the effective dose delivered to the aircrew, allowing to solve a long-term problem for the aircrew safety;
The dose data will allow to experimentally validate a new MC code for the effective dose estimation developed by IEAv, the REP code;
The mapping of the thermal neutrons in the aircraft will be the first experimental measurement of this kind ever made and it will allow to have a better understanding of SEE occurrence inside the aircraft.

## Slide 15
Thanks you all for the Attention!!!