## Slide 1
Energy-based scatter correction for the Walk-Through PET system
Jens Maebe and Stefaan Vandenberghe
106 cm
50 cm
74 cm
Walk-Through PET |  | 
Flat panel geometry | Monolithic detectors | Standing patient design
 Reduced costs |  High resolution |  Increased throughput
50 mm
50 mm
16 mm
Energy-based scatter correction
Single energy histograms
Dual energy histograms
prompt = true + scatter + random
Unscattered
Scattered
Random