## Slide 1
Microcalorimeter for PTOLEMY
M. Rajteri

## Slide 2
Target
RF
EM Filter
Microcalorimeter
Graphene
Monoatomic T storage
RF antenna
Measure of K and K⟂
Dynamic EM Filter
Particle selector
Calorimeter
TES provide a differential E measurement
KL
Is reduced arround few eV
18.6 kV
Microcalorimeter
Calorimeter
TES provide a differential E measurement
Andi Tan
(Princeton)
Microcalorimeter for PTOLEMY
Goal for electron resolution  ΔEe = 50 meV @10 eV
Notes: Più preciso su cosa lo rende un detector nelle varie applicazioni

## Slide 3
STJ (1991)
Superconducting Tunnel Junction
SC
SC
I
Q ~ Eph/ΔSC
TES (1995)
Transition-edge Sensor
SNSPD (2001)
(Superconductive Nanowire Single Photon Detector )
MKID (2008)
(Microwave Kinetic Inductance Detecor)
Frequency [GHz]
|S21| [dB]
F0
δf
dark
light
Superconducting single photon detectors
Notes: Pochi al mondo hanno ottenuto buoni risultati con STJ. Difficili gli array,

## Slide 4
 | STJ | MKID | SNSPD | TES
Temperature | 0.4 K | 0.1-0.4 K | 1.5-3 K | 0.01-0.4 K
Detection efficency | 70% | 17% | 99.5% | 98%
Max count rate | 10 kHz | 2 kHz | 1.5 GHz | 500 kHz
Energy resolution | Very Good | Good | SOME | Very good
Number of Pixel | 100 | 20k | 400k | 1k
Dark count rate | ? | ? | <0.01 Hz | <10-4 Hz
Lita, Adriana E., et al. "Development of superconducting single-photon and photon-number resolving detectors for quantum applications." Journal of Lightwave Technology 40.23 (2022): 7578-7597.
Ceccarelli, Francesco, et al. "Recent advances and future perspectives of single‐photon avalanche diodes for quantum photonics applications." Advanced Quantum Technologies 4.2 (2021): 2000102.
Superconducting single photon detectors

## Slide 5
 | STJ | MKID | SNSPD | TES
Temperature | 0.4 K | 0.1-0.4 K | 1.5-3 K | 0.01-0.4 K
Detection efficency | 70% | 17% | 99.5% | 98%
Max count rate | 10 kHz | 2 kHz | 1.5 GHz | 500 kHz
Energy resolution | Very Good | Good | SOME | Very good
Number of Pixel | 100 | 20k | 400k | 1k
Dark count rate | ? | ? | <0.01 Hz | <10-4 Hz
Lita, Adriana E., et al. "Development of superconducting single-photon and photon-number resolving detectors for quantum applications." Journal of Lightwave Technology 40.23 (2022): 7578-7597.
Ceccarelli, Francesco, et al. "Recent advances and future perspectives of single‐photon avalanche diodes for quantum photonics applications." Advanced Quantum Technologies 4.2 (2021): 2000102.
Superconducting single photon detectors

## Slide 6
Transition-Edge Sensors (TESs): detectors that exploit the strongly temperature-dependent resistance of the superconducting phase transition
Transition-Edge Sensors
                Bolometer: power detection
                far-infrared (FIR)
                ÷
                microwaves (THz-GHz)
Calorimeter: energy detection
NIR, Visible, UV, x-ray, gamma ray
alpha particles
Near future….electrons
~1 keV ~1 eV ~ 1meV

## Slide 7
C
G
ΔT
Tbath
Eγ
C = heat capacity
G = Thermal conductance
T=E/C
T
t
 = C/G
A Calorimeter is a device used to measure the absorbed energy
Energy resolution
Performs better at low temperature and with small C
TES calorimeter
Notes: Più preciso su cosa lo rende un detector nelle varie applicazioni

## Slide 8
Microcalorimeters based on the steep superconductive transition of a metallic film.
  Excelent energy resolution:
    Energy of a single particle
    Number of particles
  Low dark count rates
  Near unit quantum efficiency
Applications:
  X-rays detection
  Telecommunications
  Quantum technologies
  Metrology
  Astrophysics
  Particle experiments
10 µm
TES calorimeter
Notes: Più preciso su cosa lo rende un detector nelle varie applicazioni

## Slide 9
ITES
PJ0
VOUT
ITES
Ibias
Rbias
Lin
RTES
SQUID
Rfb
Lfb
Vout
Vout
t
TTES
RTES
T
RTES (T)
0
RN
Bias point
RTES
RTES
Bias point
Tbath < TC /2
TES calorimeter
Notes: Voltage bias perché Rbias molto piccola. Irwing nel 95 ha introdotto ETF

## Slide 10
Photon counting characterization
Counts
Amplitude
1 ph
0 ph
2 ph
3 ph
λ= 1540 nm

## Slide 11
Trade-off between response time and energy resolution
Effective response time
Energy resolution
TES: Performances
Saturation Energy

Trade-off between energy resolution and saturation energy

Transition sharpness

39 meV

## Slide 12
0
200
400
600
Amplitude (mV)
400
800
1600
λ (nm)
1500
3000
4500
Counts
Saturation energy
Tbath= 40 mK
λ = 1540 nm (0.8 eV)
20x20 µm
Repetition rate 500 kHz
TES @INRiM

## Slide 13
TES structure: Lito1 and Lito2
Nb
wiring
Thermal bath
Si
Ti 12 nm
Au 30 nm
SiNX 500 nm
SiNX 500 nm

## Slide 14
Lito1: T50
1
2
3
Histogram of pulses amplitude for fixed photon energy
50x50 µm (T50)
TC= 47 mK

## Slide 15
Lito2: T20
same result our APL13
but with an area
4 times greater
RTES= 20% RN
Tbath= 40 mK
λ = 1540 nm (0.8 eV)
20x20 µm (T20)

## Slide 16
Conclusion
PTOLEMY requirements for electron detection are very demanding
ΔE = 50 meV @10 eV
TESs are good candidate to reach this goal
Best results up to now
ΔEfwhm = 114 meV ( =48 meV) (@ Tc~ 90 mK T20
Study of the materials and shape of devices are in progress
Cryogenic e-gun under development
……close to the first test on electron detection