## Slide 1: Determination of the neutron flux by activation
Dr. Elizabeth Musacchio Gonzalez
TRIESTE-2023

## Slide 2: Work of A. Villacorta and C. Guerrero
After the activation of two foils with the same thickness making the difference in neutron captures the estimation of the flux can be determined as:
Number of capture reactions (n/pulse)
Cross section at the resonance (barn)
Flux at the resonance (n/pulse)
Sample thickness (at/barn)

## Slide 3: Work of A. Villacorta and C. Guerrero
After the activation of two foils with the same thickness making the difference in neutron captures the estimation of the flux can be determined as:
RESULTS FOR BOTH EXPERIMENTAL AREAS
Number of capture reactions (n/pulse)
Cross section at the resonance (barn)
Flux at the resonance (n/pulse)
Sample thickness (at/barn)

## Slide 4: EAR2 (2021)
Activation of two 197- Au foils back-to-back:
80 x 0.1090 mm (upstream, bottom)
65 x 0.1064 mm (downstream, top)
Mylar foil between the gold samples (0.006 mm)
Irradiation time: Start @ 23/09/2021 21:00:26
Stop @ 24/09/2021 08:34:45
Total: 11:34:19 h 41659 s
In the HPGe detector: 3 measurements per foil

## Slide 5: Activation analysis
- Number of counts
- Gamma intensity -
- Disintegration factor -
- Detection efficiency
- Transmission factor
The number of activations after the irradiation:

## Slide 6: Detection efficiency (152Eu source)

## Slide 7: Efficiency of HPGe detector (152Eu source)
Relation Channel-Energy
Eu-152 spectrum
Experiment
Simulation

## Slide 8: Activation analysis
- Number of counts
- Gamma intensity -
- Disintegration factor -
- Detection efficiency (extended source - ):
- Transmission factor
HPGe geometry MCNP (by Francisco)
Gold sample
9 cm
Considering complete geometry (gold)
Considering empty geometry (void)
The number of activations after the irradiation:

## Slide 9: Activation analysis

## Slide 10: Flux and Neutron captures
Number of capture reactions
Cross section (barn)
Neutron Flux
Sample thickness (at/barn)
How to if the cross section change a lot?
Part of the code: thanks to Elisso!!!
at/barn
barn

## Slide 11: Simulations: Flux and Neutron captures
The flux was used as input in the MCNPX file with the geometry.
neutrons
Gold foils
The output file contain the number of capture reactions (Tally F4).
Input geometry:

## Slide 12: Simulations: Flux and Neutron captures
The flux was used as input in the MCNPX file with the geometry.
neutrons
Gold foils
The output file contain the number of capture reactions (Tally F4).
48.2 % of the captures are in the resonance region (4.67-5.12 eV)
Input geometry:

## Slide 13: Final Flux from the activation measurement
Number of capture reactions
Cross section (barn)
Flux
Sample thickness (at/barn)
at/barn
barn

## Slide 14: EAR1 (2021)
Activation of two 197- Au foils back-to-back:
45 x 0.0509 mm (upstream, bottom)
48 x 0.1033 mm (downstream, top)
Mylar foil between the gold samples (0.006 mm)
Irradiation time: Start @ 13/10/2021 19:09:26
Stop @ 15/10/2021 15:09:51
Total: 158425 s
In the HPGe detector: 3 measurements per foil

## Slide 15: Activation analysis
- Number of counts
- Gamma intensity -
- Disintegration factor -
- Detection efficiency
- Transmission factor

## Slide 16: Activation analysis
- Number of counts
- Gamma intensity -
- Disintegration factor -
- Detection efficiency -
- Transmission factor

## Slide 17: Activation analysis
- Number of counts
- Gamma intensity -
- Disintegration factor -
- Detection efficiency -
- Transmission factor

## Slide 18: Simulations: Flux and Neutron captures
The flux was used as input in the MCNPX file with the geometry.
neutrons
Gold foils
The output file contain the number of capture reactions (Tally F4).
Input geometry:
The two foils did not have the same thickness.

## Slide 19: Simulations: Flux and Neutron captures
New simulation assuming two foils with the same thickness (50 μm) to find a normalization factor for the second foil. (A48=A48*0.48)
neutrons
Gold foils
69 % of the captures are in the resonance region (4.67-5.12 eV)

## Slide 20: Final Flux from the activation measurement
Number of capture reactions
Cross section (barn)
Flux
Sample thickness (at/barn)
at/barn
barn

## Slide 21: Final Flux from the activation measurement
Number of capture reactions
Cross section (barn)
Flux
Sample thickness (at/barn)
at/barn
barn
Since this result is an assumption a new measurement was done!!!

## Slide 22: EAR1 (2023)
Activation of two 197- Au foils back-to-back:
80 x 0.1090 mm (upstream, bottom)
65 x 0.1064 mm (downstream, top)
No Mylar foil between the gold samples
Irradiation time: Start @ 10/04/2023 00:10:00
Stop @ 12/04/2023 10:00:00
Total: 208200 s
In the HPGe detector (NEW):
Same Au foils from EAR2 measurement (2021)

## Slide 23: Activation analysis
- Number of counts
- Gamma intensity -
- Disintegration factor -
- Detection efficiency
- Transmission factor
The number of activations after the irradiation:

## Slide 24: Activation analysis
- Number of counts
- Gamma intensity -
- Disintegration factor -
- Detection efficiency (extended source - ):
- Transmission factor
HPGe geometry MCNP
Gold sample
9.39 cm
Considering complete geometry (gold)
Considering empty geometry (void)
The number of activations after the irradiation:
(by Elisso)

## Slide 25: Activation analysis

## Slide 26: Simulations: Flux and Neutron captures
The flux was used as input in the MCNPX file with the geometry.
neutrons
Gold foils
The output file contain the number of capture reactions (Tally F4).
54.8 % of the captures are in the resonance region (4.67-5.12 eV)
Input geometry:

## Slide 27: Final Flux from the activation measurement
Number of capture reactions
Cross section (barn)
Flux
Sample thickness (at/barn)
at/barn
barn

## Slide 28: Conclusions
The absolute flux at was determined from an activation measurement for both experimental areas.
A good agreement was found with the simulated flux & evaluated flux.
EAR2
EAR1

## Slide 29: Work of A. Villacorta and C. Guerrero