## Slide 1: X17 TEST AT EAR2 oct 2023
uRwell
30x30x1,5 cm3
Array of
Scintillator
bars
uRwell
40x40x3 cm3
target
Cubic scintillator
10x10x10 cm3
Array of
Scintillator
bars
Target capsule realised with 3D printer

## Slide 2: X17 TEST AT EAR2 oct 2023
Setup:
-Demonstrator, composed by a large uRwell and an array of scintillator bars
-Small uRwell
-Cubic scintillator
-target is an Al and Carbon_fibre capsule projected to contain 3He at high pressure (~380 bar)
Readoutand DAQ:
-uRwell: APV25 cards + SRS
-Scint array: SiPM+ FERS (from CAEN)
-CUBE: Hamamatsu PMT+main DAQ
Goal:
Evaluation of NOISE AND SATURATION EFFECTS in the demonstrator as a function of:
-Target type
-Demonstrator distance from the beam (10, 20, 30 cm):
-Time from gamma-flash (0, 500, ….10.000 ns)
Array of Scintillator bars 50x1,7x0,3 cm3
beam
Cubic
Scintillator
10x10x10 cm3
target
uRwell
40x40x3 cm3
uRwell
30x30x1,5 cm3

## Slide 3: Cubic Scintillator 10x10x10 cm3
Array of Scintillator bars 50x1,7x0,3 cm3
beam
Scintillator
10x10x10 cm3
target
uRwell
40x40x3 cm3
uRwell
30x30x1,5 cm3
The peak of n+pd+g (Q=2.2 MeV)
Clearly visible
Resolution ~ 20%
10% at 10 MeV
Saturation close to the g-flash

## Slide 4
Array of scintillator bars
Good
Likely
Bad cabling
Good
Good
Good
Good
Good
Likely
bad coupling
horizontal bars
Coincidences:
H-Signal → Left & Right (e.g. 36&37)
V-Signal → Bot & Top (e.g. 20&21)
Timing and Spectroscopy
acquistion modes
Time Over Threshold single channel distributions 10 us delay from g-flash

## Slide 5
Array of scintillator bars
Good
Likely
Bad cabling
Good
Good
Good
Good
Good
Likely
bad coupling
horizontal bars
Coincidences:
H-Signal → Left & Right (e.g. 36&37)
V-Signal → Bot & Top (e.g. 20&21)
Timing and Spectroscopy
acquistion modes
Time Over Threshold single channel distributions 0 us delay from g-flash

## Slide 6
Signals over threshold within 50 us from time reference (gamma flash delayed)
Array of scintillator bars

## Slide 7
“good response” V-1,6 and H0,2,3,4,5,6,7 look similar
charge→
Array of scintillator bars

## Slide 8
uRwell signals
The APV25 stores the charges of 128 strip every 25 ns (one time sample)
128
strips
Charge
(ADC unit)
128 strips * 27 time samples
marker between
time samples
675 ns time window
baseline
signals
(few strips)
the same
128 strips
after 25 ns

## Slide 9: uRwells (C and D) 0 ns from g-flash
C-x
D-y
D-x

## Slide 10: uRwells (C and D) 500 ns from g-flash
3cm drift uRwells
“usable” after ~700 ns from gflash

## Slide 11: uRwells (C and D) 1000 ns from g-flash

## Slide 12: uRwells (C and D) 3000 ns from g-flash

## Slide 13: To Do
Continue/Improve FERS analysis
Start looking at uRwell data
Get g-flash type from NTOF acq (use time to correlate to FERS/SRS acquisition)
Try to combine SiPM and uRwell
...