## Slide 1: SIDDHARTA-2: Status report
Catalina Curceanu and Francesco Sgaramella on behalf of the SIDDHARTA-2 collaboration
66th Scientific Committee Meeting – 8th November 2023

## Slide 2: SIDDHARTA-2 Collaboration
Silicon Drift Detectors for Hadronic Atom Research by Timing Application
LNF-INFN, Frascati, Italy
SMI-ÖAW, Vienna, Austria
Politecnico di Milano, Italy
IFIN –HH, Bucharest, Romania
TUM, Munich, Germany
RIKEN, Japan
Univ. Tokyo, Japan
Victoria Univ., Canada
Univ. Zagreb, Croatia
Univ. Jagiellonian Krakow, Poland
ELPH, Tohoku University
Univ. of Palermo, Italy
IMEM-CNR, Parma, Italy
2

## Slide 3
The Kaonic deuterium measurement – Very Preliminary results
First Kd spectrum, May – July 2023, integrated luminosity 200 pb-1 (including injections)
ROI
KN6->5 7595 eV
KC7->5 8886 eV
Cu K 8041 eV
KC5->4 10216 eV
KC6->5 5545 eV
KO7->6 6007 eV
Fe 6400 eV
We are very grateful to DAFNE team and accelerator division, to INFN, Gr 3, LNF management and Director and applaud these achievements which set a solid ground for the ongoing kaonic deuterium first measurement ever and other kaonic atoms measurements!

## Slide 4
1) C. Curceanu et al., Kaonic atoms at the DAFNE collider: a strangeness adventure, Front.in Phys. 11 (2023) 1240250
2) L. Abbene et al., Potentialities of CdZnTe Quasi-Hemispherical Detectors for Hard X-ray Spectroscopy of Kaonic Atoms at the DAΦNE Collider, Sensors 23 (2023) 17, 7328
3) L. De Paolis et al, The KAMEO proposal: Investigation of the E2 nuclear resonance effects in kaonic atoms, Nuovo Cim.C 46 (2023) 3, 59
4) M. Skurzok et al., A review of the low-energy K--nucleus/nuclei interactions with light nuclei AMADEUS investigations, Front.in Phys. 11 (2023) 1237644
5) K. Piscicchia et al., First Simultaneous K−−p →(Σ0/Λ) π0→(Σ0/Λ)π0 Cross Sections Measurements at 98 MeV/c, Phys. Rev. C 108 (2023) 055201
6) S. Wycech and K. Piscichia, Pionization: A method to study the nuclear surface, Phys. Rev. C (2023) 108, 014313
7) M. Tuchler et al., The SIDDHARTA-2 Veto-2 system for X-ray spectroscopy of kaonic atoms at DAΦNE, JINST, accepted
Publications since last SciCom – May 2023

## Slide 5
8) L. De Paolis et al., The measurements of E2 nuclear resonance effects in kaonic atoms at DAFNE; the KAMEO proposal, submitted to EPJ Web conf
9) F. Sirghi et al., Kaonic atoms with SIDDHARTA-2 at the DAFNE Collider, submitted to EPJ Web conf
10) F. Sgaramella et al., First measurement of kaonic helium-4 M-series transitions, e-Print:2310.20584, submitted to Journal of Phys. G
11) A. Scordo et al., CdZnTe detectors tested at the DAΦNE collider for future kaonic atoms measurements , arXiv:2310.15062, submitted to NIM A
12) F. Sirghi et al., SIDDHARTA-2 apparatus for kaonic atoms research on the DAΦNE collider, to be submitted to NIM
Publications since last SciCom – May 2023
+3 articles in preparation
> 10 invited talks in International Workshops and Conferences

## Slide 6
cross section at pK- = 98 ± 10 MeV/c
AMADEUS (analyses of KLOE data with support of KLOE collaboration)
Record: cross sections at the lowest energy ever and improving the relative errors of about one order of magnitude w.r.t any other measurement

## Slide 7
65th Scientific Committee recommendations and our related actions
Kaonic Deuterium run: status and future plans
(More) Scientific outcomes: highlights
Updates on HPGe and CdZnTe detectors and preliminary results
Request for supplementary run: light kaonic atoms (Li - Be - B) measurements with 1 mm SDDs
Future plans: EXKALIBUR
Contents

## Slide 8
65th Scientific Committee recommendations
Recommendations for SIDDHARTA-2:
The SC encourages the collaboration to move swiftly and decisively to the Kd data taking in two runs this year, with the aim of taking advantage of the maximum integrated luminosity attainable in 2023.
To complete the quality studies of the data recorded during injection time, with the aim of obtaining valuable additional Kd data.
Keep the usual maintenance and upgrading duties in signal/background reduction, as well as the coordinated effort with the DAΦNE team to study reinforcement options for the shielding (by removing, reshaping, or displacing the luminometers close to the SIDDARTHA setup).
During runs 1 and 2 undertake data acquisition with the satellite HPGe and CdZnTe detectors, minimizing the interference with the Kd data taking.

## Slide 9
The kaonic deuterium measurement – Timeline
First run with SIDDHARTA-2 optimized setup for 200 pb-1 integrated luminosity: May – July 2023 - completed
Second run Autumn – Winter 2023 goal: estimated 200-300 pb-1 ongoing
Third run 2024 – goal: 300-400 pb-1
Calibration runs: Kaonic He; Kaonic Ne; …. 50-100 pb
Integrated luminosity 200 pb-1 (with injections)
Setup maintenance and upgrade
Run2 Integrated luminosity 00 pb-1 (with injections)
Total integrated luminosity until 8th November 2023 300 pb-1 (with injections)
Summer stop
2023, July – September
Start kaonic deuterium Run2
2023, October
HPGe and CdZnTe runs
66th Scientific Committee 2023, 8th November
End of Run1
2023, July
Start kaonic deuterium Run1 HPGe and CdZnTe test run
2023, May

## Slide 10
Kaonic deuterium shift and width (Theoretical predictions)
Oset 2001
Liu 2020
Mizutani 2013
Shevchenkov 2012
Gal 2007
Meißner 2011
Weise 2017
Monte Carlo Simulation
achievable precision
ROI
Scientific goal: first measurement ever of kaonic deuterium X-ray transition to the ground state (1s-level) such as to determine its shift and width induced by the presence of the strong interaction, providing unique data to investigate the QCD in the non-perturbative regime with strangeness.

## Slide 11
Ti
Cu
Fe
Ti
SDD Calibration
Kaonic deuterium – Run1 data analysis
e+
e-
kaons
kaons
KAON TRIGGER
SDDs Drift Time
Energy spectrum (before background rejection)
Energy spectrum (asynchronous background reduced by a factor 104)
KC5->4 10216 eV
Ti K 4509 eV
KC6->5 5545 eV

## Slide 12
Kaonic deuterium – data analysis – synchronous background
384 SDDs
Target
Kaon Trigger
Veto-1
Veto-2
Veto-3
SIDDHARTA-2 Setup
Three Veto systems for synchronous background reduction

## Slide 13
Kaonic deuterium – data analysis – synchronous background
384 SDDs
Target
Kaon Trigger
Veto-1
Veto-2
Veto-3
SIDDHARTA-2 Setup
Three Veto systems for synchronous background reduction (M. Iliescu, J. Zmeskal, M. Tuchler…)
Veto-2: suppression of MIPs induced background by using topological correlation
M. Tuchler et al., The SIDDHARTA-2 Veto-2 system for X-ray spectroscopy of kaonic atoms at DAΦNE, JINST, accepted
13

## Slide 14
Kaonic deuterium preliminary results (F. Sgaramella)
First run, May – July 2023, integrated luminosity 200 pb-1 (with injections)
ROI
KN6->5 7595 eV
KC7->5 8886 eV
Cu K 8041 eV
KC5->4 10216 eV
KC6->5 5545 eV
KO7->6 6007 eV
PRELIMINARY
Fe 6400 eV

## Slide 15
The Kaonic deuterium measurement – Preliminary results
First run, May – July 2023, integrated luminosity 200 pb-1 (with injections)
ROI
KN6->5 7595 eV
KC7->5 8886 eV
Cu K 8041 eV
KC5->4 10216 eV
KC6->5 5545 eV
KO7->6 6007 eV
PRELIMINARY
Next Steps:
Refined calibration
Veto-1 Veto-3
Injection selection
Fe 6400 eV
Data Analysis

## Slide 16
The Kaonic deuterium measurement – Preliminary results
First run, May – July 2023, integrated luminosity 200 pb-1 (with injections)
ROI
KN6->5 7595 eV
KC7->5 8886 eV
Cu K 8041 eV
KC5->4 10216 eV
KC6->5 5545 eV
KO7->6 6007 eV
PRELIMINARY
Next Steps:
Refined calibration
Veto-1 Veto-3
Injection selection
Fe 6400 eV
Data Analysis

## Slide 17
SIDDHARTA-2 setup (F. Sirghi, Technical Coordinator)
Optimization of the SIDDHARTA-2 setup during the summer stop of DANE (July - September)
Run2: 100 pb-1 already acquired. Data analysis on going
Replaced some of the screws with Ti ones bottom of the target behind the SDD holders
Replaced the vacuum chamber’s entrance window with a new Mylar window to remove the contamination due to Nitrogen
Kaon trigger: redesign the support structures and replaced the scintillator
Replaced some Veto-2 SiPMs damaged by radiation

## Slide 18
65th Scientific Committee recommendations
Recommendations for SIDDHARTA-2:
The SC encourages the collaboration to move swiftly and decisively to the Kd data taking in two runs this year, with the aim of taking advantage of the maximum integrated luminosity attainable in 2023.
To complete the quality studies of the data recorded during injection time, with the aim of obtaining valuable additional Kd data.
Keep the usual maintenance and upgrading duties in signal/background reduction, as well as the coordinated effort with the DAΦNE team to study reinforcement options for the shielding (by removing, reshaping, or displacing the luminometers close to the SIDDARTHA setup).
During runs 1 and 2 undertake data acquisition with the satellite HPGe and CdZnTe detectors, minimizing the interference with the Kd data taking.

## Slide 19
Injections data analysis
Kaon/SDD rate to evaluate the background during the e-e+ injections
Run1: 200 pb-1 of which 70 pb-1 during injections more than 50 pb-1 usable (under evaluation)
Threshold: 0.50 (i.e. background on SDDs increased by no more than a factor 2)
1
0
0.5

## Slide 20
Contents
65th Scientific Committee recommendations and our related actions
Kaonic Deuterium run: status and future plans
(More) Scientific outcomes: highlights
Updates on HPGe and CdZnTe detectors and preliminary results
Request for supplementary run: light kaonic atoms (Li - Be - B) measurements with 1 mm SDDs
Future plans: EXKALIBUR

## Slide 21
KHe 5->3 (M)
KHe 6->3 (M)
KHe 7->3 (M)
Ti K
Ti K
Line | Energy [eV]
K-4He M | 3300.8 13.2 (stat) 2.0 (sys)
K-4He M | 3860.4 13.6 (stat) 2.2 (sys)
K-4He M | 4214.1 19.6 (stat) 2.2 (sys)
Line | Energy [eV]
The Kaonic 4He – M-series transitions (2022)
First observation and measurement of kaonic helium M-series transition New experimental data for cascade models calculations The X-ray yield is the key observable to understand the de-excitation mechanism in kaonic atoms and develop more accurate kaonic atoms cascade models.
Sgaramella F., et al, submitted to J. Phys. G Nucl. Part. Phys
21
SIDDHARTA-2
SIDDHARTINO
First measurement of K-4He M-series transition
Study of yield density dependence for the K-4He L transition

## Slide 22: First measurement of kaonic neon X-ray transitions
The Kaonic Neon measurement (2023)
K-Ne 8->7
K-Ne 7->6
KC 5->4
K-Ne 6->5
K-Ne 9->8
KAl 8->7
KAl 7->6 KC 6->4
KO 6->5
KO 5->4
KC 7->5
Line | Energy [eV]
K-Ne 98 | 4206.35 3.75 (stat)
K-Ne 8 | 6130.86 0.71 (stat) 2 (sys.)
K-Ne 7 | 9450.08 0.41 (stat) 2 (sys.)
K-Ne 6 | 15673.30 0.52 (stat) 5 (sys.)
Line | Energy [eV]
Implications on kaon - multinucleon interaction and kaon mass
First measurement of kaonic neon X-ray transitions ( record of precision eV )
Paper in preparation
22

## Slide 23
Kaon mass (K-Ne and K-Ne ) = (stat. error keV including the K-Ne )
The (charged) Kaon mass puzzle and kaonic Neon
Kaon mass discrepancy
The kaonic Neon measurement to determine the K- (K+) mass
Less systematic uncertainty with respect to DENISOV 91 and GALL 88 measurements, thanks to the use of a low Z gas (Ne) target
It could solve the kaon mass discrepancy issue
Particle Data Group, 2020, 083C01 (2020)
Impact on the charmonium spectrum and on all processes in which charged kaons are involved
DENISOV 91
GALL 88
SIDDHARTA-2
LUM 81
BARKOV 79
CHENG 75
BACKENSTO 73
Kaon mass [MeV]
Preliminary

## Slide 24
SDD energy calibration with ML and Differential Programming
Fabrizio Napolitano et al 2023 Meas. Sci. Technol. in press https://doi.org/10.1088/1361-6501/ad080a
The method can correct for miscalibration improving the systematic error and the energy resolution allowing to perform high precision measurement with an accuracy below 1 eV
Cu
Fabrizio Napolitano and Simone Manti

## Slide 25
Contents
65th Scientific Committee recommendations and our related actions
Kaonic Deuterium run: status and future plans
(More) Scientific outcomes: highlights
Updates on HPGe and CdZnTe detectors and preliminary results
Request for supplementary run: light kaonic atoms (Li - Be - B) measurements with 1 mm SDDs
Future plans: EXKALIBUR

## Slide 26
65th Scientific Committee recommendations
Recommendations for SIDDHARTA-2:
The SC encourages the collaboration to move swiftly and decisively to the Kd data taking in two runs this year, with the aim of taking advantage of the maximum integrated luminosity attainable in 2023.
To complete the quality studies of the data recorded during injection time, with the aim of obtaining valuable additional Kd data.
Keep the usual maintenance and upgrading duties in signal/background reduction, as well as the coordinated effort with the DAΦNE team to study reinforcement options for the shielding (by removing, reshaping, or displacing the luminometers close to the SIDDARTHA setup).
During runs 1 and 2 undertake data acquisition with the satellite HPGe and CdZnTe detectors, minimizing the interference with the Kd data taking.

## Slide 27
Kaonic Lead Measurement at DANE with HPGe
HPGe provided by Zagreb University (Croatian Science Foundation project 8570) to perform the kaonic lead measurement in parallel with the SIDDHARTA-2 kaonic deuterium measurement
HPGe active detector
diameter ~60 mm,
height ~60 mm.
BSI HPGe detector with transistor reset preamplifier (TRP).
DAQ based on CAEN DT5781 digitizer
Coincidence between:
-> ch0 Luminometer
-> ch1 HPGe signal
-> ch2 TAC signal
Data acquired:
-> June-July 2023: 109.38 pb-1
-> September-now 2023: 117.67 pb-1
27

## Slide 28
Preliminary
Integrated luminosity: 109.38 pb-1 ( June – July 2023)
The Kaonic Lead Measurement (Zagreb Uni; Krakow, Jagiellonian Uni – Lumi)
Preliminary analysis of June-July 2023 data (D.. Bosnar and I. Friščić) :
Gaus+linear function was fitted for each peak:
(10 -> 9) : 906 events in peak,
position 209.191 ± 0.171 keV
(9 -> 8) : 947 events in peak,
position 292.939 ± 0.134 keV
(8 -> 7) : 943 events in peak,
position 427.200 ± 0.152 keV
Optimization and detailed analysis is in progress-> towards a publication

## Slide 29
Detector Key Points:
High efficiency in the 20-100 keV region - Reasonable efficiencies up to 300 keV - Good resolution (FHWM/E ~ %)
Fast response and time resolution (< 50 ns) - No need for cooling - Compact readout and installation package
CdZnTe detectors: first test at DANE
FWHM = 3,5 keV
(5,9 % @ 60 keV)
Np Lb
Np La
241Am
241Am
Pb Ka1,2
Pb Kb
Good resolutions are confirmed
Full capabilities recovered after DANE
29
Eur. Phys. J. Spec. Top. 232, 1487 (2023)
L. Abbene, et al., Sensors 23 (2023) 17, 7328

## Slide 30
CdZnTe detectors: next run with 16 cm2
New lead shield installed
Two modules (8 CdZnTe) installed and ready
16 cm2 CdZnTe detectors to perform X-ray spectroscopy of kaonic carbon and aluminium in parallel with SIDDHARTA-2 kaonic deuterium run (L. Abbene, A. Buttacavoli, F. Principato, A. Scordo)
MCarlo: For KAl (4→3) with 10% yield we expect :
10 (signal) ev/pb-1

## Slide 31
Start kaonic deuterium Run3
HPGe and CdZnTe run
2024, January
End Run3
2024 Total: 900 pb-1 (to ensure 800 pb-1 of useful data)
Light kaonic atoms Run (Li - Be - B)
Extension of the SIDDHARTA-2 run, also as post-calibration
End of kaonic deuterium Run2
2023, December Total: 400 - 500 pb-1
HPGe and CdZnTe run
Project Timeline – Future plans
Run2 expected integrated luminosity 00 pb-1 (with injections)
Goal: integrated luminosity 400 pb-1
Integrated luminosity 100-150 pb-1 (1 month)
First run with SIDDHARTA-2 optimized setup for 200 pb-1 integrated luminosity: May – July 2023 - completed
Second run Autumn – Winter 2023 goal: estimated 200-300 pb-1 ongoing
Third run 2024 – goal: 400 pb-1
Calibration: solid targets – Li, B, Be – 100-150 pb

## Slide 32
We reiterate the request for an extension of SIDDHARTA-2 run
with solid targets (post calib)
using also 1 mm SDDs
The energy spectra of light kaonic atom transitions for Li, Be and B can achieve a precision below 2-3 eV, for an integrated luminosity of about 100-150 pb-1; ; kaon-multi-nucleon, L(1405)…
1mm SDDs and target materials financed – construction ongoing
32

## Slide 33
SDD monolithic array (designed and produced by Fondazione Bruno Kessler, FBK):
matrix, square pixels, each one having active area of mm2;
1-mm-thick, total chip dimensions are 20 mm 36 mm;
Development of KAONNIS Detector Modules (C. Fiorini; G. Deda; G. Borghi) Single SDD Module: the Prototype Design
33
1 mm SDD array
Spectroscopic measurements with a first prototype with partially working channels:
irradiation with an 55Fe X-ray source;
detector temperature: -30° C;
spectra acquired with SFERA APP, shaping time 6 s;
best energy resolution @5.9keV (Mn-K peak ): 138.2 eV, (channel 2).

## Slide 34
Production run very successfully concluded at FBK: test of all the devices with automatic probers – completed
First SDD samples delivered to PoliMi – July 2023
Development of the new PCB and DAQ on going
Light kaonic atoms measurement with SIDDHARTA-2
The energy spectra of light kaonic atom transitions for Li, Be and B can achieve a precision below 2-3 eV, for an integrated luminosity of about 100-150 pb-1; ;
Use of present SDDs + 1mm SDDs and target materials financed – construction ongoing
SDD 1mm detector
Multi element target (Li, Be, B) under construction financed by INFN (gr 3)

## Slide 35: Francesco Sgaramella: best young talk at High Precision X-Ray Measurements 2023, June 2023, Frascati
Good news about SIDDHARTA folks:

## Slide 36: Marlene Tuechler: "Probing the strong interaction with kaonic atom X-ray measurements at low energies", Ph. D. thesis at Vienna University, June 13th, 2023, with the highest qualifications
Good news about SIDDHARTA folks:

## Slide 37: Francesco ARTIBANI and Francesco CLOZZA from La Sapienza University – finalizing their Master Theses in SIDDHARTA-2 Ph D students: from Tokoku Japan: Toho Kairo Ph D: Francesco Artibani
Good news about SIDDHARTA folks:

## Slide 38: Eventi – workshops and Conferences
Organized events

## Slide 39: Eventi – workshops and Conferences
Organized events

## Slide 40
Contents
65th Scientific Committee recommendations and our related actions
Kaonic Deuterium run: status and future plans
(More) Scientific outcomes: highlights
Updates on HPGe and CdZnTe detectors and preliminary results
Request for supplementary run: light kaonic atoms (Li - Be - B) measurements with 1 mm SDDs
Future plans: EXKALIBUR

## Slide 41
EXtensive
Kaonic
Atoms research: from
LIthium and
Beryllium to
URanium
EXKALIBUR
proposal to perform fundamental physics at the strangeness frontier at DAFNE
for a 3-years period (post-SIDDHARTA-2)
- detailed presentation at 62nd LNF Scientific Committee Meeting, November 8, 2021
We propose to do precision measurements along the periodic table at DAFNE for:
Kaonic Hydrogen: 200 pb-1 – with SIDDHARTA-2 setup – to get a precision < 10 eV (KH)
Selected light kaonic atoms (LHKA)
Selected intermediate and heavy kaonic atoms charting the periodic table (IMKA)
Ultra-High precision measurements of Kaonic Atoms (UHKA)
Dedicated runs with different types of detectors: CZT detectors, HpGe, SDD 1mm, crystal HAPG spectrometer from VOXES project - MODULAR
Future plans beyond SIDDHARTA-2: EXKALIBUR
Fundamental physics at the strangeness frontier at DAΦNE. Outline of a proposal for future measurements,
C. Curceanu et al., Front.in Phys. 11 (2023) 1240250
Members of Sci Com: document and letters support

## Slide 43
Kaonic Atoms with SIDDHARTA-2 at the DAFNE Collider
Kaonic atoms Kaon-nuclei interactions (scattering and nuclear interactions)
Part. and Nuclear physics QCD @ low-energy limit Chiral symmetry, Lattice
Kaonic Atoms to Investigate Global Symmetry Breaking Symmetry 12 (2020) 4, 547
Fundamental physics New Physics
The modern era of light kaonic atom experiments Rev.Mod.Phys. 91 (2019) 2, 025006
Astrophysics EOS Neutron Stars
The equation of state of dense matter: Stiff, soft, or both? Astron.Nachr. 340 (2019) 1-3, 189
Dark Matter studies
On self-gravitating strange dark matter halos around galaxies Phys.Rev.D 102 (2020) 8, 083015
Notes: The kaonic atoms spectroscopy is really a unique opportunity to obtain information about QCD at threshold energy because compared to scattering experiments the kaon interacts with the nucleus with relative energy of a few keV, instead of the tens MeV.

## Slide 44
Herewith our group would like to express our strong interest to carry out a new experiment in the DAΦNE collider called “Laser spectroscopy of kaonic helium and sub-ppm scale determination of the charged kaon mass”. The aim of this small experiment is to synthesize metastable kaonic helium atoms using the low-energy negative kaons available at your facility, and to irradiate the atoms with high-power, high repetition rate laser beams and observe the resulting resonance of the laser-induced transition of the kaonic orbital.
The experiment will utilize the latest quantum optics techniques and
will allow an exploration of quantum electrodynamics for systems that include the strange
quark at heretofore unprecedented, 10-7 scale or better precision.
New experimental proposal

## Slide 45
Very significant physics measurements at the best possible machine
EXKALIBUR
EXKALIBUR proposes to conduct a series of unique kaonic atom measurements with a total integrated luminosity ranging from approximately 600 (but also 400) pb to 1500 pb. It is a feasible, comprehensive scientific program that can be executed modularly (i.e., over a few months each year) in the next 2-3 years, becoming a global reference for research on strangeness.
To be underlined that the program is elastic, and one can extend it from 400 pb to more than 1000, in various runs periods; we are available for discussions and reschedule our plans function of machine and beam time availability.

## Slide 46: Conclusions & REQUESTS
The first Run (Run1) of SIDDHARTA-2 Kd has been successfully; finalized Run 2 is ongoing; overall 300 pb up to now (including injections)
We answered all issues/suggestions raised by 65th Sci Com
We performed a preliminary analyses of first 200 pb Kd Run – very promising results!
We finalized first KHe M-lines and KNe data analyses -> articles and test run for K mass
We are implementing Macchine Learning techniques for our data analyses – enhanced outcomes
>10 articles were published/submitted since the last Sci Com, 3 are in preparation and > 10 invited talks
We are ready and very motivated to continue and finalize the SIDDHARTA-2 (first) Kd measurement within summer 2024 (in parallel with test measurements with HPGe and CdZnTe)
We plan to perform solid targets measurements with SIDDHARTA-2 (reinforced) setup for 100-150 pb-1 after Kd run – as post-calibration (more infos @SC62)
We reiterate our EXKALIBUR proposal – after SIDDHARTA-2 run – modular strangeness kaonic atoms measurements along the periodic table – support letters

## Slide 47
Special thanks to the accelerator, research and technical divisions, and in particular to the DANE staff, to Cesidio Capoccia, and to the LNF Director