## Slide 1: Simulation and Design of the Diagnostics Stations for Eupraxia@Sparc_Lab
Francesco Demurtas – PhD Seminar 2° year – 24/10/2024
Supervisor : Enrica Chiadroni (Università Sapienza di Roma)
Anna Giribono (INFN-LNF)

## Slide 2: Outline
Diagnostics Stations in Eupraxia: High-Energy diagnostics
Polarizable X Band Transverse Deflecting Structure (PolariX), working principle and design
Measurement Simulation at High-Energy:
- Length Measurement with the PolariX TDS
- Emittance Measurement in Both Planes
Jitter Measurement at SPARC: Electro-Optical Sampling
Collaboration with PSI: Activities on PolariX TDS

## Slide 3: Diagnostics Station and Measurements
After the Photoinjector at MeV 60 cm TDS
Before the Plasma at MeV
After the Plasma and Before the Undulator at GeV 96 cm TDS
PolariX TDS
Dipole
Quadrupole Triplet
Screen
Eupraxia Electron Diagnostics Station Positions:
Bunch Length Measurement with PolariX TDS
Beam Emittance in both Transverse Planes
Energy Measurement
Slice Emittance in both Transverse Planes with the same PolariX TDS
Energy Jitter Measurement to the spectrometer with the Electro Optical Sampling
Types of Measurements:
Dispersive Screen

## Slide 4: PolariX Transverse Deflecting Structure
Allows to perform tomography of the beam to retrieve the 3D beam distribution
Allows to measure the slice emittance on different transverse planes by using the same TDS device
Combined with a quadrupole scan and a magnetic spectrometer allows to measure the full 6D beam distribution
The PolariX is a Transverse Deflecting Structure with the feature of changing the beam streaking direction
Marx, Daniel. Characterization of ultrashort electron bunches at the SINBAD-ARES Linac. No. DESY-THESIS--2019-026. Hamburg, Germany: Deutsches Elektronen-Synchrotron, 2019.

## Slide 5: 3D Charge Distribution Recontruction
The reconstruction requires to take one streaked image for each angle of streaking
2D Distribution is Obtained from tomographic algorithm

## Slide 6: Input Beam (After Separation Chicane)
Beam Parameters |  | 
 | 23.86 | 
Beam Parameters |  | 
 | 23.86 | 

## Slide 7: Distribution – CCD Conversion
Size Camera : 1200 x 1920 Pixel
Calibration : 3.5 Pixel
Conversion of the distribution obtained from the simulation into a CCD-like image to compute the beam size and centroids
Example Distribution at the Screen
CCD-like converted image

## Slide 8: Beam Distribution at the Zero Crossing
Y plane - streaking
Beam Streaked at Zero Crossing with 96 cm Transverse Deflecting Structure after a 3.07 m drift to the screen in two streaking direction
Deflector On
Deflector On
Implemented the PolariX 3D maps provided by PSI in Astra to simulate the length measurement
X plane - streaking

## Slide 9: Resolution (Streaking in y-plane)
Phase advance from the TDS center to the screen:
as large as possible
at the TDS entrance and screen
In case of just a drift between the TDS and screen:
Calibration Factor:
General equation for RF deflector Resolution

## Slide 10: TDS Resolution
After the Laser Heater:
Before the Undulator:
Resolution
Resolution

## Slide 11: TDS Calibration in x-y planes
PolariX Calibration:
x-streaking
y-streaking
x-streaking Calibration :
y-streaking Calibration :
Integrated V at a beam Energy of 1 GeV

## Slide 12: Length Measurement in x-y planes
Parameters | Streaking y-plane | Streaking x-plane
Def. Off |  | 
Calibration |  | 
Resolution |  | 
Parameters | Streaking y-plane | Streaking x-plane
Calibration |  | 
Resolution |  | 
Different sets of quadrupole strength for the two measurements, optimised to minimize the beam vertical and horizontal size to maximise the resolution

## Slide 13: Emittance Measurement
Last Quadrupole Strength Scan

## Slide 14: Emittance Resolution
Repeated the simulations with beams with increasingly smaller emittance
Beam | (Expected) [mm mrad] | (Expected) [mm mrad] | (Recon.) [mm mrad] | (Recon.) [mm mrad] | Rel. Error [%] | Rel. Error [%]
1 | 1.43 | 1.17 | 1.44 | 0.96 |  | 
2 | 0.96 | 0.86 | 0.75 | 0.70 | 3.9 | 3
3 | 0.66 | 0.6 | 0.66 | 0.50 | 4.5 | 3.4
4 | 0.44 | 0.4 | 0.51 | 0.35 | 5.1 | 4.4
Beam |  |  |  |  |  | 
1 | 1.43 | 1.17 | 1.44 | 0.96 |  | 
2 | 0.96 | 0.86 | 0.75 | 0.70 |  | 
3 | 0.66 | 0.6 | 0.66 | 0.50 |  | 
4 | 0.44 | 0.4 | 0.51 | 0.35 |  | 
Resolution in both planes at 1 GeV :
Simulations to determine the resolution on the emittance measurement

## Slide 15: Energy Jitter Measurement at SPARC
The witness energy measurement at the high-energy spectrometer will be combined with the measurement of the relative distance between the driver and witness beams
Witness
Driver
Witness
The relative distance between the beams is measured with the Electro-Optical Sampling, a non-intercepting and single-shot device based on an external field, i.e. the beam coulomb field, which induces birefringence on an electro-optical crystal, ZnTe in this case.
This distance is affected by the jitter from the RF system, resulting in a jitter in the witness energy gain in the plasma

## Slide 16: Electro-Optical Sampling
This change in the refractive indexes, can be measured with an opportune polarized laser pulse that crosses the crystal.
In the spatial decoding scheme the laser crosses the crystal with an angle , therefore different points across the transverse profile of the laser pass through the crystal at different times and acquire a different polarization
The resolution in the measurement of the beam arrival time is of fs, so it is suitable for measuring the beam's arrival time and the driver-witness relative distance in each shot
Riccardo Pompili et al. “Femtosecond timing-jitter between photo-cathodelaser and ultra-short electron bunches by means of hybrid compression”.In: New Journal of Physics 18.8 (2016), p. 083033.

## Slide 17: Measurement Results
The compression phase is slightly different: when the phase is smaller the compression is larger and therefore, the distance between the bunches increases.
The different slope is dependent on the plasma density (the used density for the experiment is ): the first measurement corresponds to a larger density and so it is higher the slope with respect to the second case.

## Slide 18: Third Year Program
Complete the Measurement Simulation at High-Energy:
- Slice Emittance Virtual Measurement
- Energy Measurement: Spectrometer Design
Implementation of the simulated measurements in the other Diagnostics Stations in Eupraxia:
- Low-Energy (120 MeV), including the 60 cm PolariX design
- Mid-Energy diagnostics (750 MeV)
PolariX activities in ATHOS at the PSI center

## Slide 19: PolariX Activities Plan at PSI
Slice Emittance Measurements
5D Phase Space Measurement
The Experiment is planned for 2025, in collaboration with the DESY group working on the PolariX
1° step: Simulations to calculate the optics in the beamline for the measurement in both transverse planes
2° step: Set up the Simulations of the measurement
3° step: The Measurements will be done in November, and the Data Analysis will follow
Specific Requests for Eupraxia Diagnostics
Study on the passive streaker in substitution of a PolariX TDS after the undulator
Design of the 60 cm deflector at 120 MeV

## Slide 20
Thank you for your attention

## Slide 21
BACKUP SLIDE

## Slide 22: TDS parameters
Craievich, Paolo, et al. "The Polarix-TDS Project: bead pull measurements and high power test on the prototype." Proceedings of FEL. 2019.

## Slide 23: 3D Charge Distribution Recontruction
1D distribution for each slice :
The SART reconstruction algorithm integrates the 1D distribution that is treated as a projection of the 2D distribution

## Slide 24: 5D Phase Space Recontruction
The 5D reconstruction requires to streak the beam in different angles and also for different phase advance combinations in x and y, to also rotate the beam transverse phase space
Shear Parameter:
The Shear Parameter is determined for each streaking angle and phase advance combination, by measuring the beam centroid with respect to the changing of the deflector phase
The 3D distribution is then reconstructed via tomography for each phase advance combination
Each 3D reconstruction can be seen as the projection of the phase space on the space, so for each slice they are combined with the filtered back projection technique, to obtain the full 5D distribution
Hock, K. M., and A. Wolski. "Tomographic reconstruction of the full 4D transverse phase space." Nuclear Instruments and Methods in Physics Research Section A: Accelerators, Spectrometers, Detectors and Associated Equipment 726 (2013): 8-16.
Jaster-Merz, S., et al. "5D tomographic phase-space reconstruction of particle bunches." Physical Review Accelerators and Beams 27.7 (2024): 072801.
Notes: Da tenere per le presentazioni future

## Slide 25: Electro-Optical Sampling
Resolution of a few fs on the beam arrival time
Resolution of tens of fs on the longitudinal beam distribution
EOS position: entrance of the experimental chamber
Laser
bunch
EOS Crystal
Complemented with the energy measurement of the witness allows for the measurement of the Beam Arrival Timing Jitter on the Plasma Acceleration