## Slide 1: Welcome and project summary
HONEY kick-off meeting 2023, November 17th
Elisa Fiorina

## Slide 2: Meeting schedule

## Slide 3: Hybrid ONline tEchnologY for particle therapy
AIM
Improving beam monitoring and in-vivo range verification in Charged Particle Therapy (CPT) developing hybrid technology
Institution involved: INFN, UniTo, PoliTo, Fondazione CNAO
Duration: 2 years (2023.09.28 - 2025.09.27)
Budget: about 210 kE
BEAM MONITORING
SECONDARY RADIATION DETECTORS
DATA ACQUISITION SYSTEM
CLINICAL ENVIRONMENT

## Slide 4: Charged Particle Therapy
favourable depth dose deposition (Bragg peak)
+
enhanced radiobiological effectiveness for heavier ions
=
reduced integral dose
better sparing of organs-at-risk
reduced toxicity​
lower secondary malignancy risk​
increased tumor local control

## Slide 5: Why in-vivo range verification system?
Zhu X, Fakhri GE. Theranostics. 2013;3(10):731-740.
Planning CT
Control CT
Patient affected by ACC (Adenoid Cystic Carcinoma), treated at CNAO with protons, enrolled into the INSIDE clinical trial
Clinical motivation!
See Lucia's talk!
Interfractional morphological changes

## Slide 6: How? Exploiting secondary radiation!

## Slide 7: Positron emitters
J Pawelke et al., Proceedings IBIBAM, 26.-29.09.2007, Heidelberg
Protons
Carbon ions

## Slide 8: Positron emitters
J Pawelke et al., Proceedings IBIBAM, 26.-29.09.2007, Heidelberg
in-beam PET
Protons
Carbon ions
off-room PET
in-room PET

## Slide 9: The INSIDE PET experience
in-beam PET image - 2 fx
In-beam PET image - 21 fx
Patient ID: 006P: female, 39y, affected by ACC, IMPT, CTV dose: 70 GyE in 35 fx (2.0 GyE/fx, 5 fx/week), two beams (15° - 175° IEC)
planning CT
control CT - 20 fx
beam​
beam​

## Slide 10: Prompt photons
10
Magalhaes Martins, P. et al., Sci Rep 10, 7007 (2020)

## Slide 11: Prompt photons
11
Magalhaes Martins, P. et al., Sci Rep 10, 7007 (2020)
Golnik et al., PMB (2014)
Ferrero et al., TRPMS (2019)
PROMPT GAMMA TIMING (PGT)

## Slide 12: HONEY project
BEAM MONITORING
SECONDARY RADIATION DETECTORS
DATA ACQUISITION SYSTEM
CLINICAL ENVIRONMENT
… let's develop an hybrid prototype keeping in mind clinical application (limitations & requirements)

## Slide 13: HONEY prototype
BEAM MONITOR
UFSD/LGAD strip sensors
(previous proj: MoVe-IT)
WP1
See Felix's talk!

## Slide 14: HONEY prototype
BEAM MONITOR
UFSD/LGAD strip sensors
(previous proj: MoVe-IT)
PET-PGT DETECTORs
LFS + SiPM read out by TOFPET2 ASICs
(previous proj: I3PET)
WP1
WP2
See Felix's talk!

## Slide 15: HONEY prototype
DAQ
FPGA-based
Time measurement of single primary particle
Trigger based on PET-PGT signals
Data synchronization
WP3
See Luca's talk!

## Slide 16: HONEY prototype
DAQ
FPGA-based
Time measurement of single primary particle
Trigger based on PET-PGT signals
Data synchronization
ONLINE ANALYSIS
Data selection for reconstructing PET and Prompt Gamma Timing images during irradiation
WP3
WP4
See Francesco's talk!
See Luca's talk!

## Slide 17: HONEY units & GANTT
INFN Torino
[Fiorina (PI), Pennazio, Giordanengo]
Responsible for PET-PGT detectors(WP2) and online data analysis (WP4)
Università di Torino
[Vignati, Sacchi]
Responsible for beam monitoring (WP1)
Politecnico di Torino (DAUIN)
[Rebaudengo, Portaluri]
Responsible for DAQ system (WP3)
SUB-UNIT
Fondazione CNAO
[Ciccone]
Responsible for study of clinical applications (WP5)

## Slide 18: HONEY budget
FAST3 and FE board
FPGA

## Slide 19: HONEY risk analysis

## Slide 20: HONEY in numbers
Beam monitor
144 strip
Pitch
Size
Opt. time resolution (PGT) = 50ps
PET-PGT detector
6 modules
LFS criystals
Opt. time resolution (PGT) = 100ps
24 TOFPET2
12 eval. boards Artix 7
UDP data protocol @ Gbit ETH
DAQ system
Clinical Environment
2E9 pps: average proton rate
5E7 pps: average carbon ion rate
Instantaneous rate 10-100 times higher