## Slide 1
Jiang Yaozu
SCD IT Data Format for Test Beam 2023

## Slide 2
PS 06/09/2023
SPS 14/09/2023
SPS 09/10/2023
SCD
(1)
(2)
(3)

## Slide 3
Runs worked/Total runs: 118/131
Runs unworked:
68,88,92,95,119,121,124,128,134,140,143,150,151,159,160,165,180,185,218,219,220,221,222
Runs worked/Total runs: 76/149
Runs unworked:
173-300
Runs worked/Total runs: 96/130
Runs unworked:
479,490,494,495,501,502,507,509,510,541,542,543,549,561,562,566,567,568,578,584,585,592,593,597,617
PS 06/09/2023
SPS 14/09/2023
SPS 09/10/2023

## Slide 4
Data Format

## Slide 5
Data Format

## Slide 6
8 sensors enable independent estimation of positions along the X and Y axes, with 4 sensors dedicated to each axis.
Reorder clusers from highest-to-lowest signal, and do all-points combinations of all hits in the two views (X-Z and Y-Z), keep only tracks with reasonable chi-square
The list of track-views is then combined in 3D tracks based on similar average signal on the two views
Track

## Slide 7
Alignment
Note: Beam Test 2023 HERD, run448, sensor 0

## Slide 8
Global track fit normalized chi^2

## Slide 9
Tracks projected to the Z position of SCD
Note: Beam Test 2023 OCT HERD run_448

## Slide 10
Occupancy
+Y +X +Y +X +Y +X +Y +X

## Slide 11
THE SPATIAL RESOLUTION
Note: Beam Test 2023 OCT HERD run_448

## Slide 12
Data Format

## Slide 13
Eta

## Slide 14
Note: Beam Test 2023 OCT HERD run_448
floating
floating
readout
readout

## Slide 15
Note: Beam Test 2023 OCT HERD run_448

## Slide 17
Data Format

## Slide 18
Gain correction
Before Gain correction
After Gain correction
Note: Beam Test 2023 HERD, run448

## Slide 19
Process of Eta correction
Find the charge line
Calculate the ratio Z/√ADC for each bin each Z (e.g. I did only 4 bins)
Calculate the ratio for all bins , we can get the conversion function (the z-axis represents the ratio Z/ √ADC)
z
(1)
(2)
(3)
The eta function is defined as the ratio between the charge collected on the right strip of the two largest signal strips and the total charge collected on both the two largest signal strips

## Slide 20
Note: Beam Test 2023 HERD, run448

## Slide 21
Sensor 0
Sensor 1
Sensor 2
Sensor 3
Sensor 4
Sensor 5
Sensor 6
Sensor 7
Cluster estimated charge
Note: Beam Test 2023 HERD, run448

## Slide 22
Data Format

## Slide 23
Global track charge evaluation ( trunc. mean)
Note: Beam Test 2023 HERD, run448

## Slide 24
fine