## Slide 1
Electron spectroscopy with cyclotron radiation measurement in the PTOLEMY detector
Federico Virzi
Università degli studi dell’Aquila
28/02/2024

## Slide 2: Table of contents
Introduction: PTOLEMY concept
why we need a RF region
what are the required performances
RF region:
Electron motion
Cyclotron emission
Bouncing motion
How to measure Kt,Kl
Electron trap:
What it is? Why?
3D model
RF Signal readout
Electrodes configurations
CST simulation

## Slide 3: High resolution endpoint measurement
Need good energy resolution: σE=50 meV
We want to use Transition Edge Sensors as micro-caloremeters
CνB
Beta decay
mν
K
2mν
Events
Sgn and Bkg vs K (kinetic energy)
Electrons from tritium
But you need
Low electron rate
Decrease energy from 18.6 keV to O(100 eV)
PTOLEMY Dynamic Filter

## Slide 4: Dynamic EM Filter
Exponential decaying magnetic and electric field
Electron decelleration: Drain Kt , Kl up to O(100 eV) on TES
Longitudinal kinetic energy with respect to B lines
If electron has: K<Qβ K ~Qβ
Discarded
TES
K
10 eV
TES
Event by event basis
If Kt , Kl known
RF Region

## Slide 5: RF region: filter trigger
Measurement Kt , Kl for each electron in the ROI
O(10 eV) energy resolution
In O(100 μs)
Non destructive way
Uniform 1T field
K
10 eV
How?
Electron spectroscopy with cyclotron radiation (CRES)
Cyclotron radiation
In uniform 1T
Bouncing motion
Thank you!
Requirements:

## Slide 6: PTOLEMY Concept
Target
Injection
RF region
Filter
TES
Magnet
ΔV
Ki=qΔV+ERF,corr+ETES
How to reconstruct Target’s electron kinetic energy Ki?
This talk
Possible injection geometry
Not in scale

## Slide 7: RF region: electron motion
In the inner air-gap magnet: uniform 1T region
Cyclotron motion+ X bouncing motion+Zdrift
B
Drift Electrodes+Bouncing electrodes
Z
Z
B
B

## Slide 8: RF region: electron motion
Cyclotron motion+bouncing motion+Zdrift
Z
B
Expected pattern RF?
?
We’ll see that in a couple of slides
How to reconstruct K, Kl?
?

## Slide 9
RF region: electron motion
Uniform B->no Grad(B)xB
No Ez component
We expect a stable bouncing motion
Θ
Ve
B
Kl=Kcos2(Θ)
Kl=0
Kl=0
No y drift
Y
X
Scale length: O(12 cm)

## Slide 10: RF Region: cyclotron radiation
During the motion: cyclotron emission in a potential well
X[mm]
V[V]
K variation
Frequency variation

## Slide 11: RF Region: is this signal detectable?
Thermal noise level
RF region Temperature
RF region Frequency resolution
(energy resolution)
If P>N: signal detectable
Crucial for fast measurement and for energy measurement

## Slide 12: RF Region: bouncing motion
Bouncing motion: allow reduced size detector
High stability motion expected
Z drift by drift electrodes
The bouncing motion has a periodicity of Tb
Tb depends by pitch angle aka Kl

## Slide 13: RF region: expected signal
P
f
fc
1/Tb
1/Tb
Δf
Carrier frequency fc:
Cyclotron motion in potential well
Sidebands: 1/Tb
Information on K
Information on Kl
NB: Tb=O(10ns)
How much time do we need to detect the signal?
What about the energy resolution?

## Slide 14: RF region: expected signal
P
f
fc
1/Tb
1/Tb
Δf
Nt
Δf
Δf
For trigger task we want to be fast
Exploit large timebin size
Good frequency resolution
@ cost of frequency shift/timebin

## Slide 15: RF region: expected signal
P
f
fc
1/Tb
1/Tb
Δf
SNR problem?
Reduce T, better Δf
Nt
Tritium not in thermal contact

## Slide 16: Electron trap: what it is?
Setup to study RF measurement
Possibility to study electron emission for high drift time
Under construction @ LNGS hall di montaggio
We use 83mKr gas source:
K1=32151.6eV
K2=9405.7eV
Source available @ LNGS

## Slide 17: Electron Trap: why?
Test for RF region measurement:
How much background events?
How much energy resolution?
How good it is Kl measurement by Tb?
How much time signal (time drift in antenna region) we need?
How much it is good the detection with waveguide?
Kr port
RF readout:
WR42
Electrodes inside
B

## Slide 18: Electron Trap: cryogenic setup
Kr+HV cables
Uniform 0.984T
Trap
LNA
PBF
RF-Out
12K cold head
LNA
bias
Pumping system

## Slide 19: Electron Trap: electrodes
Tunable Z drift (drift electrodes)
Tunable V_bouncing (ΔΘ)
Tunable potential well (frequency smearing)
B
37mm
15mm
NB: demonstrator magnet airgap~12cm

## Slide 20: Electron Trap: CST simulation signal
1/Tb
1/Tb

## Slide 21: Electron Trap: spectrogram
spectrogram of simulated signal
Wait…
This color scale remind me something
Time[ns]
f[MHz]

## Slide 22: Electron Trap: spectrogram Sauron Plot
spectrogram of simulated signal
I seeee youuu

## Slide 23: Electron Trap: Kt, Kl reconstruction
Measure central peak->K
Measure sidebands->measure Tb->Kl
1/Tb
1/Tb

## Slide 24: Electron Trap: readout electronics
DAQ
LNA
PBF
Amp
DIPLEXER
Dedicated downconverter developed @ NIKHEF
DAQ with FPGA trigger under development @ NIKHEF
RTO64 used for trigger task
LNA
LO
IF
RF

## Slide 25: Outlook
Electron Trap setup construction @ LNGS external labs
Electron Trap data run Kr electron K=32 keV
Electron Trap data run Kr electron K=9 keV
Z drift stress test
Frequency resolution stress test
Change Electron Trap electrodes geometry

## Slide 26: Backup Slides

## Slide 27: PTOLEMY Concept
Target
Injection
RF antenna
Filter
TES

## Slide 28: Permanent magnet target
B_coils
Only B_target it is shown, field on graphene=1.1-1.3T
B_coils=0.1T
Here: B_coils > B_target
Y
Z
X
PRELIMINARY

## Slide 29: Transport coils

## Slide 30: From target to RF

## Slide 31: Injection in magnet
PRELIMINARY2

## Slide 32: Electron Trap: Permanent Magnet
B=0.9843361T
Measured at CERN

## Slide 33: Electron Trap: Electron motion
x
S1: no Zdrift, bottom of potential well
S2: Zdrift, top of potential well
S1, Δt1
S2, Δt2
10 mm
0
z

## Slide 34: Electron Trap: Electron motion
Drift only during S2 (10<|x|<15, close to bouncing electrodes)
Vz=3*10^-4cm/ns
S2
S1
Time[ns]
Time[ns]
X
Zgcs
E_y
X[mm]
Vz=E_y/B

## Slide 35: Electron Trap: Electron motion: bouncing period
t1≈76.5-71=5.5ns
t2≈81.5-76.5=5ns Tb=10.534ns

## Slide 36
T_b
10^4 samples=67 ns, T_b=10.53ns
Time[samples]
frequency
Wavelet
The signal goes to stationary regime in 300ns
Confirmation of S1-S2 motion
We could measure T_b also here

## Slide 37
Δ
Δ0
Carrier modulation in frequency from K in pot. well
Armonics from FM
Right Shift from cos(Δω*t) term
Electron Trap: CST simulation
1/Tb
1/Tb

## Slide 38: Reconstruction Kt, Kl: Experimental procedure
Let’s think that these are experimental data->measure K,Kl
We expect: Tb=10.53ns , K=32151.6eV, Kl=43.2eV
Measure 1/Tb by FM modulation
Shift carrier frequency to the left by 1/Tb
Measure S1->K
Measure Kl by Tb and K
Electron trap cst simulation

## Slide 39: Experimental procedure
F(S1)=26,0165 (7) GHz
F(S2)=26,0260 (7) GHz

## Slide 40: Experimental procedure: measure Tb
F(1Δ,L)=25,9215 (7) GHz 0,095
F(2Δ,R)=26,2060 (7) GHz 0,09475
F(1Δ,R)=26,1110 (7) GHz 0,0945
F(2Δ,L)=25,8270 (7) GHz 0,09475
F(S1)-F(nΔ,L/R)= Δ
<Δ>=0,09475 GHz
Tb=1/<Δ>=10,554 ns
Tb(expected)=10,534 ns
In real life some of them will be hidden below thermal noise

## Slide 41: Measurement of K
F(S1)- <Δ>=25,9218 (7) GHz->K=32193.7eV=K1
K(expected)=32151,6eV
K1
F(S1)
K2
F(S2)

## Slide 42: Measurement of Kl
Y=0
Y=-1
Y=-3
KL=Kcos2(Ɵ)
Plot Tb(cos2(Ɵ))
We don’t know Y a priori
Tb=10.554ns
Kl(Y=0)=35,39eV->88,1°
Kl(Y=-3)=30,02eV->88,25°
Kl(expected)=43.17eV->87,9°
Cos2(Ɵ) * K (measured)
10,554
Obtained from tracker simulations

## Slide 43: Antenna Region: possible geometries
Rectangular waveguide
Free-space: pin antenna
Free-space: spare ribs
PRELIMINARY