## Slide 1: ST update2
gtraini

## Slide 2: A lot of inconsistencies…
Clock syncronisation ,WaveDAQ load, noise, signal shape and amplitude, wavedream type…
I started from the most straightforward and manageable issue: noise

## Slide 3: ST signal (sum)
Time [ns]
Amplitude [V]
Noise seems to have at least one component @ ~ 200 MHz
Goal: fourier analysis and filtering attempt…

## Slide 4: FFT
FFT implemented in shoe (ROOT libraries), still to be pushed
Clear peaks due to noise

## Slide 5: Filter
A lot of quick attempts (smoothing, high-pass, peak finder to look for noise peak…)
I show you just the best (at present) option: rough cut on single frequencies “by hand”
Process: FFT -> filter -> inverse FFT
Orig.
Inv.FFT

## Slide 6: Effect on th ST
Rise time enhancement
Noise reduction
Amplitude lowering

## Slide 7: Time of flight
From 86ps to 71 ps tof resolution
Good improvement, we are closing to CNAO2021