## Slide 1
X, Gamma and charged particles
for
PBR
20/12/2023
F. Bisconti, M. Casolino, C. DeSantis,
Marcelli, L. Marcelli,
Z. Plebaniak, E. Reali

## Slide 2
From JFK

## Slide 3
From JFK

## Slide 4
TGF, TLEs (elves)
ELVES toward the limb
ToO events, GRB, Cherenkov
Charged particles

## Slide 5
x/g

## Slide 6
SBP3:
Fluorescence camera
Goal:
A lot of simulations needed to figure out what can really be seen + the optimum pointing strategy
+ Cherenkov camera
Same telescope
Tiltable, from 0°to 90°
Fluorescence: CR showers (nadir+inclined) + High-altitude CRs showers (tilted)
Cherenkov: CRs + neutrinos (tilted)
[+ anitons (nadir)]
Optics: same design, maybe larger + bifocal only for CT to be studied
Auxiliary devices: IR, Radio, gamma-ray, X-ray, SQM
The future is bright!
2026
E. Parizot, 16/6/2023

## Slide 7
ASIM observations

## Slide 8: Tentative location
30kg (can be reduced)

## Slide 9
10 cm *10 cm
g
low
g
high
e- p
X
Data handling
Front-end
Logic (AC, trigg)
Detectors
g
e-p
e-p
e-p
Anticoincidence
Shielding
g
Detectors
Front-end
Electronics
2cm diam
Heater
Block Scheme
10 cm
20 cm
Front-end
Interfaces
Mechanics
Low energy
/
Berillium cap

## Slide 10
660 keV Cs137 Fukushima soil
Cosmo Ardui SiPM

## Slide 12: 660 keV Cs137 Fukushima soil
Analog readout / shaper sample/hold

## Slide 13: X-ray (in direct counting mode) E<10keV
Pin probably need high radiation
SiPM with crystal

## Slide 14: Lutetium 176 in Lyso

## Slide 15: Gamma Spectrometer with anticoincidence <
Analogic sum
CsI scintillator
SiPM
Shaper
Sample and hold
Threshold
Reset
Anticoincidence
(CsI Cristal  plastic)

## Slide 16: Anticoincidence system test

## Slide 17: Gamma Spectrometer with anticoincidence
g
e-/p
Shielding, Lead (W)
ASI / INFN funding
WP 4100 Aggiornamento su stato rivelatori gamma/X
26 degrees
Anticoincidence
Detector

## Slide 18
E
Piedistalli
Elettronica
30 keV
K shell
280 keV
180 deg
Compton in Pb
660keV
Cs137-> Ba disex
Compton
edge in CSI
80 keV
Spectrum of Cs137

## Slide 20
Calibration (Thorium chain)

## Slide 21: Calibration (Thorium chain)
Source: https://gammaspectacular.com/blue/th232-spectrum

## Slide 22: Gauss fit on the peaks – Scionix grande
Fit Peaks | Sigma
69.87456169756804 | -4.214187206155576
115.01183613902653 | -7.654448832653876
197.61497127812933 | 8.78995153215158
257.1479126267751 | 6.909449043175105
307.8117173442213 | 4.976473158076842

## Slide 23: 40K - KCl
Converting from ADC to kEv using the calibration we get a value near 1461 kEv
Source: https://en.wikipedia.org/wiki/Potassium_chloride

## Slide 24: Calibration curve and resolution

## Slide 25: Cross-check with Cs-137
Converting from ADC to kEv using the calibration we get a value near 660 kEv
Source: https://en.wikipedia.org/wiki/Caesium-137

## Slide 26: Correspondence with literature results for Scionix piccolo
Source: https://gammaspectacular.com/blue/th232-spectrum

## Slide 27: Gauss fit on the peaks – Scionix piccolo
Fit Peaks | Sigma
68.79107914042386 | 6.072847303523081
123.21536091594609 | 7.795308842960096
164.60146349903812 | 11.392989781511364
199.1809782044625 | 5.920827376930202

## Slide 28: Calibration curve and resolution – Scionix piccolo

## Slide 29: Proof of good calibration for Scionix piccolo: Cs-137
Converting from ADC to kEv using the calibration we get a value near 660 kEv
Source: https://en.wikipedia.org/wiki/Caesium-137

## Slide 30
Thorium
Cesium

## Slide 31
Charged particle
Stack of Scintillators with SIPM
Coincidence
TOF?
Charged count (Galactic, SPEs), background
Correlation with CT FT
(part of shower, ToO)

## Slide 32: Block Scheme
Ethernet
(to/from Hub)
Power
Detector
CPU
Gamma
X
Charged
Readout
Clock/GPS
Trigger?
Cosmo
SiPM

## Slide 33: From Giuseppe
SiPM
fluo
CLOCK
Power

## Slide 34: Open points
Weight: about 30kg including cables power etc
Can be improved, most is shielding.
Power: about 30 W
Pointing direction: field of view 26 deg
Mechanics, shielding (common, individual)
Acquisition modes: histogram, self triggered (trigger scheme)
Clock synchronization
External trigger (receive) (send)

## Slide 38
Caesium, small scint.

## Slide 39
Thorium, small scint.

## Slide 40
Calibr small scint.

## Slide 41
Thorium, large scint.

## Slide 42
Calibration large scint.

## Slide 45: 660 keV Cs137 Fukushima soil
Analog readout / shaper sample/hold

## Slide 46: Cs137 from Fukushima soil

## Slide 47: Thorium
Up to 3MeV
Cut at -650mV
-0.3V/MeV

## Slide 48: Lutetium 176 in Lyso

## Slide 50: Calibration with Thorium and Cesium
y = 8 keV/ADC + 21 keV

## Slide 51: X-ray (in direct counting mode) E<10keV

## Slide 52: Detectors with anticoincidence
g
e-/p
Charged / gamma

## Slide 53: Gamma Spectrometer with anticoincidence
Analogic sum
CsI scintillator
SiPM
Shaper
Sample and hold
Threshold
Reset
Anticoincidence
(CsI Cristal  plastic)

## Slide 54: Rivelatori gamma

## Slide 55
Thorium
Cesium

## Slide 56
Charged particle
Charged count (Galactic, SPEs)
Correlation with CT FT
(part of shower, ToO)

## Slide 57: Block Scheme
Ethernet
(to/from Hub)
Power
DETECTORS
CPU
Gamma
X
Charged
FPGA
FPGA/CPU
Clock/GPS
Trigger?

## Slide 58: Open points
Weight: about 30kg
Power: about 30 W
Pointing direction: field of view
Mechanics, shielding
Acquisition modes: histogram, self triggered (trigger scheme, coo
Clock synchronization
External trigger

## Slide 67: Terra

## Slide 68: VOLO

## Slide 69: VOLO

## Slide 70: VOLO