## Slide 1: Beam Diagnostics for Plasma Accelerators
Dr Joseph Wolfenden
EuPRAXIA-DN School on Plasma Accelerators
Orto Botanico di Roma, 22-26 April 2024

## Slide 2: Overview
Dr Joseph Wolfenden EuPRAXIA-DN School on Plasma Accelerators
What are we measuring and why?
Common diagnostic problems
  Charge
  Losses
  Position
  Transverse Emittance
  Longitudinal Profile

## Slide 3: What are we measuring and why?
Dr Joseph Wolfenden EuPRAXIA-DN School on Plasma Accelerators
Particle beam is a 6D phase space of N particles
Lots of complex/interesting projections and correlations

## Slide 4: What are we measuring and why?
Dr Joseph Wolfenden EuPRAXIA-DN School on Plasma Accelerators
For a particular bunch we commonly want to know:
  Transverse position - ,
  Propagation angle - ,
  Transverse size - ,
  Divergence - ,
  Transverse emittance - ,
  Energy -
  Energy spread -
  Bunch Length -
  Charge -
Where is the beam? Where is it going?
What is the spatial beam size? What is the angular beam size?
Beam quality?
What is the bunch energy? How long is the beam? How is this changing?
How much beam is there/lost?

## Slide 5: What are we measuring and why?
Dr Joseph Wolfenden EuPRAXIA-DN School on Plasma Accelerators
Measuring vs Monitoring
Measuring:
  Very precise result
  May take multiple data points to achieve
  Invasiveness ok – the beam can be destroyed in the process
Monitoring:
  Precision may not be as important
  Often closer to single-shot
  Non-invasive as a rule – the beam can be applied to something else

## Slide 6
Transverse Emittance

## Slide 7: Transverse emittance – current methods
Dr Joseph Wolfenden EuPRAXIA-DN School on Plasma Accelerators
Emittance measurements are reliant on profile measurements
Generally, beam is used to generate radiation
Radiation properties map to beam properties
  Scintillation
  Transition radiation
  Synchrotron radiation
e-
e-
e-

## Slide 8: Transverse emittance – current methods
Dr Joseph Wolfenden EuPRAXIA-DN School on Plasma Accelerators
Emittance measurements are reliant on profile measurements
Generally, beam is used to generate radiation
Radiation properties map to beam properties
  Scintillation
  Transition radiation
  Synchrotron radiation
e-
σx = 90 um
CLARA (T. Pacey)
e-
e-
σx = 100 um (σy = 2 um)
Diamond (J. Wolfenden)
>10nC
σx = 150 um
CLEAR (J. Wolfenden)
700pC

## Slide 9: Transverse emittance – current methods
Dr Joseph Wolfenden EuPRAXIA-DN School on Plasma Accelerators
Many other methods
Used in many diagnostics
  Positioning
  Beam size
  Emittance
  Energy
  …
σx = 150 um
CLEAR (J. Wolfenden)
700pC
First Beam in the LHC 8/8/2008
Image: T. Pacey

## Slide 10: Transverse emittance – current methods
Dr Joseph Wolfenden EuPRAXIA-DN School on Plasma Accelerators
Beam Envelope
The most common method of calculating emittance is a quadrupole scan
This can be achieved in two ways:
Screen
Quadrupole
Multi-screen
L1
L2
L3
Ln

## Slide 11: Transverse emittance – current methods
Dr Joseph Wolfenden EuPRAXIA-DN School on Plasma Accelerators
Beam Envelope
The most common method of calculating emittance is a quadrupole scan
This can be achieved in two ways:
Screen
Quadrupole
Multi-screen
L
Multi-current
Kn

## Slide 12: Transverse emittance – current methods
Dr Joseph Wolfenden EuPRAXIA-DN School on Plasma Accelerators
Beam Envelope
Screen
Quadrupole
L
Kn
K

## Slide 13: Transverse emittance – current methods
Dr Joseph Wolfenden EuPRAXIA-DN School on Plasma Accelerators
Beam Envelope
Screen
Quadrupole
L
Kn
K
[1]

## Slide 14: Transverse emittance – current methods
Dr Joseph Wolfenden EuPRAXIA-DN School on Plasma Accelerators
Beam Envelope
Screen
Quadrupole
L
Kn
Two main limiting factors:
  Multiple measurements require a beam stability
  Energy spread from a plasma accelerator is typically >1%
[2]

## Slide 15: Transverse emittance - Butterfly
Dr Joseph Wolfenden EuPRAXIA-DN School on Plasma Accelerators
Use large energy spread to produce a single-shot quadrupole scan
[3, 4]

## Slide 16: Transverse emittance - Butterfly
Dr Joseph Wolfenden EuPRAXIA-DN School on Plasma Accelerators
Known as a butterfly scan
[3, 4]

## Slide 17: Transverse emittance – Pepper-pot
Dr Joseph Wolfenden EuPRAXIA-DN School on Plasma Accelerators
Single-shot alternative - pepper-pot
Possible to build a phase space map
Can also calculate emittance directly from image
Image: C. Welsch
[5,6]
Image: C. Welsch

## Slide 18: Transverse emittance – Pepper-pot
Dr Joseph Wolfenden EuPRAXIA-DN School on Plasma Accelerators
Applications can be complex due to specific beam requirements
Limited to ~1 mm mrad
Difficult to manufacture
  Apertures
  Thickness
Limited to low energy
[7,8]
Image: Radiabeam

## Slide 19: Transverse emittance – Optical mapping
Dr Joseph Wolfenden EuPRAXIA-DN School on Plasma Accelerators
Alternative is to map the optical phase space
Non/minimally invasive optical radiation sources can be used
Divergence resolution increase with energy
Pellicle Beamsplitter
Micro-Lens Array
Image: Thorlabs
[9,10]

## Slide 20: Transverse emittance – Optical mapping
Dr Joseph Wolfenden EuPRAXIA-DN School on Plasma Accelerators

## Slide 21: Transverse emittance – Optical mapping
Dr Joseph Wolfenden EuPRAXIA-DN School on Plasma Accelerators
Spatial
Angular

## Slide 22: Transverse emittance - Betatron
Dr Joseph Wolfenden EuPRAXIA-DN School on Plasma Accelerators
Electrons travelling inside an ion channel can undergo Betatron oscillations, producing incoherent x-rays – Betatron radiation
The resulting spectrum is an incoherent sum over the spectra of the individual electrons
[11]

## Slide 23: Transverse emittance - Betatron
Dr Joseph Wolfenden EuPRAXIA-DN School on Plasma Accelerators
Transverse beam size can be deduced from the critical frequency
Using independent measurements of divergence and energy, the normalised emittance can be inferred
[12]

## Slide 24
Longitudinal Profile

## Slide 25: Longitudinal profile
Dr Joseph Wolfenden EuPRAXIA-DN School on Plasma Accelerators
Depends!
>1 ps (>0.3mm for )
  Streak camera
<1ps
  Spectrometry
  Interferometry
  Transverse Deflecting cavity
  Electro-optical
  Dielectric structures
  …
[13,14,15]

## Slide 26: Longitudinal profile – Streak camera
Dr Joseph Wolfenden EuPRAXIA-DN School on Plasma Accelerators
Streak cameras are well developed standardised equipment
Highest resolution achievable ~200fs, but generally worse than this
Image: Hamamatsu
[16]

## Slide 27: Longitudinal profile – Streak camera
Dr Joseph Wolfenden EuPRAXIA-DN School on Plasma Accelerators
Resolution is fundamentally limited, by:
  Time dispersion of the photo-electrons
  Space charge effects of the photo-electrons
  Timing jitter when stacking multiple images
Image: Hamamatsu
[16]

## Slide 28: Longitudinal profile – Deflecting cavity
Dr Joseph Wolfenden EuPRAXIA-DN School on Plasma Accelerators
Highly regarded and commonly used - resolution ~1fs
Type of RF cavity used to excite a transverse mode
Maps longitudinal profile into the transverse plane for imaging
[14,17]

## Slide 29: Longitudinal profile – Deflecting cavity
Dr Joseph Wolfenden EuPRAXIA-DN School on Plasma Accelerators
Expensive!
Destructive to the beam – no online monitoring
[14,17]

## Slide 30: Longitudinal profile – Form factor
Dr Joseph Wolfenden EuPRAXIA-DN School on Plasma Accelerators
Spectroscopy and Interferometry aim to reconstruct the bunch form factor
Related to the longitudinal profile by a Fourier transform
A measure of the frequency content of the bunch

## Slide 31: Longitudinal profile – Form factor
Dr Joseph Wolfenden EuPRAXIA-DN School on Plasma Accelerators
Spectroscopy measures intensity as function of frequency directly
Interferometry measures correlation to infer form factor structure

## Slide 32: Longitudinal profile - Spectroscopy
Dr Joseph Wolfenden EuPRAXIA-DN School on Plasma Accelerators
[18]

## Slide 33: Longitudinal profile - Spectroscopy + VD
Dr Joseph Wolfenden EuPRAXIA-DN School on Plasma Accelerators
[19,20]

## Slide 34: Longitudinal profile - Interferometry
Dr Joseph Wolfenden EuPRAXIA-DN School on Plasma Accelerators
[21]

## Slide 35: Longitudinal profile – EO sampling
Dr Joseph Wolfenden EuPRAXIA-DN School on Plasma Accelerators
Electro-Optical Sampling makes use of the Pockels effect
Fs-scale laser pulse is sent through an EO crystal
Bunch electric field changes refractive index of crystal
[9,22]

## Slide 36: Longitudinal profile – EO sampling
Dr Joseph Wolfenden EuPRAXIA-DN School on Plasma Accelerators
Resolution is limited mainly by lattice resonances in the crystals
GaP is currently “best” at 54fs
[9,22]

## Slide 37: Thank you for your attention! Open Questions?
Dr Joseph Wolfenden
EuPRAXIA-DN School on Plasma Accelerators
Orto Botanico di Roma, 22-26 April 2024

## Slide 38: References
Dr Joseph Wolfenden EuPRAXIA-DN School on Plasma Accelerators
K. Floettmann, Phys. Rev. ST Accel. Beams 6, 034202 (2003), doi.org/10.1103/PhysRevSTAB.6.034202
A. Mostacci et al., Phys. Rev. ST Accel. Beams 15, 082802 (2012), http://dx.doi.org/10.1103/PhysRevSTAB.15.082802
S. K. Barber et al., Plasma Phys. Control. Fusion 60, 054015 (2018), https://doi.org/10.1088/1361-6587/aab6cd
J. Chappell et al., Proc. IPAC2019, Melbourne (2019), THPGW067, https://doi.org/10.18429/JACoW-IPAC2019-THPGW067
M. Zhang, Tech. Rep. FERMILAB-TM-1998, (1998), https://lss.fnal.gov/archive/test-tm/1000/fermilab-tm-1988.pdf
S. Fritzler et al., Phys. Rev. Lett. 92, 16 (2004), https://doi.org/10.1103/PhysRevLett.92.165006
A. Cianchi et al., Nucl. Instrum. Methods Phys. Res. A 720, 153-156 (2013), https://doi.org/10.1016/j.nima.2012.12.012
O. Apsimon et al., Nucl. Instrum. Methods Phys. Res. A 943, 162485 (2019), https://doi.org/10.1016/j.nima.2019.162485
F. Bisesto et al., Nucl. Instrum. Methods Phys. Res. A 909, 364 (2018), https://doi.org/10.1016/j.nima.2018.02.059
A. Cianchi et al., Nucl. Instrum. Methods Phys. Res. A 865, 63-66 (2017), http://dx.doi.org/10.1016/j.nima.2016.11.063
B. Williamson et al., Nucl. Instrum. Methods Phys. Res. A 971, 164076 (2020), https://doi.org/10.1016/j.nima.2020.164076
S. Kneip et al., Phys. Rev. ST Accel. Beams 15, 021302 (2012), http://dx.doi.org/10.1103/PhysRevSTAB.15.021302

## Slide 39: References
Dr Joseph Wolfenden EuPRAXIA-DN School on Plasma Accelerators
M. Mahgoub et al., Proc. IPAC2012, New Orleans (2012). MOPPP032, https://accelconf.web.cern.ch/IPAC2012/papers/moppp032.pdf
J. Makenzie, Thesis (2018), https://livrepository.liverpool.ac.uk/3031981/1/200845969_Aug2018.pdf
B. Steffen et al., Proc. DIPAC09, Basel (2009), TUPB42, https://accelconf.web.cern.ch/d09/papers/tupb42.pdf
L. Verra et al., Phys. Rev. Lett. 129, 02480 (2022), https://doi.org/10.1103/PhysRevLett.129.024802
Y. Saveliev et al., Phys. Rev. Accel. Beam 25, 081302 (2022), https://doi.org/10.1103/PhysRevAccelBeams.25.081302
B. Schmidt et al., Phys. Rev. Accel. Beams 23, 062801 (2020), https://journals.aps.org/prab/pdf/10.1103/PhysRevAccelBeams.23.062801
A. Hanuka et al., Sci. Rep. 11, 2945 (2021), https://doi.org/10.1038/s41598-021-82473-0
T. Maxwell et al., Phys. Rev. Lett. 111, 184801 (2013), http://dx.doi.org/10.1103/PhysRevLett.111.184801
A. Curcio et al., Phys. Rev. Accel. Beams 23, 022802 (2020), https://doi.org/10.1103/PhysRevAccelBeams.23.022802
R. Pan et al., Nucl. Instrum. Methods Phys. Res. A 821, 8-12 (2016), https://doi.org/10.1016/j.nima.2016.03.043