## Slide 1: Introduction to Plasma Diagnostics
Zulfikar Najmudin
especially for diagnosing Plasma Accelerators!
EuPRAXIA-SS, Frascati, 24-04-2024

## Slide 2: Plasma
Density / Temperature plot
Plasmas (most) generally characterised by their density and temperature
Range > 107 in Te and 1030(!) in ne
Two most important plasma parameters:
wakefield
ion source
Image: The Contemporary Physics Education Project/www.CPEPphysics.org

## Slide 3: Plasma Diagnostics
Density / Temperature plot
Some diagnostics that are not appropriate for plasma accelerators:
space craft
probes
coils
gravity waves
Ideally diagnostics are non-invasive, could be:
low intensity electromagnetic waves
low intensity particle probes
Image: The Contemporary Physics Education Project/www.CPEPphysics.org
wakefield
ion source

## Slide 4: Density Diagnostics

## Slide 5: Electromagnetic probes
The refractive index of a plasma

## Slide 6: Electromagnetic probes
The refractive index of a plasma

## Slide 7: Electromagnetic probes
Critical Density
Sweep microwave source until no transmission.
Density then at critical density where
, ➜

## Slide 8: Electromagnetic probes
The refractive index of a plasma
Direction of motion

## Slide 9: Electromagnetic probes
The refractive index of a plasma

## Slide 10: Electromagnetic probes
The refractive index of a plasma

## Slide 11: Electromagnetic probes
Interferometry basics
Note fringes are formed at infinity but can be ‘localised’ by using a lens
So constructive interference if

## Slide 12: Electromagnetic probes
Interferometric imaging
For small angular tilt of mirror, moving x along the mirror gives extra delay (assuming is small):
So neighbouring fringes at:
which gives a fringe spacing:
fringes already localised

## Slide 13: Electromagnetic probes
Types of interferometer: Michelson interferometer
By Albert Abraham Michelson (1852 – 1931) with Edward Morley (1838 - 1923) - aip.org, Public Domain, https://commons.wikimedia.org/w/index.php?curid=5807458
By Alain Le Rille - Own work, CC BY-SA 2.5, https://commons.wikimedia.org/w/index.php?curid=1577962

## Slide 14: Electromagnetic probes
Types of interferometer: Mach-Zender interferometer

## Slide 15: Electromagnetic probes
Types of interferometer: Mach-Zender interferometer

## Slide 16: Electromagnetic probes
Types of interferometer: Nomarksi

## Slide 17: Electromagnetic probes
Types of interferometer: Farby-Perot Cavity
By User:Stigmatella aurantiaca, CC BY-SA 3.0, https://commons.wikimedia.org/w/index.php?curid=30144455
By ​English Wikipedia user DrBob, CC BY-SA 3.0, https://commons.wikimedia.org/w/index.php?curid=6409024

## Slide 18: Electromagnetic probes
LIGO
By Abbott, B. P. et al. - Observation of Gravitational Waves from a Binary Black Hole MergerB. P. Abbott et al. (LIGO Scientific Collaboration and Virgo Collaboration)Phys. Rev. Lett. 116, 061102 doi:10.1103/PhysRevLett.116.061102, CC BY 3.0, https://commons.wikimedia.org/w/index.php?curid=46922746
LIGO Livingston, Louisiana,

## Slide 19: Electromagnetic probes
Analysing interferometers
To find density profile, three steps:
  find phase delay
  unwrap phase jumps
  Abel inversion

## Slide 20: Electromagnetic probes
Analysing interferometers: phase retrieval
Mathematically interferogram is:
retrieved phase

## Slide 21: Electromagnetic probes
Analysing interferometers: phase unwrap
what to do if phase change exceeds 2π?
Volvo unwrap take gradient of

## Slide 22: Electromagnetic probes
Analysing interferometers: Density determination
If density is uniform along plasma length then it is straightforward to find the density using:

## Slide 23: Electromagnetic probes
Analysing interferometers: Density determination
If density is uniform along plasma length then it is straightforward to find the density using:

## Slide 24: Electromagnetic probes
Analysing interferometers: Density determination
If cylindrical symmetry can be assumed, then can do a Abel inversion
Otherwise need multiple viewing angles (tomography)

## Slide 25: Electromagnetic probes
Analysing interferometers: Density determination
If cylindrical symmetry can be assumed, then can do a Abel inversion
Otherwise need multiple viewing angles (tomography)

## Slide 26: Electromagnetic probes
Shadowgraphy
Transverse gradients of refractive index can cause deflection of the beam
  source of error for interferograms
  can be used as a diagnostic

## Slide 27: Electromagnetic probes
Shadowgraphy
𝛅𝜽
k0
k1
kʹ
We have,
and
then,
but , so

## Slide 28: Electromagnetic probes
Shadowgraphy
Only if is changing is there a change in spacing of rays:
a change in causes intensity variation

## Slide 29: Electromagnetic probes
Shadowgraphy
Sävert, A., et al. (2015). Direct Observation of the Injection Dynamics of a Laser Wakefield Accelerator Using Few-Femtosecond Shadowgraphy. Physical Review Letters, 115(5). https://doi.org/10.1103/PhysRevLett.115.055002
microscope
CCD
gas jet
ultrashort probe (< 10fs)
drive laser,
1 J, 30fs

## Slide 30: Temperature diagnostics

## Slide 31: Temperature diagnostics
Spectroscopy
Plasma emit a combination of blackbody radiation and line emission.
Black body radiation from tenuous plasmas is usually weak
If sufficiently hot line emission will dominate blackbody radiation

## Slide 32: Temperature diagnostics
Spectroscopy - examples
longer pulse

## Slide 33: Temperature diagnostics
Spectroscopy - line broadening
Natural width of an atomic transition of energy
where (sum of Einstein coefficients)
then line shape is Lorentzian:

## Slide 34: Temperature diagnostics
Spectroscopy - Doppler broadening
Doppler shift due to thermal motion:
which gives a (Gaussian) line shape:
      where and

## Slide 35: Temperature diagnostics
Spectroscopy
At high pressure, lines can also be broadened by ‘constant collision’ with fields of neighbouring ions (Stark effect). This also gives a Lorentian shape but is usually negligible in coronal plasma.
Convolution of Lorentzian and Gaussian profiles is called a Voigt profile. The two effects can be separated to give only the thermal spread.
Additionally further broadening of the Lorentzian (by Stark broadening) can also give density (though difficult).
Stark broadened line shape

## Slide 36: Temperature diagnostics
Spectroscopy can also be used to determine the presence of ‘impurity’ atoms
dopant added to one cell of gas cell to initiate ionisation injection
Spectroscopy
Pollock, B. B., et al (2011). Demonstration of a Narrow Energy Spread, similar to 0.5 GeV Electron Beam from a Two-Stage Laser Wakefield Accelerator. Physical Review Letters, 107(4).

## Slide 37: Temperature diagnostics
Spectroscopy
Spectroscopy can also be used to determine the presence of ‘impurity’ atoms
colour changing due to H outgassing!
Spectroscopy not so useful for ultrafast measurements

## Slide 38: Temperature diagnostics
Radiation
Oscillating electrons will generate radiation ≈ normal to their direction of motion

## Slide 39: Temperature diagnostics
Radiation
Plasma emission typically on a long time scale (~ µsec in a tenuous plasma). However plasma electrons can be made to radiate instantaneously using a intense probe beam

## Slide 40: Temperature diagnostics
Thomson scattering - principles
The fields of an oscillating electron is give by:
And the total intensity scattered is given by:
which for a dipole of frequency and amplitude :

## Slide 41: Temperature diagnostics
Scattering
But in a plasma the field due to different electrons can be correlated - need to add the contributions including full phase information.
The correlation term is given by the structure factor S(k, w):
For Maxwellian distributions, the structure factor can be written in terms of the parameter .

## Slide 42: Temperature diagnostics
Scattering
For Maxwellian distributions, the structure factor can be written in terms of the parameter .
Evans, D. E., & Katzenstein, J. (1969). Laser light scattering in laboratory plasmas. Reports on Progress in Physics, 32(1), 207

## Slide 43: Temperature diagnostics
Thomson scattering
For , scattering ‘scale’ is much smaller than the Debye length. EM waves can probe the individual motions of the electrons.
For , individual motions are ‘averaged’ over, and waves can scatter over the correlated motions of the electrons.
NB correlation can be due to plasma electron oscillations (electron plasma waves), or off electrons whose motion is correlated to ion motion (ion acoustic waves).
is given by the scattering geometry
ki
ks
ks
k
k
large 𝛼
small 𝛼

## Slide 44: Temperature diagnostics
Examples of Thomson scattering
increasing density decreases , so increasing
scattering of a 256 nm KrF laser from an optically self-generated plasma
Offenberger, A. A., et al (1993). Electron temperature of optically ionized gases produced by high intensity 268 nm laser radiation. Physical Review Letters, 71(24), 3983–3986.

## Slide 45: Temperature diagnostics
Thomson scattering from plasma waves
frequency separation of scattered sideband equals
if suitably selected - can directly scatter from a high amplitude plasma wave
Clayton, C. E., (1998). Plasma Wave Generation in a Self-Focused Channel of a Relativistically Intense Laser Pulse. Physical Review Letters, 81(1), 100–103.
self emission
Thomson scattered sideband
input wavelength

## Slide 46: Field diagnostics

## Slide 47: Particle beam probing
Proton probing
Charged particle beams can also be used for probing
Protons from laser-solid interactions can have wide range of time-of-flight to target and fixed stopping range in detector stack
Can be used to detect both electric and magnetic fields
Willingale, L., et al (2011). Proton probe measurement of fast advection of magnetic fields by hot electrons. Plasma Physics and Controlled Fusion, 53(12), 124026.

## Slide 48: Particle beam probing
Proton probing
Proton probing used to measure the dynamics of the space charge expansion that causes ion acceleration in laser-solid interaction
Romagnani, et al (2005). Dynamics of Electric Fields Driving the Laser Acceleration of Multi-MeV Protons. Physical Review Letters, 95(19), 195001.

## Slide 49: Particle beam probing
LWFA generated electron beams can be femtosecond duration, and so short enough to freeze wakefield dynamics
Electron beam probing
Linear
Circular
Plasma Ramp
Wan, Y. et al (2023). Femtosecond electron microscopy of relativistic electron bunches. Light: Science and Applications, 12(1).

## Slide 50: Other diagnostics

## Slide 51: Other things you might be interested about
X-ray emission - particularly from betatron motion - gives information about electron beam size
Kneip, S., et al (2012). Characterization of transverse beam emittance of electrons from a laser-plasma wakefield accelerator in the bubble regime using betatron x-ray radiation. Physical Review Special Topics-Accelerators and Beams, 15(2), 021302.

## Slide 52: Other things you might be interested about
Magnetic fields make plasmas optically active, and causes a Faraday rotation
Kaluza, M., Schlenvoigt, H.-P., Mangles, S., Thomas, A., Dangor, A., Schwoerer, H., Mori, W., Najmudin, Z., & Krushelnick, K. (2010). Measurement of Magnetic-Field Structures in a Laser-Wakefield Accelerator. Physical Review Letters, 105(11), 115002.

## Slide 53: Other things you might be interested about
Sending a probe beam along with a plasma wave can give frequency shifts and so give information about moving refractive index changes
Dong, P. et al. (2010). Holographic visualization of laser wakefields. New Journal of Physics, 12. https://doi.org/10.1088/1367-2630/12/4/045016

## Slide 54: Conclusions
Common density diagnostics:
  interferometry
  deflectometry
Common temperature diagnostics:
  spectroscopy
  Thomson Scattering
Common field diagnostics:
  Proton probing
  electron probing