## Slide 1: ATLAS Phase 2 RPC BI Gas distribution System

## Slide 2: Present Gas System and its extension
For the future BI chambers 5 Racks already used for the legacy system flushed with the same gas mixture are already equipped with the extra- channels needed. The manifolds inside the barrel and the copper pipes through the Racks are yet to be installed
In the present system 9 independent distribution level are served by 9 Racks. All the Rack are connected to the same closed-loop recirculation system flushing the same gas mixture. For the legacy system 128 Input + 128 Output stainless steel manifolds are installed in the barrel and connected to the Racks through copper pipes

## Slide 3
F
F
F
F
F
F
Distr. box
Distr. box
Distr. box
BI RPC Gas system distribution
1 Input + 1 Output stainless steel manifolds per 3 chamber layers per Sector per Side → 2 Input manifolds+ 2 Output manifolds → 32 Input Manifolds+32 Output Manifolds →Total 32 + 4* Gas channels of 1 Input + 1 Output each
1 Flow sensors + 1 Output Check valve per chamber
1 Input impedance per gas volume → 3 per chamber
1 Pressure Sensor per manifold → Total 72 (36 Input + 36 Out)
F
F
F
F
F
F
side C
Side A
Check Valve
Flow Sensor
Gas Input Impedances
Z=0
Z=0
* Additional 4 channels needed for BOR/BOM in sector 11 and 15
Distr. box
Distr. box
Distr. box
Distr. box
Distr. box
Distr. box
Distr. box
Distr. box
Distr. box

## Slide 4
-3- Rack 67 (61.5)
Y.37-02-X2
-6- Rack64
Y.42-02-X7
-5- Rack63
Y.42-02-X4
-2- Rack61
Y.43-05-X0
-7- Rack 68 (64.5)
Y.50-02-X7
6 channels BI sect 4,5,6
8 channels BI sect 2,3,7,8
8 channels BI sect 1,9,10,16
8 channels BI sect 11,15
6 channels BI sect 12,13,14
-6- Rack64
Y.42-02-X7
-5- Rack63
Y.42-02-X4
-4- Rack62
Y.43-03-X1
-3- Rack 67 (61.5)
Y.37-02-X2
-7- Rack 68 (64.5)
Y.50-02-X7
18 channels BI sector 1,2,3,4,5,6,7,8,9
8 Channels BML 3,7 removed
8 channels BML 3,7
untouched
8 channels BML 11,15
14 channels BI sect 10,11,12,13,14,15,16
8 Channels BML 11,15 removed
New BI gas recirculation system
Same gas mixture
Two different gas mixture
Present closed loop gas system
Legacy closed loop gas system
Rack Connections
As feasibility study only:
Not before the END of the LS3

## Slide 5: BI RPCs chambers pressure
Gas mixture hydrostatic Column ~ 0,3mbar/m
Max vertical distance from IP to top of RPC chambers
( Taking into account inclination of beam line by 0.708 degree)
Height from the cavern floor to the IP point is 11370 mm
courtesy of Tatiana Klioutchnikova
Estimated maximum chamber pressure=2.1mb1+0.3mb2+0.3mb3+0.1mb4+0.3mb5=3,1mb
1 hydrostatic pressure; 2 manifolds ∆P; 3 flow sensor ∆P; 4 plastic pipe connection ∆P; 5 Offset

## Slide 6
Sector 3 – manifolds on side of existing cable tray
4 manifolds
distribution
Z0
the safer routing path from the manifolds towards the chambers is along the Voussoir (vertical yellow pipe)
in each side of the Voussoir will be installed a distribution point “BOX” that will serve 2 to 4 chamber.
for the connections from manifolds to BOXES plastic pipe it will be allowed (easy to bent) but the connections must be guaranteed absolutely leak-proof. Possible solution: Tygon 3606 plus metal spiral protection
courtesy of Tatiana Klioutchnikova and Aydin Ozbey
4 manifolds
Gas Manifolds study for Sector 3 side A

## Slide 7
Sector 2 (Side A) has been chosen for the pilot application
Application point

## Slide 8
1
2
3
4
5
6
First Voussoir (Outer Side)
1: BIS 1-4 Sector 2 (4 Ports Gas Input)
2: BIS 1-4 Sector 2 (4 Ports Gas Return)
3: BIL 4-6 Sector 3 (3 Ports Gas Input)
4: BIL 4-6 Sector 1 (3 Ports Gas Return)
Second Voussoir (Outer Side)
5: BIL 7-10 Sector 1 (4 Ports Gas Return)
6: BIL 7-10 Sector 3 (4 Ports Gas Input)
To Z0

## Slide 9
1
2
3
4
5
6
First Voussoir (Outer Side)
1: BIS 1-4 Sector 2 (4 Ports Gas Input)
2: BIS 1-4 Sector 2 (4 Ports Gas Return)
3: BIL 4-6 Sector 3 (3 Ports Gas Input)
4: BIL 4-6 Sector 1 (3 Ports Gas Return)
Second Voussoir (Outer Side)
5: BIL 7-10 Sector 1 (4 Ports Gas Return)
6: BIL 7-10 Sector 3 (4 Ports Gas Input)
To Z0

## Slide 10
BIL Distribution Output Box
BIL Distribution Input Box
BIS Distribution
Box
5
5
5
6
7
8
8
Multiple Tee
Quick Connector
Multiple Tee
Quick Connector
a
a
c
b
c
b
1
2
3
2
1
1
2
3
3
The parts in the dashed areas are in between the Chamber and Box, in a reachable location
BIS3 sect 2
BIL3 sect 3
BIL3 sect 1
a
a
Chamber
Output
Chamber
Input
Chamber
Output
Chamber
Input
8
8
7
8
8
a
Box→ Chamber: PUN-H
Out OD 6mm Natural, In OD 4 mm Silver
Chamber’s Input: PUN-H
OD 4mm Black=Ly0, Green=Ly1, Blue=Ly2
Chamber’s Output: PUN-H
OD 6mm Black=Ly0, Green=Ly1, Blue=Ly2
Chamber’s Inlets: PUN-H
OD 4mm Black=Ly0, Green=Ly1, Blue=Ly2
Tee fitting* 4mm
Multiple Tee 6 mm
Multiple Tee 4 mm
Impedances**: PUN-H OD 4mm length=100 mm
*Those Tee could be placed indifferently inside the chamber’s frame or not, not yet decided
** a needle is mounted inside the pipe to set the proper flow
5
6
7
8
a
b
c
d
6
d
d
Ly0 = Black
Ly1 = Green
Ly2 = Blue

## Slide 11: ATLAS Phase 2 RPC BI LV and HV distribution

## Slide 14: On Chamber Low Voltage cabling and connection
2 conductors 2.5 mm^2 + 2 sense
 LV power 1Ch V Digital
35 m maximum
4m max
Chamber
LV connector on each side:
6 poles  3 pairs LV power (1 per panel)
8 poles  1 pair LV analog +3 pairs Vth  RJ45
Cable branch 1
1 pairs per Panel  6 wires
Flexi Connection: is an Y splitter to be installed in a reachable point in the chamber’s closest Cable Tray. It has two branches and chamber connectors preinstalled.
The Low Voltage in the Flexi is kept controlled by the power supply senses.
The branches must be designed to keep the voltage drop as low as the FRTE requirements.
In the Flexi connection will be placed Test points and Jumper Switches to be able to disconnect a single panel
The connector will be as simple as possible since the Rack cables could be routed without connectors
Cable branch 2
1 pairs per Panel  6 wires
3 pairs VTH +1 pair Vanalog  Cat 5 Ethernet cable
Flexi Connection
Rack Y.aa-bb.Xc
Power Supply:
LV Power  1 Ch Vdigital + sense
LV Control  1 Ch Vth per RO panel + 2 Ch Vanalog (Tot 6 Ch/Chamber)
3 pairs VTH +1 pair Vanalog  Cat 5 Ethernet cable

## Slide 15
BIL+BIS RPC chambers LV connections
Side HV
3x HV CABLES Ø5.2mm
LVDig Cable
(6 wire 1mm^2)
LVDig Cable
(6 wire 1mm^2)
Vth 3 pairs + Van 1 pair CAT 5 Ethernet
Igap RO Cable 3 pairs + 1 pair spare CAT 5 Ethernet
Vth 3 pairs + Van 1 pair CAT 5 Ethernet Ø5.5mm
Gas In
Sensors 1 cable 2 pair T, RH, 1 pair Power, 1 pair spare
CAT 5 Ethernet Ø5.5mm
Ly0 = Black
Ly1 = Green
Ly2 = Blue
Ly0
Ly1
Ly2
Ly0
Ly1
Ly2
Gas Inputs
Gas Outputs

## Slide 17
BIL side A
BIS side A
BIL side C
BIS side C
1 Rack for a double sector BI+BIS
quite crowded even for standard sectors

## Slide 18: Studio sistemi ricircolo PP1

## Slide 19
Pump
Valve
Flow Meter
Needle valve
Chamber
A
Oxygen Sensor
Flow
PT
PT
High pressure
Low pressure
Fresh Input
Vent
Test system
OUT
IN
Safety Bubbler
IN
Purifier Vessel
OUT
Dehumidifier
Peltier
Humidity sensor
RH

## Slide 20
Pchamber
Pchamber

## Slide 22: Last but not least: Corso Nazionale INFN Gas per i rivelatori di particelle