## Slide 1
Streak camera diagnostic for
high-power laser-matter interactions
J. Filardi¹, D. Giulietti¹, M. Cipriani², M. Scisciò², F. Consoli²
¹University of Pisa, Physics Department
²ENEA, Fusion and Technologies for Nuclear Safety Department

## Slide 2
Streak cameras
Time-resolved information on plasma evolution
Problem: converting streaked image into quantitative data
Accurate emission modeling required
Emission dependency on electron density, temperature and wavelength
Further extracted information:
  Ion sound speed
  Plasma position
Bottom right: raw streak data from Ref.[1]

## Slide 3
Plasma emission
Free-free absorbtion coefficient
Wavelength λ
Electron number density
Ion number density (atomic number Z)
Electron temperature
Gaunt factor for Inverse Bremsstrahlung
with γ=0.544

## Slide 4
Plasma emission
Free-bound absorbtion coefficient (per neutral atomic species)
Neutral atom number density
Saha equation to calculate
Electron-neutral atom scattering cross-section
Binary Encounter-Bethe model for
Bound-bound absorbtion coefficient (for relevant bands centered on )
Oscillator number
Band cross section
Atom number density n

## Slide 5
Plasma emission
Detailed balancing in Local Thermal Equilibrium
Luminous intensity I variation per plasma unit length dl
Bound-bound cross section can be neglected for visible spectra
with η(λ) emissivity per unit wavelength

## Slide 6
Developing a Synthetic
Test on toy model (1D simple plasma expansion into vacuum at constant electron temperature) on visible range.
Emulation of laser-generated plasma in front of an undercritical foam target
Starting profile is gaussian (200 μm half-width, density peak, electron temperature )
1D velocity v
Electric field Φ
Dielectric constant
Solved numerically assuming self-similar motion

## Slide 7
Developing a Synthetic
Calculate absorbtion coefficients and emissivity from density and temperature profile
Integrate over specral range sampled from streak camera datasheet (model C5680-N5716)

## Slide 8
Conclusions
How to proceed?
Test x-ray emission for relevant atomic species and ions
Test with simulation profiles and compare to experiments
Account streak pixel overlap
Direct integration in simulation code (FLASH code)
Relative orders of magnitude in luminous intensity for different parameters are compatible with experimental data [1]
Free-free and free-bound effects scale correctly for commonly used plasma chemical compositions (4-5 orders of magnitude for visible light)
Dominant density and temperature scaling

## Slide 9
Thank you for your attention
References:
-[1] Cipriani, M., Gus’kov, S. Yu., De Angelis, R., Consoli, F., Rupasov, A. A., Andreoli, P., Cristofari, G., & Di Giorgio, G. (2018). Laser-driven hydrothermal wave speed in low-Z foam of overcritical density. In Physics of Plasmas (Vol. 25, Issue 9). AIP Publishing. https://doi.org/10.1063/1.5041511
-Hoffman, J., Moscicki, T., & Szymanski, Z. (2011). The effect of laser wavelength on heating of ablated carbon plume. In Applied Physics A (Vol. 104, Issue 3, pp. 815–819). Springer Science and Business Media LLC. https://doi.org/10.1007/s00339-011-6420-2
-J. Richter, in Plasma Diagnostics, ed. by A.A. Lochte-Holtgreven (North Holland, Amsterdam, 1968)
-F. Cabannes, J.C. Chapelle, in Reactions Under Plasma Conditions, ed. by M. Venugopalan (Wiley, New York, 1971)
-Tanaka, H., Brunger, M. J., Campbell, L., Kato, H., Hoshino, M., & Rau, A. R. P. (2016). Scaled plane-wave Born cross sections for atoms and molecules. In Reviews of Modern Physics (Vol. 88, Issue 2). American Physical Society (APS). https://doi.org/10.1103/revmodphys.88.025004
-Physics of Shock Waves and High-Temperature Hydrodynamic Phenomena (Zeldovich Ya.B., Rajzer Yu.P.)