## Slide 1: Diagnostics for plasma acceleration and secondary radiation sources for EuAPS project at FLAME laser facility
Federica Stocchi
University of Rome Tor Vergata & INFN-LNF
On behalf of SPARC_LAB collaboration

## Slide 2
Laser WakeField Acceleration (LWFA)
A plasma is an ionized gas and plays the role of the accelerating structure.
Accelerating electric field is achieved from charge separation, driven by a high intensity ( ) and ultra-short (tens of fs) laser pulse
The electric field of the driver pushes away plasma electrons: a bubble-like structure is produced.
A huge electric field is established inside the bubble
If the laser pulse is intense enough, plasma electrons from back of the bubble can be self-injected accelerate.
Laser WakeField-based accelerators can produce accelerating gradients up to several hundred GV/m
Accelerator size: mm-cm

## Slide 3
Betatron radiation from LWFA
Longitudinal electric field acceleration along the laser propagation axis
Radial electric field oscillations in the plasma channel around the reference trajectory
Emission of synchrotron-like radiation: Betatron radiation

## Slide 4
Betatron radiation from LWFA
Longitudinal electric field acceleration along the laser propagation axis
Radial electric field oscillations in the plasma channel around the reference trajectory
Emission of synchrotron-like radiation: Betatron radiation
Short pulse duration (as a FEL) in the fs range
Broad energy spectrum (as a synchrotron) from soft to hard X-rays
Spatially coherent, photons per shot and high peak brilliance

## Slide 5
SPARC_LAB facility
SPARC_LAB: Source for Plasma Accelerators and Radiation Compton with Lasers And Beams. It is a multidisciplinary TEST Facility composed by a high-brightness LINAC and the high-power laser FLAME (Frascati Laser for Acceleration and Multidisciplinary Experiments).
SPARC Bunker
FLAME Bunker
M. Ferrario, et al. NIM B 309 (2013): 183-188
M. Galletti, F. Stocchi, et al. Appl.Sci 2024, 14, 8619
FLAME facility
Energy | 6 J
Duration (FWHM) | 30 fs
Wavelength | 800 nm
Repetition rate | 10 Hz
Peak power | 200 TW
Intensity | 
Energy | 6 J
Duration (FWHM) | 30 fs
Wavelength | 800 nm
Repetition rate | 10 Hz
Peak power | 200 TW
Intensity | 
Laser parameters

## Slide 6
EuAPS project
High repetition lasers
L. Labate (CNR)
4.863.150,00
Betatron X rays source
A. Cianchi (Tor Vergata)
7.864.500,00
9.457.088,00
High power lasers
P. Cirrone (INFN)
Principal Investigator
M. Ferrario (INFN)
22.350.588,00
Management & Financial office
A. Falone (INFN)
Courtesy A. Cianchi
The EuPRAXIA Advanced Photon Sources project, includes the development of a high-power laser at INFN-LNS, a high repetition rate laser at CNR Pisa and a radiation source will be hosted at LNF-INFN

## Slide 7
EuAPS project
Intensity [W c] | 
Plasma density [ | 
Repetition rate [Hz] | 1 - 5
Electron energy [MeV] | 100 - 500
Photon [keV] | 1 - 10
per pulse | 
Repetition rate [Hz] | 1 - 5
Electron energy [MeV] | 100 - 500
 | 1 - 10
In the EuPRAXIA Advanced Photon Sources project, the high-power laser FLAME will be the driver of the plasma-based accelerator for the “betatron” X-ray user facility at the SPARC_LAB laboratory.
Layout of the interaction and user chamber in SPARC bunker
Expected parameters
Courtesy V. Lollo

## Slide 8
Experimental setup @FLAME
CCD-X
Al filter
Beam charge monitor
X-ray
Nozzle

## Slide 9
Experimental setup @FLAME
Nozzle

## Slide 10
Experimental setup @FLAME
Laser diagnostics in the interaction chamber:
laser pulse is focused using a gold-coated, 15-degree OAP mirror with at the target (gas-jet) position;
a camera, equipped with a 10x microscopic objective is used to measure the spot;
transverse diameter of 18 m.
Nozzle

## Slide 11
Experimental setup @FLAME
(a)
(b)
3 mm nozzle

## Slide 12
Experimental setup @FLAME
(a)
(b)
3 mm nozzle
Plasma diagnostics in the interaction chamber:
a Mach-Zehnder interferometer coupled with a probe beam ( 40 mJ, 40 fs, 10 Hz) is used for plasma diagnostics;
a CCD camera detects the resulting interference fringes
  uniform fringes without the plasma channel;
  fringes with different shapes with the plasma channel;

## Slide 13
Experimental setup @FLAME
Electron diagnostics in the interaction chamber

## Slide 14
Experimental setup @FLAME
Electron beam profile: 30 mrad FWHM divergence at 12.5 cm from the interaction point.
Electron diagnostics in the interaction chamber

## Slide 15
Experimental setup @FLAME
An Integrating Current Transformer (ICT) with a Beam Charge Monitor (BCM) is used to measure the accelerated bunch charge at 1m from the target.
Electron beam profile: 30 mrad FWHM divergence at 12.5 cm from the interaction point.
Electron diagnostics in the interaction chamber

## Slide 16
Experimental setup @FLAME
Energy spectrometer: magnetic dipole with a lanex screen and a camera;
uniform magnetic field B=1 T;
good resolution for low-energy of 0.5 MeV.
Electron diagnostics in the interaction chamber
Notes: Spectrum of electron energy with a mean energy of 320 MeV, an energy spread of 20% and ∼ 100 pC.

## Slide 17
Experimental setup @FLAME
Energy spectrometer: magnetic dipole with a lanex screen and a camera;
uniform magnetic field B=1 T;
good resolution for low-energy of 0.5 MeV.
Energy spectrum of electrons
Acceleration length of
Mean energy: 320 MeV
Energy spread:
Electron diagnostics in the interaction chamber

## Slide 18
Experimental setup @FLAME
CCD-X
Al filter
X-ray
Radiation diagnostics in the interaction chamber

## Slide 19
Experimental setup @FLAME
CCD-X
Al filter
X-ray
photons per pulse
critical energy keV
Angular distribution measured with a X-ray scintillator
Divergence 7 mrad
Radiation diagnostics in the interaction chamber

## Slide 20
Outlook
Thank you for your attention
  Development of analysis techniques to optimize the radiation
  Study of different configurations for the LWFA
  Complete characterization of the secondary radiation (spectral-angular distribution, temporal length, spatial coherence etc.)
  X-ray Phase Contrast Imaging experiments
  First betatron source for user-oriented applications (EuAPS program)