## Slide 1: High Frequency Microwave Cavity Design Innovations for Axion Dark Matter Searches
Heather Jackson
PhD Candidate
UC Berkeley
GSSI Rectorate, Auditorium
L’Aquila, Italy
8 July 2024

## Slide 2: High Frequency Microwave Cavity Design Innovations for Axion Dark Matter Searches
Heather Jackson
PhD Candidate
UC Berkeley
GSSI Rectorate, Auditorium
L’Aquila, Italy
8 July 2024

## Slide 3: Axion Parameter Space
Ciaran O'Hare

## Slide 4
Detecting the Axion with A Haloscope

## Slide 5: Cavity Figure of Merit
Space inside cavity not occupied by metal
ratio of electric field aligned with magnetic field
Losses from cavity material and geometry
= Quality Factor
(Volume)2
(Form Factor)2
x
x
Noise
Cavity

## Slide 6
HAYSTAC cavity
Copper coated body with off axis tuning rod
TM010 mode: tunable over 3.6 – 5.8 GHz
Length: 10”
Diameter: 4”
TM010 Electric Field
Cavity

## Slide 7
Optimizing Cavity Design
Symmetric = High Figure of Merit

## Slide 8
Optimizing Cavity Design
Symmetric = High Figure of Merit
Mode Localization = Low Figure of Merit

## Slide 9
Optimizing Cavity Design
High Figure of Merit
High Figure of Merit
everywhere

## Slide 10
The Symmetric
Multirod Cavity
(M. Simanovskaia, Rev. Sci. Instrum. 92 (2021) 033305)

## Slide 11
The Symmetric
Multirod Cavity
(M. Simanovskaia, Rev. Sci. Instrum. 92 (2021) 033305)

## Slide 12
Frequency vs Rod Rotation
The Symmetric
Multirod Cavity
(M. Simanovskaia, Rev. Sci. Instrum. 92 (2021) 033305)

## Slide 13
Frequency vs Rod Rotation
The Symmetric
Multirod Cavity
(M. Simanovskaia, Rev. Sci. Instrum. 92 (2021) 033305)
Each curve is a mode

## Slide 14
Frequency vs Rod Rotation
The Symmetric
Multirod Cavity
(M. Simanovskaia, Rev. Sci. Instrum. 92 (2021) 033305)
TM010 mode
Each curve is a mode

## Slide 15
The Symmetric
Multirod Cavity
(M. Simanovskaia, Rev. Sci. Instrum. 92 (2021) 033305)
Frequency vs Rod Rotation
TM010 mode
Intruding modes
Mode crossing

## Slide 16
Single Rod Cavity vs 7 Rod Cavity
Intruding modes
Intruding modes

## Slide 17
Single Rod Cavity vs 7 Rod Cavity
Intruding modes
Intruding modes
Major obstacle: substantial increase in mode density

## Slide 18: Photonic Band Gap (PBG) Resonator
Adapted from: Smirnova, et al.,
J. Appl. Phys., 2002

## Slide 19: Photonic Band Gap (PBG) Resonator
TEM modes
n = 9
n = 11
n = 10
TM01n modes

## Slide 20
Single Rod PBG vs Multirod PBG

## Slide 21
Measured Mode Map for 7 Rod + Barrel vs 7 Rod + PBG

## Slide 22
Axion Longitudinal Plasma Haloscope
UC Berkeley
Yale University
Colorado University
MIT
Johns Hopkins University
Arizona State University
Wellesley College
Oak Ridge National Laboratory
Stockholm University
ITMO
Cambridge University

## Slide 23
Hear more from Andrea Gallo Rosso next!
Axion Longitudinal Plasma Haloscope
UC Berkeley
Yale University
Colorado University
MIT
Johns Hopkins University
Arizona State University
Wellesley College
Oak Ridge National Laboratory
Stockholm University
ITMO
Cambridge University

## Slide 24: The Phase Ia Resonator
Frequency Tuning Range
The Phase Ia resonator for ALPHA is being developed by UC Berkeley
It builds on existing engineered designs of microwave cavities for HAYSTAC to meet early deployment goals in ALPHA
The design integrates a tunable symmetric lattice and photonic bandgap structure, culminating a long R&D program

## Slide 26: The Phase Ia Resonator
Frequency Tuning Range
The Phase Ia resonator for ALPHA is being developed by UC Berkeley
It builds on existing engineered designs of microwave cavities for HAYSTAC to meet early deployment goals in ALPHA
The design integrates a tunable symmetric lattice and photonic bandgap structure, culminating a long R&D program

## Slide 29: Additional Slides

## Slide 30: ALPHA Phase 1A Resonator
•54 mobile rods connected by gear system
•Symmetric electric field throughout tuning range
•Covers frequency range ~14-16 GHz, extendable up to 20 GHz
•Berkeley is currently optimizing for potential first run of ALPHA (Axion Longitudinal Plasma Haloscope)

## Slide 31: ALPHA
Axion Longitudinal Plasma Haloscope
Plasma haloscope: artificial plasma using wire array
11 institution collaboration* funded by four foundations consortium
16T magnet
~10-20 GHz range
Hear more from Andrea Gallo Rosso next!
*11 institutions: UC Berkeley, Yale, Colorado University, MIT, Johns Hopkins University, Arizona State University, Wellesley College, Oak Ridge National Laboratory, Stockholm University, ITMO, Cambridge University

## Slide 32
M. Wooten et al., Ann. Phys. (2023) 2200479
N. Kowitt et al., Phys. Rev. Appl. (2023) 044051
Superconducting Metamaterial Resonator

## Slide 33
Pablo Castano
Phase I: Quantum-limited
Phase II: Quantum-enhanced
ma [eV]
ALPHA Projected exclusion + Pablo!

## Slide 34
Field Mapping – the Bead Perturbation method
“Discontinuities in Waveguides”, J. Schwinger & D. Saxon (1968)
Bead is typically a sphere or cylinder of a few mm diam.
TEM (n = 19)
Example

## Slide 35
Detecting the Axion with A Haloscope
Cavity

## Slide 36: Axion Signal Detection
Scan rate:
Power:
Signal to noise ratio:
Theory parameters
Frequency
Signal power

## Slide 37: Axion Dark Matter
Axion - hypothetical particle proposed to solve the strong CP problem
Dark matter properties
Low frequency cavity – faster scan rate
Why are high frequencies so challenging to search?

## Slide 38: Axion Dark Matter
Axion - hypothetical particle proposed to solve the strong CP problem
Dark matter properties
Low frequency cavity – faster scan rate
Why are high frequencies so challenging to search?

## Slide 39
Measured Mode Map for 7 Rod + Barrel vs 7 Rod + PBG

## Slide 40
Measured Mode Map for 7 Rod + Barrel vs 7 Rod + PBG
TEM Modes

## Slide 41: 19 Rod Tuning Scheme

## Slide 42
The Symmetric Multirod Cavity (M. Simanovskaia, Rev. Sci. Instrum. 92 (2021) 033305)

## Slide 43
Multirod cavity 5.5-7.4 GHz vs Multirod Cavity 9.1-11.8 GHz

## Slide 44: Motivation for Photonic Band Gap (PBG) Structures

## Slide 45: Quality Factor
Q = the ratio of the stored energy to the dissipated power, multiplied by the resonant mode frequency
quality factor is determined primarily by the material and geometry of the cavity
varies greatly between resonant modes
materials with a higher conductivity typically have smaller skin depths and therefore higher quality factors -> we choose to use OFHC Cu

## Slide 46: Evidence for Dark Matter
Dark Energy
What we know —
Dark Matter
Credit: Ingo Berg, Wikipedia Commons
Galactic Rotation Curves
Expected Observed

## Slide 47
Axion Exclusion - HAYSTAC Phase IIc Preliminary Results
Scan rate:
~ 4.54-4.71 GHz
(Preliminary)

## Slide 48: The Strong CP Problem
No CP violation observed
nEDM experimental limit:
dN < 10-26 θQCD e . cm [ref]
θQCD < 10-10
CP Symmetry is violated
nEDM prediction:
dN ~ 10-16 θQCD e . cm
0 ≤ θQCD ≤ 2π
SM
Reality
E. SIEGEL / BEYOND THE GALAXY

## Slide 49
Haloscope At Yale Sensitive to Axion Cold Dark Matter (HAYSTAC)